## 001-001
Micromeritics Instrument Corporation | [7 empty] | ¦ | Micromeritics Instrument Corporation |  |  |  |  | ¦ | Micromeritics Instrument Corporation | [5 empty] | ¦ | Micromeritics Instrument Corporation |  |  |  | ¦ | Micromeritics Instrument Corporation
SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 |  |  |  |  | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 |  | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 |  |  | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Sample: | AP_C1 | [6 empty] | ¦ | Sample: | AP_C1 |  |  |  | ¦ | Sample: | AP_C1 |  |  |  |  | ¦ | Sample: | AP_C1 |  |  | ¦ | Sample: | AP_C1
Operator: | Jia Jia ter Kuile | [6 empty] | ¦ | Operator: | Jia Jia ter Kuile |  |  |  | ¦ | Operator: | Jia Jia ter Kuile |  |  |  |  | ¦ | Operator: | Jia Jia ter Kuile |  |  | ¦ | Operator: | Jia Jia ter Kuile
Submitter: | [7 empty] | ¦ | Submitter: |  |  |  |  | ¦ | Submitter: | [5 empty] | ¦ | Submitter: |  |  |  | ¦ | Submitter:
File: | C:\...\JIAJIA~1\001-001.SMP | [6 empty] | ¦ | File: | C:\...\JIAJIA~1\001-001.SMP |  |  |  | ¦ | File: | C:\...\JIAJIA~1\001-001.SMP |  |  |  |  | ¦ | File: | C:\...\JIAJIA~1\001-001.SMP |  |  | ¦ | File: | C:\...\JIAJIA~1\001-001.SMP
Material/Liquid: | soil / Water | [6 empty] | ¦ | Material/Liquid: | soil / Water |  |  |  | ¦ | Material/Liquid: | soil / Water |  |  |  |  | ¦ | Material/Liquid: | soil / Water |  |  | ¦ | Material/Liquid: | soil / Water
Measurement Principle: | X-Ray monitored gravity sedimentation | [6 empty] | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation |  |  |  | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation |  |  |  |  | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation |  |  | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation
Calculation Method: | Stokes sedimentation and Beer's law of extinction | [6 empty] | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction |  |  |  | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction |  |  |  |  | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction |  |  | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Test Number: | 1 | Analysis Type: | High Resolution |  |  |  |  | ¦ | Test Number: | 1 | Analysis Type: | High Resolution |  | ¦ | Test Number: | 1 | Analysis Type: | High Resolution |  |  | ¦ | Test Number: | 1 | Analysis Type: | High Resolution | ¦ | Test Number: | 1 | Analysis Type: | High Resolution
Analyzed: | 2/7/2024 2:48:15PM | Run Time: | 0:03 hrs:min |  |  |  |  | ¦ | Analyzed: | 2/7/2024 2:48:15PM | Run Time: | 0:03 hrs:min |  | ¦ | Analyzed: | 2/7/2024 2:48:15PM | Run Time: | 0:03 hrs:min |  |  | ¦ | Analyzed: | 2/7/2024 2:48:15PM | Run Time: | 0:03 hrs:min | ¦ | Analyzed: | 2/7/2024 2:48:15PM | Run Time: | 0:03 hrs:min
Reported: | 2/7/2024 2:55:11PM | Sample Density: | 2.600 g/cm³ |  |  |  |  | ¦ | Reported: | 2/7/2024 2:55:11PM | Sample Density: | 2.600 g/cm³ |  | ¦ | Reported: | 2/7/2024 2:55:11PM | Sample Density: | 2.600 g/cm³ |  |  | ¦ | Reported: | 2/7/2024 2:55:11PM | Sample Density: | 2.600 g/cm³ | ¦ | Reported: | 2/7/2024 2:55:11PM | Sample Density: | 2.600 g/cm³
Liquid Visc: | 0.7224 mPa·s | Liquid Density: | 0.9941 g/cm³ |  |  |  |  | ¦ | Liquid Visc: | 0.7224 mPa·s | Liquid Density: | 0.9941 g/cm³ |  | ¦ | Liquid Visc: | 0.7224 mPa·s | Liquid Density: | 0.9941 g/cm³ |  |  | ¦ | Liquid Visc: | 0.7224 mPa·s | Liquid Density: | 0.9941 g/cm³ | ¦ | Liquid Visc: | 0.7224 mPa·s | Liquid Density: | 0.9941 g/cm³
Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 72 kCnts/s |  |  |  |  | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 72 kCnts/s |  | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 72 kCnts/s |  |  | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 72 kCnts/s | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 72 kCnts/s
Full Scale Mass: | 100.0 % | Reynolds Number: | 13.32 |  |  |  |  | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.32 |  | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.32 |  |  | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.32 | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.32
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound | [7 empty] | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound |  |  |  |  | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound | [5 empty] | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound |  |  |  | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Combined Report | [7 empty] | ¦ | Report by Sieve Size |  |  |  |  | ¦ | Report by Size Table | [5 empty] | ¦ | Cumulative Finer Mass Percent vs. Diameter |  |  |  | ¦ | Mass Frequency vs. Settling Velocity
Report by Size Table | [7 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | Sieve Name | Aperture Size (µm) | Cumulative Mass Passed (Percent) | Mass Frequency (Percent) | Cum. Mass Standard Deviation (1 tests) | ¦ | High Diameter (µm) | Low Diameter (µm) | Average Diameter (µm) | Cumulative Mass Finer (Percent) | Mass Frequency (Percent) | Cum. Mass Standard Deviation (1 tests) | ¦ |  |  |  |  | ¦
High Diameter (µm) | Low Diameter (µm) | Average Diameter (µm) | Cumulative Mass Finer (Percent) | Mass Frequency (Percent) | Cum. Mass Standard Deviation (1 tests) | Particle Size (Phi) | Settling Velocity (cm/s) | ¦ | No. 50 | 300 | 100.5 | 0.0 | 0.0 | ¦ | 250.0 | 200.0 | 223.6 | 100.5 | 0.0 | 0.0 | ¦ | Test 1 |  |  |  | ¦ | Test 1
250.0 | 125.0 | 176.8 | 100.0 | 0.5 | 0.0 | 3.000 | 1.89104 | ¦ | No. 120 | 125 | 100.0 | 0.5 | 0.0 | ¦ | 200.0 | 150.0 | 173.2 | 100.3 | 0.2 | 0.0 | ¦ | Particle Diameter (µm) | Cumulative Finer Mass Percent |  |  | ¦ | Settling Velocity (cm/s) | Mass Frequency Percent
125.0 | 63.00 | 88.74 | 95.0 | 5.0 | 0.0 | 3.989 | 0.48035 | ¦ | No. 270 | 53 | 92.2 | 7.8 | 0.0 | ¦ | 150.0 | 100.0 | 122.5 | 99.3 | 1.0 | 0.0 | ¦ | 2.0535 | 13.5203 |  |  | ¦ | 0.00048181 | 0
63.00 | 32.00 | 44.90 | 82.3 | 12.7 | 0.0 | 4.966 | 0.12393 | ¦ | No. 635 | 20 | 71.0 | 21.2 | 0.0 | ¦ | 100.0 | 80.00 | 89.44 | 97.9 | 1.4 | 0.0 | ¦ | 2.1752 | 14.7427 |  |  | ¦ | 0.0005406 | 1.2224
32.00 | 16.00 | 22.63 | 64.5 | 17.8 | 0.0 | 5.966 | 0.03098 | ¦ | [5 empty] | ¦ | 80.00 | 60.00 | 69.28 | 94.3 | 3.6 | 0.0 | ¦ | 2.3041 | 15.8899 |  |  | ¦ | 0.00060657 | 1.1472
16.00 | 8.000 | 11.31 | 43.6 | 20.9 | 0.0 | 6.966 | 0.00775 | ¦ | [5 empty] | ¦ | 60.00 | 50.00 | 54.77 | 91.1 | 3.1 | 0.0 | ¦ | 2.4406 | 16.9948 |  |  | ¦ | 0.00068058 | 1.105
8.000 | 4.000 | 5.657 | 27.0 | 16.6 | 0.0 | 7.966 | 0.00194 | ¦ | [5 empty] | ¦ | 50.00 | 40.00 | 44.72 | 87.0 | 4.2 | 0.0 | ¦ | 2.5852 | 18.0942 |  |  | ¦ | 0.00076362 | 1.0994
4.000 | 2.000 | 2.828 | 13.5 | 13.5 | 0.0 | 8.966 | 0.00048 | ¦ | [5 empty] | ¦ | 40.00 | 30.00 | 34.64 | 80.8 | 6.1 | 0.0 | ¦ | 2.7384 | 19.215 |  |  | ¦ | 0.0008568 | 1.1208
[8 empty] | ¦ | [5 empty] | ¦ | 30.00 | 25.00 | 27.39 | 76.4 | 4.4 | 0.0 | ¦ | 2.9007 | 20.3661 |  |  | ¦ | 0.00096135 | 1.1511
[8 empty] | ¦ | [5 empty] | ¦ | 25.00 | 20.00 | 22.36 | 71.0 | 5.4 | 0.0 | ¦ | 3.0726 | 21.5398 |  |  | ¦ | 0.0010786 | 1.1738
Cumulative Finer Mass Percent vs. Diameter | [7 empty] | ¦ | [5 empty] | ¦ | 20.00 | 15.00 | 17.32 | 62.5 | 8.5 | 0.0 | ¦ | 3.2546 | 22.7227 |  |  | ¦ | 0.0012103 | 1.1829
[8 empty] | ¦ | [5 empty] | ¦ | 15.00 | 10.00 | 12.25 | 50.1 | 12.4 | 0.0 | ¦ | 3.4475 | 23.9066 |  |  | ¦ | 0.0013579 | 1.1839
[8 empty] | ¦ | [5 empty] | ¦ | 10.00 | 8.000 | 8.944 | 43.6 | 6.5 | 0.0 | ¦ | 3.6517 | 25.0952 |  |  | ¦ | 0.0015236 | 1.1886
Cumulative Finer Mass Percent |  | Mass Frequency Percent |  | Cumulative Surface Area Coarser |  | Surface Area Population |  | ¦ | [5 empty] | ¦ | 8.000 | 6.000 | 6.928 | 36.3 | 7.3 | 0.0 | ¦ | 3.8681 | 26.3005 |  |  | ¦ | 0.0017095 | 1.2053
Particle Diameter (µm) | Cumulative Finer Mass Percent | Particle Diameter (µm) | Mass Frequency Percent | Particle Diameter (µm) | Cumulative Surface Area Coarser (m²/g) | Particle Diameter (µm) | Surface Area Population (m²/g) | ¦ | [5 empty] | ¦ | 6.000 | 5.000 | 5.477 | 32.0 | 4.3 | 0.0 | ¦ | 4.0973 | 27.5333 |  |  | ¦ | 0.0019181 | 1.2328
2.0535 | 13.5203 | 1.9953 | 0 | 2.0535 | 0.24223 | 1.9953 | 0.0046527 | ¦ | [5 empty] | ¦ | 5.000 | 4.000 | 4.472 | 27.0 | 5.0 | 0.0 | ¦ | 4.3401 | 28.7955 |  |  | ¦ | 0.0021522 | 1.2623
2.1752 | 14.7427 | 2.1135 | 1.2224 | 2.1752 | 0.23573 | 2.1135 | 0.0064955 | ¦ | [5 empty] | ¦ | 4.000 | 3.000 | 3.464 | 21.1 | 6.0 | 0.0 | ¦ | 4.5973 | 30.0815 |  |  | ¦ | 0.0024148 | 1.286
2.3041 | 15.8899 | 2.2387 | 1.1472 | 2.3041 | 0.22763 | 2.2387 | 0.0081016 | ¦ | [5 empty] | ¦ | 3.000 | 2.000 | 2.449 | 13.5 | 7.5 | 0.0 | ¦ | 4.8697 | 31.3848 |  |  | ¦ | 0.0027094 | 1.3033
2.4406 | 16.9948 | 2.3714 | 1.105 | 2.4406 | 0.21831 | 2.3714 | 0.0093257 | ¦ | [5 empty] | ¦ | [6 empty] | ¦ | 5.1582 | 32.7056 |  |  | ¦ | 0.00304 | 1.3208
2.5852 | 18.0942 | 2.5119 | 1.0994 | 2.5852 | 0.20826 | 2.5119 | 0.010049 | ¦ | [5 empty] | ¦ | [6 empty] | ¦ | 5.4639 | 34.0516 |  |  | ¦ | 0.003411 | 1.346
2.7384 | 19.215 | 2.6607 | 1.1208 | 2.7384 | 0.19809 | 2.6607 | 0.010172 | ¦ | [12 empty] | ¦ | 5.7876 | 35.4319 |  |  | ¦ | 0.0038272 | 1.3803
2.9007 | 20.3661 | 2.8184 | 1.1511 | 2.9007 | 0.18846 | 2.8184 | 0.0096232 | ¦ | [12 empty] | ¦ | 6.1306 | 36.8486 |  |  | ¦ | 0.0042942 | 1.4167
3.0726 | 21.5398 | 2.9854 | 1.1738 | 3.0726 | 0.1793 | 2.9854 | 0.0091674 | ¦ | [12 empty] | ¦ | 6.4938 | 38.2935 |  |  | ¦ | 0.0048181 | 1.4449
3.2546 | 22.7227 | 3.1623 | 1.1829 | 3.2546 | 0.17054 | 3.1623 | 0.0087581 | ¦ | [12 empty] | ¦ | 6.8786 | 39.7532 |  |  | ¦ | 0.005406 | 1.4597
3.4475 | 23.9066 | 3.3497 | 1.1839 | 3.4475 | 0.16217 | 3.3497 | 0.0083713 | ¦ | [12 empty] | ¦ | 7.2862 | 41.2202 |  |  | ¦ | 0.0060657 | 1.467
3.6517 | 25.0952 | 3.5481 | 1.1886 | 3.6517 | 0.15417 | 3.5481 | 0.0080011 | ¦ | [12 empty] | ¦ | 7.7179 | 42.7027 |  |  | ¦ | 0.0068058 | 1.4825
3.8681 | 26.3005 | 3.7584 | 1.2053 | 3.8681 | 0.14651 | 3.7584 | 0.0076511 | ¦ | [12 empty] | ¦ | 8.1752 | 44.2247 |  |  | ¦ | 0.0076362 | 1.522
4.0973 | 27.5333 | 3.9811 | 1.2328 | 4.0973 | 0.13919 | 3.9811 | 0.0073254 | ¦ | [12 empty] | ¦ | 8.6596 | 45.8151 |  |  | ¦ | 0.008568 | 1.5904
4.3401 | 28.7955 | 4.217 | 1.2623 | 4.3401 | 0.13216 | 4.217 | 0.0070247 | ¦ | [12 empty] | ¦ | 9.1728 | 47.4913 |  |  | ¦ | 0.0096135 | 1.6762
4.5973 | 30.0815 | 4.4668 | 1.286 | 4.5973 | 0.12542 | 4.4668 | 0.0067464 | ¦ | [12 empty] | ¦ | 9.7163 | 49.2476 |  |  | ¦ | 0.010786 | 1.7563
4.8697 | 31.3848 | 4.7315 | 1.3033 | 4.8697 | 0.11893 | 4.7315 | 0.0064866 | ¦ | [12 empty] | ¦ | 10.292 | 51.0538 |  |  | ¦ | 0.012103 | 1.8062
5.1582 | 32.7056 | 5.0119 | 1.3208 | 5.1582 | 0.11269 | 5.0119 | 0.0062415 | ¦ | [12 empty] | ¦ | 10.9018 | 52.8669 |  |  | ¦ | 0.013579 | 1.8131
5.4639 | 34.0516 | 5.3088 | 1.346 | 5.4639 | 0.10668 | 5.3088 | 0.0060074 | ¦ | [12 empty] | ¦ | 11.5478 | 54.6514 |  |  | ¦ | 0.015236 | 1.7845
5.7876 | 35.4319 | 5.6234 | 1.3803 | 5.7876 | 0.1009 | 5.6234 | 0.0057807 | ¦ | [12 empty] | ¦ | 12.2321 | 56.3937 |  |  | ¦ | 0.017095 | 1.7423
6.1306 | 36.8486 | 5.9566 | 1.4167 | 6.1306 | 0.095344 | 5.9566 | 0.0055578 | ¦ | [12 empty] | ¦ | 12.9569 | 58.1073 |  |  | ¦ | 0.019181 | 1.7136
6.4938 | 38.2935 | 6.3096 | 1.4449 | 6.4938 | 0.090006 | 6.3096 | 0.0053377 | ¦ | [12 empty] | ¦ | 13.7246 | 59.8222 |  |  | ¦ | 0.021522 | 1.7149
6.8786 | 39.7532 | 6.6834 | 1.4597 | 6.8786 | 0.084882 | 6.6834 | 0.0051239 | ¦ | [12 empty] | ¦ | 14.5378 | 61.5653 |  |  | ¦ | 0.024148 | 1.7431
7.2862 | 41.2202 | 7.0795 | 1.467 | 7.2862 | 0.079958 | 7.0795 | 0.0049243 | ¦ | [12 empty] | ¦ | 15.3993 | 63.3438 |  |  | ¦ | 0.027094 | 1.7785
7.7179 | 42.7027 | 7.4989 | 1.4825 | 7.7179 | 0.07521 | 7.4989 | 0.0047481 | ¦ | [12 empty] | ¦ | 16.3117 | 65.1375 |  |  | ¦ | 0.0304 | 1.7936
8.1752 | 44.2247 | 7.9433 | 1.522 | 8.1752 | 0.070609 | 7.9433 | 0.0046006 | ¦ | [12 empty] | ¦ | 17.2783 | 66.9046 |  |  | ¦ | 0.03411 | 1.7671
8.6596 | 45.8151 | 8.414 | 1.5904 | 8.6596 | 0.066131 | 8.414 | 0.0044778 | ¦ | [12 empty] | ¦ | 18.3021 | 68.5989 |  |  | ¦ | 0.038272 | 1.6944
9.1728 | 47.4913 | 8.9125 | 1.6762 | 9.1728 | 0.061765 | 8.9125 | 0.0043665 | ¦ | [12 empty] | ¦ | 19.3865 | 70.1901 |  |  | ¦ | 0.042942 | 1.5912
9.7163 | 49.2476 | 9.4406 | 1.7563 | 9.7163 | 0.057517 | 9.4406 | 0.0042478 | ¦ | [12 empty] | ¦ | 20.5353 | 71.6762 |  |  | ¦ | 0.048181 | 1.4861
10.292 | 51.0538 | 10 | 1.8062 | 10.292 | 0.053412 | 10 | 0.0041053 | ¦ | [12 empty] | ¦ | 21.752 | 73.0831 |  |  | ¦ | 0.05406 | 1.4069
10.9018 | 52.8669 | 10.5925 | 1.8131 | 10.9018 | 0.04948 | 10.5925 | 0.0039316 | ¦ | [12 empty] | ¦ | 23.0409 | 74.4519 |  |  | ¦ | 0.060657 | 1.3688
11.5478 | 54.6514 | 11.2202 | 1.7845 | 11.5478 | 0.045749 | 11.2202 | 0.0037314 | ¦ | [12 empty] | ¦ | 24.4062 | 75.8204 |  |  | ¦ | 0.068058 | 1.3685
12.2321 | 56.3937 | 11.885 | 1.7423 | 12.2321 | 0.04223 | 11.885 | 0.0035189 | ¦ | [12 empty] | ¦ | 25.8523 | 77.2087 |  |  | ¦ | 0.076362 | 1.3882
12.9569 | 58.1073 | 12.5893 | 1.7136 | 12.9569 | 0.038919 | 12.5893 | 0.0033105 | ¦ | [12 empty] | ¦ | 27.3842 | 78.6135 |  |  | ¦ | 0.08568 | 1.4048
13.7246 | 59.8222 | 13.3352 | 1.7149 | 13.7246 | 0.035802 | 13.3352 | 0.0031175 | ¦ | [12 empty] | ¦ | 29.0068 | 80.0145 |  |  | ¦ | 0.096135 | 1.4011
14.5378 | 61.5653 | 14.1254 | 1.7431 | 14.5378 | 0.03286 | 14.1254 | 0.0029416 | ¦ | [12 empty] | ¦ | 30.7256 | 81.385 |  |  | ¦ | 0.10786 | 1.3704
15.3993 | 63.3438 | 14.9624 | 1.7785 | 15.3993 | 0.030085 | 14.9624 | 0.0027754 | ¦ | [12 empty] | ¦ | 32.5462 | 82.7033 |  |  | ¦ | 0.12103 | 1.3183
16.3117 | 65.1375 | 15.8489 | 1.7936 | 16.3117 | 0.027477 | 15.8489 | 0.0026074 | ¦ | [12 empty] | ¦ | 34.4747 | 83.9594 |  |  | ¦ | 0.13579 | 1.2561
17.2783 | 66.9046 | 16.788 | 1.7671 | 17.2783 | 0.025048 | 16.788 | 0.0024288 | ¦ | [12 empty] | ¦ | 36.5174 | 85.1555 |  |  | ¦ | 0.15236 | 1.1961
18.3021 | 68.5989 | 17.7828 | 1.6944 | 18.3021 | 0.022811 | 17.7828 | 0.0022378 | ¦ | [12 empty] | ¦ | 38.6812 | 86.3026 |  |  | ¦ | 0.17095 | 1.1471
19.3865 | 70.1901 | 18.8365 | 1.5912 | 19.3865 | 0.02077 | 18.8365 | 0.0020411 | ¦ | [12 empty] | ¦ | 40.9732 | 87.415 |  |  | ¦ | 0.19181 | 1.1125
20.5353 | 71.6762 | 19.9526 | 1.4861 | 20.5353 | 0.018919 | 19.9526 | 0.0018507 | ¦ | [12 empty] | ¦ | 43.401 | 88.5056 |  |  | ¦ | 0.21522 | 1.0906
21.752 | 73.0831 | 21.1349 | 1.4069 | 21.752 | 0.01724 | 21.1349 | 0.0016788 | ¦ | [12 empty] | ¦ | 45.9727 | 89.5824 |  |  | ¦ | 0.24148 | 1.0767
23.0409 | 74.4519 | 22.3872 | 1.3688 | 23.0409 | 0.015707 | 22.3872 | 0.001533 | ¦ | [12 empty] | ¦ | 48.6968 | 90.6466 |  |  | ¦ | 0.27094 | 1.0643
24.4062 | 75.8204 | 23.7137 | 1.3685 | 24.4062 | 0.014293 | 23.7137 | 0.0014145 | ¦ | [12 empty] | ¦ | 51.5822 | 91.693 |  |  | ¦ | 0.304 | 1.0464
25.8523 | 77.2087 | 25.1189 | 1.3882 | 25.8523 | 0.012975 | 25.1189 | 0.0013176 | ¦ | [12 empty] | ¦ | 54.6387 | 92.711 |  |  | ¦ | 0.3411 | 1.018
27.3842 | 78.6135 | 26.6073 | 1.4048 | 27.3842 | 0.011741 | 26.6073 | 0.0012338 | ¦ | [12 empty] | ¦ | 57.8762 | 93.6871 |  |  | ¦ | 0.38272 | 0.97604
29.0068 | 80.0145 | 28.1838 | 1.4011 | 29.0068 | 0.010587 | 28.1838 | 0.0011544 | ¦ | [12 empty] | ¦ | 61.3056 | 94.6071 |  |  | ¦ | 0.42942 | 0.92
30.7256 | 81.385 | 29.8538 | 1.3704 | 30.7256 | 0.0095128 | 29.8538 | 0.0010739 | ¦ | [12 empty] | ¦ | 64.9382 | 95.4586 |  |  | ¦ | 0.48181 | 0.85156
32.5462 | 82.7033 | 31.6228 | 1.3183 | 32.5462 | 0.008522 | 31.6228 | 0.00099078 | ¦ | [12 empty] | ¦ | 68.786 | 96.2321 |  |  | ¦ | 0.5406 | 0.77348
34.4747 | 83.9594 | 33.4965 | 1.2561 | 34.4747 | 0.0076151 | 33.4965 | 0.00090699 | ¦ | [12 empty] | ¦ | 72.8618 | 96.9209 |  |  | ¦ | 0.60657 | 0.68881
36.5174 | 85.1555 | 35.4813 | 1.1961 | 36.5174 | 0.0067888 | 35.4813 | 0.00082622 | ¦ | [12 empty] | ¦ | 77.1792 | 97.5217 |  |  | ¦ | 0.68058 | 0.60081
38.6812 | 86.3026 | 37.5837 | 1.1471 | 38.6812 | 0.0060368 | 37.5837 | 0.00075201 | ¦ | [12 empty] | ¦ | 81.7523 | 98.0351 |  |  | ¦ | 0.76362 | 0.51339
40.9732 | 87.415 | 39.8107 | 1.1125 | 40.9732 | 0.0053504 | 39.8107 | 0.00068644 | ¦ | [12 empty] | ¦ | 86.5964 | 98.4666 |  |  | ¦ | 0.8568 | 0.43145
43.401 | 88.5056 | 42.1697 | 1.0906 | 43.401 | 0.0047207 | 42.1697 | 0.00062965 | ¦ | [12 empty] | ¦ | 91.7276 | 98.8262 |  |  | ¦ | 0.96135 | 0.35957
45.9727 | 89.5824 | 44.6684 | 1.0767 | 45.9727 | 0.0041405 | 44.6684 | 0.00058023 | ¦ | [12 empty] | ¦ | 97.1628 | 99.1266 |  |  | ¦ | 1.0786 | 0.30042
48.6968 | 90.6466 | 47.3151 | 1.0643 | 48.6968 | 0.0036047 | 47.3151 | 0.00053584 | ¦ | [12 empty] | ¦ | 102.9201 | 99.3804 |  |  | ¦ | 1.2103 | 0.2538
51.5822 | 91.693 | 50.1187 | 1.0464 | 51.5822 | 0.0031106 | 50.1187 | 0.00049407 | ¦ | [12 empty] | ¦ | 109.0184 | 99.5973 |  |  | ¦ | 1.3579 | 0.2169
54.6387 | 92.711 | 53.0884 | 1.018 | 54.6387 | 0.0026576 | 53.0884 | 0.00045299 | ¦ | [12 empty] | ¦ | 115.4782 | 99.7829 |  |  | ¦ | 1.5236 | 0.18568
57.8762 | 93.6871 | 56.2341 | 0.97604 | 57.8762 | 0.0022462 | 56.2341 | 0.00041144 | ¦ | [12 empty] | ¦ | 122.3207 | 99.94 |  |  | ¦ | 1.7095 | 0.15709
61.3056 | 94.6071 | 59.5662 | 0.92 | 61.3056 | 0.0018771 | 59.5662 | 0.00036908 | ¦ | [12 empty] | ¦ | 129.5687 | 100.0699 |  |  | ¦ | 1.9181 | 0.12989
64.9382 | 95.4586 | 63.0957 | 0.85156 | 64.9382 | 0.0015509 | 63.0957 | 0.00032622 | ¦ | [12 empty] | ¦ | 137.2461 | 100.1743 |  |  | ¦ | 2.1522 | 0.1044
68.786 | 96.2321 | 66.8344 | 0.77348 | 68.786 | 0.0012672 | 66.8344 | 0.00028366 | ¦ | [12 empty] | ¦ | 145.3784 | 100.2561 |  |  | ¦ | 2.4148 | 0.081769
72.8618 | 96.9209 | 70.7946 | 0.68881 | 72.8618 | 0.0010248 | 70.7946 | 0.00024243 | ¦ | [12 empty] | ¦ | 153.9927 | 100.3193 |  |  | ¦ | 2.7094 | 0.063248
77.1792 | 97.5217 | 74.9894 | 0.60081 | 77.1792 | 0.00082113 | 74.9894 | 0.00020364 | ¦ | [12 empty] | ¦ | 163.1173 | 100.3689 |  |  | ¦ | 3.04 | 0.049553
81.7523 | 98.0351 | 79.4328 | 0.51339 | 81.7523 | 0.00065287 | 79.4328 | 0.00016826 | ¦ | [12 empty] | ¦ | 172.7826 | 100.4095 |  |  | ¦ | 3.411 | 0.040627
86.5964 | 98.4666 | 84.1395 | 0.43145 | 86.5964 | 0.00051585 | 84.1395 | 0.00013703 | ¦ | [12 empty] | ¦ | 183.0206 | 100.4452 |  |  | ¦ | 3.8272 | 0.035666
91.7276 | 98.8262 | 89.1251 | 0.35957 | 91.7276 | 0.00040552 | 89.1251 | 0.00011032 | ¦ | [12 empty] | ¦ | 193.8653 | 100.4786 |  |  | ¦ | 4.2942 | 0.033435
97.1628 | 99.1266 | 94.4061 | 0.30042 | 97.1628 | 0.00031736 | 94.4061 | 8.8159e-05 | ¦ | [12 empty] | ¦ | 205.3525 | 100.5044 |  |  | ¦ | 4.8181 | 0.025785
102.9201 | 99.3804 | 100 | 0.2538 | 102.9201 | 0.00024717 | 100 | 7.0193e-05 | ¦ | [12 empty] | ¦ |  |  |  |  | ¦ | 5.406 | 0
109.0184 | 99.5973 | 105.9254 | 0.2169 | 109.0184 | 0.00019133 | 105.9254 | 5.5846e-05 | ¦ | [17 empty] | ¦
115.4782 | 99.7829 | 112.2018 | 0.18568 | 115.4782 | 0.0001469 | 112.2018 | 4.4424e-05 | ¦
122.3207 | 99.94 | 118.8502 | 0.15709 | 122.3207 | 0.00011165 | 118.8502 | 3.5255e-05 | ¦
129.5687 | 100.0699 | 125.8925 | 0.12989 | 129.5687 | 8.3852e-05 | 125.8925 | 2.7794e-05 | ¦
137.2461 | 100.1743 | 133.3521 | 0.1044 | 137.2461 | 6.218e-05 | 133.3521 | 2.1673e-05 | ¦
145.3784 | 100.2561 | 141.2538 | 0.081769 | 145.3784 | 4.55e-05 | 141.2538 | 1.6679e-05 | ¦
153.9927 | 100.3193 | 149.6236 | 0.063248 | 153.9927 | 3.28e-05 | 149.6236 | 1.27e-05 | ¦
163.1173 | 100.3689 | 158.4893 | 0.049553 | 163.1173 | 2.3151e-05 | 158.4893 | 9.6493e-06 | ¦
172.7826 | 100.4095 | 167.8804 | 0.040627 | 172.7826 | 1.5796e-05 | 167.8804 | 7.3548e-06 | ¦
183.0206 | 100.4452 | 177.8279 | 0.035666 | 183.0206 | 1.032e-05 | 177.8279 | 5.4763e-06 | ¦
193.8653 | 100.4786 | 188.3649 | 0.033435 | 193.8653 | 6.351e-06 | 188.3649 | 3.9689e-06 | ¦
205.3525 | 100.5044 | 199.5262 | 0.025785 | 205.3525 | 3.5819e-06 | 199.5262 | 2.7691e-06 | ¦
|  | 211.3489 | 0 |  |  | 211.3489 | 1.8185e-06 | ¦
¦