## 001-002
Micromeritics Instrument Corporation | [7 empty] | ¦ | Micromeritics Instrument Corporation |  |  |  |  | ¦ | Micromeritics Instrument Corporation | [5 empty] | ¦ | Micromeritics Instrument Corporation |  |  |  | ¦ | Micromeritics Instrument Corporation
SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 |  |  |  |  | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 |  | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 |  |  | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Sample: | AP_C2 | [6 empty] | ¦ | Sample: | AP_C2 |  |  |  | ¦ | Sample: | AP_C2 |  |  |  |  | ¦ | Sample: | AP_C2 |  |  | ¦ | Sample: | AP_C2
Operator: | Jia Jia ter Kuile | [6 empty] | ¦ | Operator: | Jia Jia ter Kuile |  |  |  | ¦ | Operator: | Jia Jia ter Kuile |  |  |  |  | ¦ | Operator: | Jia Jia ter Kuile |  |  | ¦ | Operator: | Jia Jia ter Kuile
Submitter: | [7 empty] | ¦ | Submitter: |  |  |  |  | ¦ | Submitter: | [5 empty] | ¦ | Submitter: |  |  |  | ¦ | Submitter:
File: | C:\...\JIAJIA~1\001-002.SMP | [6 empty] | ¦ | File: | C:\...\JIAJIA~1\001-002.SMP |  |  |  | ¦ | File: | C:\...\JIAJIA~1\001-002.SMP |  |  |  |  | ¦ | File: | C:\...\JIAJIA~1\001-002.SMP |  |  | ¦ | File: | C:\...\JIAJIA~1\001-002.SMP
Material/Liquid: | soil / Water | [6 empty] | ¦ | Material/Liquid: | soil / Water |  |  |  | ¦ | Material/Liquid: | soil / Water |  |  |  |  | ¦ | Material/Liquid: | soil / Water |  |  | ¦ | Material/Liquid: | soil / Water
Measurement Principle: | X-Ray monitored gravity sedimentation | [6 empty] | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation |  |  |  | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation |  |  |  |  | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation |  |  | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation
Calculation Method: | Stokes sedimentation and Beer's law of extinction | [6 empty] | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction |  |  |  | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction |  |  |  |  | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction |  |  | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Test Number: | 1 | Analysis Type: | High Resolution |  |  |  |  | ¦ | Test Number: | 1 | Analysis Type: | High Resolution |  | ¦ | Test Number: | 1 | Analysis Type: | High Resolution |  |  | ¦ | Test Number: | 1 | Analysis Type: | High Resolution | ¦ | Test Number: | 1 | Analysis Type: | High Resolution
Analyzed: | 2/7/2024 3:07:14PM | Run Time: | 0:03 hrs:min |  |  |  |  | ¦ | Analyzed: | 2/7/2024 3:07:14PM | Run Time: | 0:03 hrs:min |  | ¦ | Analyzed: | 2/7/2024 3:07:14PM | Run Time: | 0:03 hrs:min |  |  | ¦ | Analyzed: | 2/7/2024 3:07:14PM | Run Time: | 0:03 hrs:min | ¦ | Analyzed: | 2/7/2024 3:07:14PM | Run Time: | 0:03 hrs:min
Reported: | 2/7/2024 3:14:08PM | Sample Density: | 2.600 g/cm³ |  |  |  |  | ¦ | Reported: | 2/7/2024 3:14:08PM | Sample Density: | 2.600 g/cm³ |  | ¦ | Reported: | 2/7/2024 3:14:08PM | Sample Density: | 2.600 g/cm³ |  |  | ¦ | Reported: | 2/7/2024 3:14:08PM | Sample Density: | 2.600 g/cm³ | ¦ | Reported: | 2/7/2024 3:14:08PM | Sample Density: | 2.600 g/cm³
Liquid Visc: | 0.7221 mPa·s | Liquid Density: | 0.9941 g/cm³ |  |  |  |  | ¦ | Liquid Visc: | 0.7221 mPa·s | Liquid Density: | 0.9941 g/cm³ |  | ¦ | Liquid Visc: | 0.7221 mPa·s | Liquid Density: | 0.9941 g/cm³ |  |  | ¦ | Liquid Visc: | 0.7221 mPa·s | Liquid Density: | 0.9941 g/cm³ | ¦ | Liquid Visc: | 0.7221 mPa·s | Liquid Density: | 0.9941 g/cm³
Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 72 kCnts/s |  |  |  |  | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 72 kCnts/s |  | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 72 kCnts/s |  |  | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 72 kCnts/s | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 72 kCnts/s
Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 |  |  |  |  | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 |  | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 |  |  | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound | [7 empty] | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound |  |  |  |  | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound | [5 empty] | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound |  |  |  | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Combined Report | [7 empty] | ¦ | Report by Sieve Size |  |  |  |  | ¦ | Report by Size Table | [5 empty] | ¦ | Cumulative Finer Mass Percent vs. Diameter |  |  |  | ¦ | Mass Frequency vs. Settling Velocity
Report by Size Table | [7 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | Sieve Name | Aperture Size (µm) | Cumulative Mass Passed (Percent) | Mass Frequency (Percent) | Cum. Mass Standard Deviation (1 tests) | ¦ | High Diameter (µm) | Low Diameter (µm) | Average Diameter (µm) | Cumulative Mass Finer (Percent) | Mass Frequency (Percent) | Cum. Mass Standard Deviation (1 tests) | ¦ |  |  |  |  | ¦
High Diameter (µm) | Low Diameter (µm) | Average Diameter (µm) | Cumulative Mass Finer (Percent) | Mass Frequency (Percent) | Cum. Mass Standard Deviation (1 tests) | Particle Size (Phi) | Settling Velocity (cm/s) | ¦ | No. 50 | 300 | 101.0 | 0.0 | 0.0 | ¦ | 250.0 | 200.0 | 223.6 | 101.0 | 0.0 | 0.0 | ¦ | Test 1 |  |  |  | ¦ | Test 1
250.0 | 125.0 | 176.8 | 100.6 | 0.4 | 0.0 | 3.000 | 1.89179 | ¦ | No. 120 | 125 | 100.6 | 0.4 | 0.0 | ¦ | 200.0 | 150.0 | 173.2 | 100.8 | 0.2 | 0.0 | ¦ | Particle Diameter (µm) | Cumulative Finer Mass Percent |  |  | ¦ | Settling Velocity (cm/s) | Mass Frequency Percent
125.0 | 63.00 | 88.74 | 97.2 | 3.3 | 0.0 | 3.989 | 0.48055 | ¦ | No. 270 | 53 | 95.1 | 5.5 | 0.0 | ¦ | 150.0 | 100.0 | 122.5 | 100.1 | 0.7 | 0.0 | ¦ | 2.0535 | 12.7307 |  |  | ¦ | 0.00048201 | 0
63.00 | 32.00 | 44.90 | 87.2 | 10.0 | 0.0 | 4.966 | 0.12398 | ¦ | No. 635 | 20 | 74.9 | 20.2 | 0.0 | ¦ | 100.0 | 80.00 | 89.44 | 99.2 | 0.8 | 0.0 | ¦ | 2.1752 | 14.7606 |  |  | ¦ | 0.00054082 | 2.0299
32.00 | 16.00 | 22.63 | 68.2 | 19.0 | 0.0 | 5.966 | 0.03100 | ¦ | [5 empty] | ¦ | 80.00 | 60.00 | 69.28 | 96.7 | 2.6 | 0.0 | ¦ | 2.3041 | 16.4283 |  |  | ¦ | 0.00060681 | 1.6677
16.00 | 8.000 | 11.31 | 46.6 | 21.7 | 0.0 | 6.966 | 0.00775 | ¦ | [5 empty] | ¦ | 60.00 | 50.00 | 54.77 | 94.3 | 2.3 | 0.0 | ¦ | 2.4406 | 17.8166 |  |  | ¦ | 0.00068085 | 1.3883
8.000 | 4.000 | 5.657 | 28.5 | 18.1 | 0.0 | 7.966 | 0.00194 | ¦ | [5 empty] | ¦ | 50.00 | 40.00 | 44.72 | 91.2 | 3.1 | 0.0 | ¦ | 2.5852 | 19.0366 |  |  | ¦ | 0.00076393 | 1.22
4.000 | 2.000 | 2.828 | 12.7 | 15.8 | 0.0 | 8.966 | 0.00048 | ¦ | [5 empty] | ¦ | 40.00 | 30.00 | 34.64 | 85.8 | 5.5 | 0.0 | ¦ | 2.7384 | 20.1934 |  |  | ¦ | 0.00085714 | 1.1568
[8 empty] | ¦ | [5 empty] | ¦ | 30.00 | 25.00 | 27.39 | 81.0 | 4.7 | 0.0 | ¦ | 2.9007 | 21.3592 |  |  | ¦ | 0.00096173 | 1.1658
[8 empty] | ¦ | [5 empty] | ¦ | 25.00 | 20.00 | 22.36 | 74.9 | 6.1 | 0.0 | ¦ | 3.0726 | 22.5668 |  |  | ¦ | 0.0010791 | 1.2076
Cumulative Finer Mass Percent vs. Diameter | [7 empty] | ¦ | [5 empty] | ¦ | 20.00 | 15.00 | 17.32 | 66.2 | 8.7 | 0.0 | ¦ | 3.2546 | 23.8181 |  |  | ¦ | 0.0012107 | 1.2513
[8 empty] | ¦ | [5 empty] | ¦ | 15.00 | 10.00 | 12.25 | 53.6 | 12.6 | 0.0 | ¦ | 3.4475 | 25.1023 |  |  | ¦ | 0.0013585 | 1.2842
[8 empty] | ¦ | [5 empty] | ¦ | 10.00 | 8.000 | 8.944 | 46.6 | 7.0 | 0.0 | ¦ | 3.6517 | 26.411 |  |  | ¦ | 0.0015242 | 1.3087
Cumulative Finer Mass Percent |  | Mass Frequency Percent |  | Cumulative Surface Area Coarser |  | Surface Area Population |  | ¦ | [5 empty] | ¦ | 8.000 | 6.000 | 6.928 | 38.8 | 7.8 | 0.0 | ¦ | 3.8681 | 27.7437 |  |  | ¦ | 0.0017102 | 1.3327
Particle Diameter (µm) | Cumulative Finer Mass Percent | Particle Diameter (µm) | Mass Frequency Percent | Particle Diameter (µm) | Cumulative Surface Area Coarser (m²/g) | Particle Diameter (µm) | Surface Area Population (m²/g) | ¦ | [5 empty] | ¦ | 6.000 | 5.000 | 5.477 | 34.1 | 4.7 | 0.0 | ¦ | 4.0973 | 29.1059 |  |  | ¦ | 0.0019189 | 1.3622
2.0535 | 12.7307 | 1.9953 | 0 | 2.0535 | 0.26687 | 1.9953 | 0.0070422 | ¦ | [5 empty] | ¦ | 5.000 | 4.000 | 4.472 | 28.5 | 5.6 | 0.0 | ¦ | 4.3401 | 30.5032 |  |  | ¦ | 0.002153 | 1.3973
2.1752 | 14.7606 | 2.1135 | 2.0299 | 2.1752 | 0.25752 | 2.1135 | 0.0093472 | ¦ | [5 empty] | ¦ | 4.000 | 3.000 | 3.464 | 22.1 | 6.5 | 0.0 | ¦ | 4.5973 | 31.9375 |  |  | ¦ | 0.0024158 | 1.4343
2.3041 | 16.4283 | 2.2387 | 1.6677 | 2.3041 | 0.24645 | 2.2387 | 0.011075 | ¦ | [5 empty] | ¦ | 3.000 | 2.000 | 2.449 | 12.7 | 9.3 | 0.0 | ¦ | 4.8697 | 33.4046 |  |  | ¦ | 0.0027105 | 1.4671
2.4406 | 17.8166 | 2.3714 | 1.3883 | 2.4406 | 0.23433 | 2.3714 | 0.012114 | ¦ | [5 empty] | ¦ | [6 empty] | ¦ | 5.1582 | 34.8942 |  |  | ¦ | 0.0030413 | 1.4896
2.5852 | 19.0366 | 2.5119 | 1.22 | 2.5852 | 0.22193 | 2.5119 | 0.012403 | ¦ | [5 empty] | ¦ | [6 empty] | ¦ | 5.4639 | 36.3929 |  |  | ¦ | 0.0034124 | 1.4986
2.7384 | 20.1934 | 2.6607 | 1.1568 | 2.7384 | 0.21003 | 2.6607 | 0.011903 | ¦ | [12 empty] | ¦ | 5.7876 | 37.8882 |  |  | ¦ | 0.0038287 | 1.4953
2.9007 | 21.3592 | 2.8184 | 1.1658 | 2.9007 | 0.19944 | 2.8184 | 0.010584 | ¦ | [12 empty] | ¦ | 6.1306 | 39.3745 |  |  | ¦ | 0.0042959 | 1.4863
3.0726 | 22.5668 | 2.9854 | 1.2076 | 3.0726 | 0.18967 | 2.9854 | 0.0097755 | ¦ | [12 empty] | ¦ | 6.4938 | 40.8589 |  |  | ¦ | 0.0048201 | 1.4844
3.2546 | 23.8181 | 3.1623 | 1.2513 | 3.2546 | 0.18039 | 3.1623 | 0.0092767 | ¦ | [12 empty] | ¦ | 6.8786 | 42.3616 |  |  | ¦ | 0.0054082 | 1.5028
3.4475 | 25.1023 | 3.3497 | 1.2842 | 3.4475 | 0.17146 | 3.3497 | 0.0089302 | ¦ | [12 empty] | ¦ | 7.2862 | 43.9111 |  |  | ¦ | 0.0060681 | 1.5494
3.6517 | 26.411 | 3.5481 | 1.3087 | 3.6517 | 0.16282 | 3.5481 | 0.008638 | ¦ | [12 empty] | ¦ | 7.7179 | 45.5323 |  |  | ¦ | 0.0068085 | 1.6213
3.8681 | 27.7437 | 3.7584 | 1.3327 | 3.8681 | 0.15447 | 3.7584 | 0.0083564 | ¦ | [12 empty] | ¦ | 8.1752 | 47.2357 |  |  | ¦ | 0.0076393 | 1.7034
4.0973 | 29.1059 | 3.9811 | 1.3622 | 4.0973 | 0.14639 | 3.9811 | 0.0080745 | ¦ | [12 empty] | ¦ | 8.6596 | 49.0111 |  |  | ¦ | 0.0085714 | 1.7754
4.3401 | 30.5032 | 4.217 | 1.3973 | 4.3401 | 0.1386 | 4.217 | 0.0077935 | ¦ | [12 empty] | ¦ | 9.1728 | 50.832 |  |  | ¦ | 0.0096173 | 1.8208
4.5973 | 31.9375 | 4.4668 | 1.4343 | 4.5973 | 0.13109 | 4.4668 | 0.0075118 | ¦ | [12 empty] | ¦ | 9.7163 | 52.6654 |  |  | ¦ | 0.010791 | 1.8334
4.8697 | 33.4046 | 4.7315 | 1.4671 | 4.8697 | 0.12386 | 4.7315 | 0.0072229 | ¦ | [12 empty] | ¦ | 10.292 | 54.4856 |  |  | ¦ | 0.012107 | 1.8202
5.1582 | 34.8942 | 5.0119 | 1.4896 | 5.1582 | 0.11694 | 5.0119 | 0.0069193 | ¦ | [12 empty] | ¦ | 10.9018 | 56.282 |  |  | ¦ | 0.013585 | 1.7964
5.4639 | 36.3929 | 5.3088 | 1.4986 | 5.4639 | 0.11034 | 5.3088 | 0.0066 | ¦ | [12 empty] | ¦ | 11.5478 | 58.06 |  |  | ¦ | 0.015242 | 1.778
5.7876 | 37.8882 | 5.6234 | 1.4953 | 5.7876 | 0.10407 | 5.6234 | 0.0062742 | ¦ | [12 empty] | ¦ | 12.2321 | 59.8342 |  |  | ¦ | 0.017102 | 1.7742
6.1306 | 39.3745 | 5.9566 | 1.4863 | 6.1306 | 0.098111 | 5.9566 | 0.0059594 | ¦ | [12 empty] | ¦ | 12.9569 | 61.6185 |  |  | ¦ | 0.019189 | 1.7844
6.4938 | 40.8589 | 6.3096 | 1.4844 | 6.4938 | 0.092435 | 6.3096 | 0.0056758 | ¦ | [12 empty] | ¦ | 13.7246 | 63.4192 |  |  | ¦ | 0.02153 | 1.8006
6.8786 | 42.3616 | 6.6834 | 1.5028 | 6.8786 | 0.086997 | 6.6834 | 0.0054382 | ¦ | [12 empty] | ¦ | 14.5378 | 65.2317 |  |  | ¦ | 0.024158 | 1.8126
7.2862 | 43.9111 | 7.0795 | 1.5494 | 7.2862 | 0.081748 | 7.0795 | 0.0052495 | ¦ | [12 empty] | ¦ | 15.3993 | 67.044 |  |  | ¦ | 0.027105 | 1.8123
7.7179 | 45.5323 | 7.4989 | 1.6213 | 7.7179 | 0.076648 | 7.4989 | 0.0050997 | ¦ | [12 empty] | ¦ | 16.3117 | 68.8394 |  |  | ¦ | 0.030413 | 1.7954
8.1752 | 47.2357 | 7.9433 | 1.7034 | 8.1752 | 0.071679 | 7.9433 | 0.0049688 | ¦ | [12 empty] | ¦ | 17.2783 | 70.602 |  |  | ¦ | 0.034124 | 1.7625
8.6596 | 49.0111 | 8.414 | 1.7754 | 8.6596 | 0.066846 | 8.414 | 0.0048335 | ¦ | [12 empty] | ¦ | 18.3021 | 72.3201 |  |  | ¦ | 0.038287 | 1.7181
9.1728 | 50.832 | 8.9125 | 1.8208 | 9.1728 | 0.06217 | 8.9125 | 0.0046754 | ¦ | [12 empty] | ¦ | 19.3865 | 73.9899 |  |  | ¦ | 0.042959 | 1.6698
9.7163 | 52.6654 | 9.4406 | 1.8334 | 9.7163 | 0.057684 | 9.4406 | 0.0044865 | ¦ | [12 empty] | ¦ | 20.5353 | 75.6164 |  |  | ¦ | 0.048201 | 1.6265
10.292 | 54.4856 | 10 | 1.8202 | 10.292 | 0.053413 | 10 | 0.0042702 | ¦ | [12 empty] | ¦ | 21.752 | 77.2119 |  |  | ¦ | 0.054082 | 1.5955
10.9018 | 56.282 | 10.5925 | 1.7964 | 10.9018 | 0.049375 | 10.5925 | 0.0040387 | ¦ | [12 empty] | ¦ | 23.0409 | 78.7916 |  |  | ¦ | 0.060681 | 1.5797
11.5478 | 58.06 | 11.2202 | 1.778 | 11.5478 | 0.045568 | 11.2202 | 0.0038068 | ¦ | [12 empty] | ¦ | 24.4062 | 80.3649 |  |  | ¦ | 0.068085 | 1.5733
12.2321 | 59.8342 | 11.885 | 1.7742 | 12.2321 | 0.041981 | 11.885 | 0.0035864 | ¦ | [12 empty] | ¦ | 25.8523 | 81.9277 |  |  | ¦ | 0.076393 | 1.5629
12.9569 | 61.6185 | 12.5893 | 1.7844 | 12.9569 | 0.038599 | 12.5893 | 0.0033828 | ¦ | [12 empty] | ¦ | 27.3842 | 83.4605 |  |  | ¦ | 0.085714 | 1.5327
13.7246 | 63.4192 | 13.3352 | 1.8006 | 13.7246 | 0.035404 | 13.3352 | 0.0031949 | ¦ | [12 empty] | ¦ | 29.0068 | 84.9327 |  |  | ¦ | 0.096173 | 1.4723
14.5378 | 65.2317 | 14.1254 | 1.8126 | 14.5378 | 0.032387 | 14.1254 | 0.0030168 | ¦ | [12 empty] | ¦ | 30.7256 | 86.3138 |  |  | ¦ | 0.10791 | 1.3811
15.3993 | 67.044 | 14.9624 | 1.8123 | 15.3993 | 0.029545 | 14.9624 | 0.0028417 | ¦ | [12 empty] | ¦ | 32.5462 | 87.5821 |  |  | ¦ | 0.12107 | 1.2683
16.3117 | 68.8394 | 15.8489 | 1.7954 | 16.3117 | 0.02688 | 15.8489 | 0.002665 | ¦ | [12 empty] | ¦ | 34.4747 | 88.7311 |  |  | ¦ | 0.13585 | 1.149
17.2783 | 70.602 | 16.788 | 1.7625 | 17.2783 | 0.024394 | 16.788 | 0.0024861 | ¦ | [12 empty] | ¦ | 36.5174 | 89.7689 |  |  | ¦ | 0.15242 | 1.0378
18.3021 | 72.3201 | 17.7828 | 1.7181 | 18.3021 | 0.022086 | 17.7828 | 0.0023083 | ¦ | [12 empty] | ¦ | 38.6812 | 90.7135 |  |  | ¦ | 0.17102 | 0.94459
19.3865 | 73.9899 | 18.8365 | 1.6698 | 19.3865 | 0.019949 | 18.8365 | 0.0021369 | ¦ | [12 empty] | ¦ | 40.9732 | 91.5858 |  |  | ¦ | 0.19189 | 0.87227
20.5353 | 75.6164 | 19.9526 | 1.6265 | 20.5353 | 0.017972 | 19.9526 | 0.0019771 | ¦ | [12 empty] | ¦ | 43.401 | 92.4055 |  |  | ¦ | 0.2153 | 0.81974
21.752 | 77.2119 | 21.1349 | 1.5955 | 21.752 | 0.01614 | 21.1349 | 0.0018319 | ¦ | [12 empty] | ¦ | 45.9727 | 93.1906 |  |  | ¦ | 0.24158 | 0.78505
23.0409 | 78.7916 | 22.3872 | 1.5797 | 23.0409 | 0.014439 | 22.3872 | 0.0017007 | ¦ | [12 empty] | ¦ | 48.6968 | 93.9561 |  |  | ¦ | 0.27105 | 0.76553
24.4062 | 80.3649 | 23.7137 | 1.5733 | 24.4062 | 0.01286 | 23.7137 | 0.0015798 | ¦ | [12 empty] | ¦ | 51.5822 | 94.7129 |  |  | ¦ | 0.30413 | 0.75679
25.8523 | 81.9277 | 25.1189 | 1.5629 | 25.8523 | 0.011396 | 25.1189 | 0.0014637 | ¦ | [12 empty] | ¦ | 54.6387 | 95.4642 |  |  | ¦ | 0.34124 | 0.75134
27.3842 | 83.4605 | 26.6073 | 1.5327 | 27.3842 | 0.010049 | 26.6073 | 0.0013471 | ¦ | [12 empty] | ¦ | 57.8762 | 96.203 |  |  | ¦ | 0.38287 | 0.73874
29.0068 | 84.9327 | 28.1838 | 1.4723 | 29.0068 | 0.008822 | 28.1838 | 0.0012269 | ¦ | [12 empty] | ¦ | 61.3056 | 96.9116 |  |  | ¦ | 0.42959 | 0.70868
30.7256 | 86.3138 | 29.8538 | 1.3811 | 30.7256 | 0.0077192 | 29.8538 | 0.0011028 | ¦ | [12 empty] | ¦ | 64.9382 | 97.5669 |  |  | ¦ | 0.48201 | 0.65524
32.5462 | 87.5821 | 31.6228 | 1.2683 | 32.5462 | 0.0067415 | 31.6228 | 0.00097774 | ¦ | [12 empty] | ¦ | 68.786 | 98.1466 |  |  | ¦ | 0.54082 | 0.57971
34.4747 | 88.7311 | 33.4965 | 1.149 | 34.4747 | 0.0058849 | 33.4965 | 0.00085654 | ¦ | [12 empty] | ¦ | 72.8618 | 98.6371 |  |  | ¦ | 0.60681 | 0.49047
36.5174 | 89.7689 | 35.4813 | 1.0378 | 36.5174 | 0.0051405 | 35.4813 | 0.00074442 | ¦ | [12 empty] | ¦ | 77.1792 | 99.0371 |  |  | ¦ | 0.68085 | 0.39998
38.6812 | 90.7135 | 37.5837 | 0.94459 | 38.6812 | 0.0044949 | 37.5837 | 0.0006456 | ¦ | [12 empty] | ¦ | 81.7523 | 99.3569 |  |  | ¦ | 0.76393 | 0.31982
40.9732 | 91.5858 | 39.8107 | 0.87227 | 40.9732 | 0.0039325 | 39.8107 | 0.00056239 | ¦ | [12 empty] | ¦ | 86.5964 | 99.6136 |  |  | ¦ | 0.85714 | 0.25669
43.401 | 92.4055 | 42.1697 | 0.81974 | 43.401 | 0.0034375 | 42.1697 | 0.00049501 | ¦ | [12 empty] | ¦ | 91.7276 | 99.8248 |  |  | ¦ | 0.96173 | 0.21121
45.9727 | 93.1906 | 44.6684 | 0.78505 | 45.9727 | 0.0029957 | 44.6684 | 0.00044181 | ¦ | [12 empty] | ¦ | 97.1628 | 100.0045 |  |  | ¦ | 1.0791 | 0.17968
48.6968 | 93.9561 | 47.3151 | 0.76553 | 48.6968 | 0.0025959 | 47.3151 | 0.00039985 | ¦ | [12 empty] | ¦ | 102.9201 | 100.1612 |  |  | ¦ | 1.2107 | 0.15677
51.5822 | 94.7129 | 50.1187 | 0.75679 | 51.5822 | 0.0022303 | 50.1187 | 0.00036556 | ¦ | [12 empty] | ¦ | 109.0184 | 100.2991 |  |  | ¦ | 1.3585 | 0.13789
54.6387 | 95.4642 | 53.0884 | 0.75134 | 54.6387 | 0.001895 | 53.0884 | 0.00033535 | ¦ | [12 empty] | ¦ | 115.4782 | 100.4195 |  |  | ¦ | 1.5242 | 0.12042
57.8762 | 96.203 | 56.2341 | 0.73874 | 57.8762 | 0.0015888 | 56.2341 | 0.00030617 | ¦ | [12 empty] | ¦ | 122.3207 | 100.5234 |  |  | ¦ | 1.7102 | 0.10386
61.3056 | 96.9116 | 59.5662 | 0.70868 | 61.3056 | 0.0013129 | 59.5662 | 0.00027587 | ¦ | [12 empty] | ¦ | 129.5687 | 100.612 |  |  | ¦ | 1.9189 | 0.088623
64.9382 | 97.5669 | 63.0957 | 0.65524 | 64.9382 | 0.0010693 | 63.0957 | 0.00024358 | ¦ | [12 empty] | ¦ | 137.2461 | 100.6871 |  |  | ¦ | 2.153 | 0.075056
68.786 | 98.1466 | 66.8344 | 0.57971 | 68.786 | 0.00085968 | 66.8344 | 0.00020965 | ¦ | [12 empty] | ¦ | 145.3784 | 100.7504 |  |  | ¦ | 2.4158 | 0.063353
72.8618 | 98.6371 | 70.7946 | 0.49047 | 72.8618 | 0.00068422 | 70.7946 | 0.00017546 | ¦ | [12 empty] | ¦ | 153.9927 | 100.8042 |  |  | ¦ | 2.7105 | 0.053791
77.1792 | 99.0371 | 74.9894 | 0.39998 | 77.1792 | 0.00054136 | 74.9894 | 0.00014286 | ¦ | [12 empty] | ¦ | 163.1173 | 100.8508 |  |  | ¦ | 3.0413 | 0.04659
81.7523 | 99.3569 | 79.4328 | 0.31982 | 81.7523 | 0.00042774 | 79.4328 | 0.00011362 | ¦ | [12 empty] | ¦ | 172.7826 | 100.8925 |  |  | ¦ | 3.4124 | 0.041687
86.5964 | 99.6136 | 84.1395 | 0.25669 | 86.5964 | 0.00033881 | 84.1395 | 8.8931e-05 | ¦ | [12 empty] | ¦ | 183.0206 | 100.9313 |  |  | ¦ | 3.8287 | 0.038759
91.7276 | 99.8248 | 89.1251 | 0.21121 | 91.7276 | 0.00026959 | 89.1251 | 6.9222e-05 | ¦ | [12 empty] | ¦ | 193.8653 | 100.9686 |  |  | ¦ | 4.2959 | 0.037292
97.1628 | 100.0045 | 94.4061 | 0.17968 | 97.1628 | 0.00021543 | 94.4061 | 5.4156e-05 | ¦ | [12 empty] | ¦ | 205.3525 | 100.9974 |  |  | ¦ | 4.8201 | 0.028819
102.9201 | 100.1612 | 100 | 0.15677 | 102.9201 | 0.00017252 | 100 | 4.2914e-05 | ¦ | [12 empty] | ¦ |  |  |  |  | ¦ | 5.4082 | 0
109.0184 | 100.2991 | 105.9254 | 0.13789 | 109.0184 | 0.00013801 | 105.9254 | 3.4509e-05 | ¦ | [17 empty] | ¦
115.4782 | 100.4195 | 112.2018 | 0.12042 | 115.4782 | 0.00010996 | 112.2018 | 2.8054e-05 | ¦
122.3207 | 100.5234 | 118.8502 | 0.10386 | 122.3207 | 8.7054e-05 | 118.8502 | 2.2902e-05 | ¦
129.5687 | 100.612 | 125.8925 | 0.088623 | 129.5687 | 6.8392e-05 | 125.8925 | 1.8662e-05 | ¦
137.2461 | 100.6871 | 133.3521 | 0.075056 | 137.2461 | 5.3256e-05 | 133.3521 | 1.5136e-05 | ¦
145.3784 | 100.7504 | 141.2538 | 0.063353 | 145.3784 | 4.1017e-05 | 141.2538 | 1.2239e-05 | ¦
153.9927 | 100.8042 | 149.6236 | 0.053791 | 153.9927 | 3.1098e-05 | 149.6236 | 9.9183e-06 | ¦
163.1173 | 100.8508 | 158.4893 | 0.04659 | 163.1173 | 2.2982e-05 | 158.4893 | 8.1163e-06 | ¦
172.7826 | 100.8925 | 167.8804 | 0.041687 | 172.7826 | 1.6295e-05 | 167.8804 | 6.6867e-06 | ¦
183.0206 | 100.9313 | 177.8279 | 0.038759 | 183.0206 | 1.0973e-05 | 177.8279 | 5.3228e-06 | ¦
193.8653 | 100.9686 | 188.3649 | 0.037292 | 193.8653 | 6.9032e-06 | 188.3649 | 4.0694e-06 | ¦
205.3525 | 100.9974 | 199.5262 | 0.028819 | 205.3525 | 3.9508e-06 | 199.5262 | 2.9524e-06 | ¦
|  | 211.3489 | 0 |  |  | 211.3489 | 1.9889e-06 | ¦
¦