## 001-004
Micromeritics Instrument Corporation | [7 empty] | ¦ | Micromeritics Instrument Corporation |  |  |  |  | ¦ | Micromeritics Instrument Corporation | [5 empty] | ¦ | Micromeritics Instrument Corporation |  |  |  | ¦ | Micromeritics Instrument Corporation
SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 |  |  |  |  | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 |  | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 |  |  | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Sample: | AP_H1_dt1.0 | [6 empty] | ¦ | Sample: | AP_H1_dt1.0 |  |  |  | ¦ | Sample: | AP_H1_dt1.0 |  |  |  |  | ¦ | Sample: | AP_H1_dt1.0 |  |  | ¦ | Sample: | AP_H1_dt1.0
Operator: | Jia Jia ter Kuile | [6 empty] | ¦ | Operator: | Jia Jia ter Kuile |  |  |  | ¦ | Operator: | Jia Jia ter Kuile |  |  |  |  | ¦ | Operator: | Jia Jia ter Kuile |  |  | ¦ | Operator: | Jia Jia ter Kuile
Submitter: | [7 empty] | ¦ | Submitter: |  |  |  |  | ¦ | Submitter: | [5 empty] | ¦ | Submitter: |  |  |  | ¦ | Submitter:
File: | C:\...\JIAJIA~1\001-004.SMP | [6 empty] | ¦ | File: | C:\...\JIAJIA~1\001-004.SMP |  |  |  | ¦ | File: | C:\...\JIAJIA~1\001-004.SMP |  |  |  |  | ¦ | File: | C:\...\JIAJIA~1\001-004.SMP |  |  | ¦ | File: | C:\...\JIAJIA~1\001-004.SMP
Material/Liquid: | soil / Water | [6 empty] | ¦ | Material/Liquid: | soil / Water |  |  |  | ¦ | Material/Liquid: | soil / Water |  |  |  |  | ¦ | Material/Liquid: | soil / Water |  |  | ¦ | Material/Liquid: | soil / Water
Measurement Principle: | X-Ray monitored gravity sedimentation | [6 empty] | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation |  |  |  | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation |  |  |  |  | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation |  |  | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation
Calculation Method: | Stokes sedimentation and Beer's law of extinction | [6 empty] | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction |  |  |  | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction |  |  |  |  | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction |  |  | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Test Number: | 1 | Analysis Type: | High Resolution |  |  |  |  | ¦ | Test Number: | 1 | Analysis Type: | High Resolution |  | ¦ | Test Number: | 1 | Analysis Type: | High Resolution |  |  | ¦ | Test Number: | 1 | Analysis Type: | High Resolution | ¦ | Test Number: | 1 | Analysis Type: | High Resolution
Analyzed: | 2/7/2024 3:26:12PM | Run Time: | 0:03 hrs:min |  |  |  |  | ¦ | Analyzed: | 2/7/2024 3:26:12PM | Run Time: | 0:03 hrs:min |  | ¦ | Analyzed: | 2/7/2024 3:26:12PM | Run Time: | 0:03 hrs:min |  |  | ¦ | Analyzed: | 2/7/2024 3:26:12PM | Run Time: | 0:03 hrs:min | ¦ | Analyzed: | 2/7/2024 3:26:12PM | Run Time: | 0:03 hrs:min
Reported: | 2/7/2024 3:33:06PM | Sample Density: | 2.600 g/cm³ |  |  |  |  | ¦ | Reported: | 2/7/2024 3:33:06PM | Sample Density: | 2.600 g/cm³ |  | ¦ | Reported: | 2/7/2024 3:33:06PM | Sample Density: | 2.600 g/cm³ |  |  | ¦ | Reported: | 2/7/2024 3:33:06PM | Sample Density: | 2.600 g/cm³ | ¦ | Reported: | 2/7/2024 3:33:06PM | Sample Density: | 2.600 g/cm³
Liquid Visc: | 0.7222 mPa·s | Liquid Density: | 0.9941 g/cm³ |  |  |  |  | ¦ | Liquid Visc: | 0.7222 mPa·s | Liquid Density: | 0.9941 g/cm³ |  | ¦ | Liquid Visc: | 0.7222 mPa·s | Liquid Density: | 0.9941 g/cm³ |  |  | ¦ | Liquid Visc: | 0.7222 mPa·s | Liquid Density: | 0.9941 g/cm³ | ¦ | Liquid Visc: | 0.7222 mPa·s | Liquid Density: | 0.9941 g/cm³
Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 72 kCnts/s |  |  |  |  | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 72 kCnts/s |  | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 72 kCnts/s |  |  | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 72 kCnts/s | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 72 kCnts/s
Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 |  |  |  |  | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 |  | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 |  |  | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound | [7 empty] | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound |  |  |  |  | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound | [5 empty] | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound |  |  |  | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Combined Report | [7 empty] | ¦ | Report by Sieve Size |  |  |  |  | ¦ | Report by Size Table | [5 empty] | ¦ | Cumulative Finer Mass Percent vs. Diameter |  |  |  | ¦ | Mass Frequency vs. Settling Velocity
Report by Size Table | [7 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | Sieve Name | Aperture Size (µm) | Cumulative Mass Passed (Percent) | Mass Frequency (Percent) | Cum. Mass Standard Deviation (1 tests) | ¦ | High Diameter (µm) | Low Diameter (µm) | Average Diameter (µm) | Cumulative Mass Finer (Percent) | Mass Frequency (Percent) | Cum. Mass Standard Deviation (1 tests) | ¦ |  |  |  |  | ¦
High Diameter (µm) | Low Diameter (µm) | Average Diameter (µm) | Cumulative Mass Finer (Percent) | Mass Frequency (Percent) | Cum. Mass Standard Deviation (1 tests) | Particle Size (Phi) | Settling Velocity (cm/s) | ¦ | No. 50 | 300 | 101.4 | 0.0 | 0.0 | ¦ | 250.0 | 200.0 | 223.6 | 101.3 | 0.0 | 0.0 | ¦ | Test 1 |  |  |  | ¦ | Test 1
250.0 | 125.0 | 176.8 | 101.0 | 0.4 | 0.0 | 3.000 | 1.89163 | ¦ | No. 120 | 125 | 101.0 | 0.4 | 0.0 | ¦ | 200.0 | 150.0 | 173.2 | 101.1 | 0.2 | 0.0 | ¦ | Particle Diameter (µm) | Cumulative Finer Mass Percent |  |  | ¦ | Settling Velocity (cm/s) | Mass Frequency Percent
125.0 | 63.00 | 88.74 | 98.2 | 2.8 | 0.0 | 3.989 | 0.48051 | ¦ | No. 270 | 53 | 96.4 | 4.6 | 0.0 | ¦ | 150.0 | 100.0 | 122.5 | 100.7 | 0.4 | 0.0 | ¦ | 2.0535 | 17.1162 |  |  | ¦ | 0.00048197 | 0
63.00 | 32.00 | 44.90 | 88.1 | 10.1 | 0.0 | 4.966 | 0.12397 | ¦ | No. 635 | 20 | 77.1 | 19.3 | 0.0 | ¦ | 100.0 | 80.00 | 89.44 | 99.9 | 0.8 | 0.0 | ¦ | 2.1752 | 18.2429 |  |  | ¦ | 0.00054078 | 1.1267
32.00 | 16.00 | 22.63 | 71.1 | 17.0 | 0.0 | 5.966 | 0.03099 | ¦ | [5 empty] | ¦ | 80.00 | 60.00 | 69.28 | 97.7 | 2.1 | 0.0 | ¦ | 2.3041 | 19.3668 |  |  | ¦ | 0.00060676 | 1.124
16.00 | 8.000 | 11.31 | 50.5 | 20.5 | 0.0 | 6.966 | 0.00775 | ¦ | [5 empty] | ¦ | 60.00 | 50.00 | 54.77 | 95.7 | 2.0 | 0.0 | ¦ | 2.4406 | 20.5129 |  |  | ¦ | 0.0006808 | 1.146
8.000 | 4.000 | 5.657 | 32.0 | 18.5 | 0.0 | 7.966 | 0.00194 | ¦ | [5 empty] | ¦ | 50.00 | 40.00 | 44.72 | 92.4 | 3.3 | 0.0 | ¦ | 2.5852 | 21.702 |  |  | ¦ | 0.00076387 | 1.1892
4.000 | 2.000 | 2.828 | 17.1 | 14.9 | 0.0 | 8.966 | 0.00048 | ¦ | [5 empty] | ¦ | 40.00 | 30.00 | 34.64 | 86.7 | 5.7 | 0.0 | ¦ | 2.7384 | 22.9441 |  |  | ¦ | 0.00085707 | 1.242
[8 empty] | ¦ | [5 empty] | ¦ | 30.00 | 25.00 | 27.39 | 82.6 | 4.1 | 0.0 | ¦ | 2.9007 | 24.2355 |  |  | ¦ | 0.00096165 | 1.2914
[8 empty] | ¦ | [5 empty] | ¦ | 25.00 | 20.00 | 22.36 | 77.1 | 5.5 | 0.0 | ¦ | 3.0726 | 25.564 |  |  | ¦ | 0.001079 | 1.3286
Cumulative Finer Mass Percent vs. Diameter | [7 empty] | ¦ | [5 empty] | ¦ | 20.00 | 15.00 | 17.32 | 69.3 | 7.7 | 0.0 | ¦ | 3.2546 | 26.9177 |  |  | ¦ | 0.0012106 | 1.3537
[8 empty] | ¦ | [5 empty] | ¦ | 15.00 | 10.00 | 12.25 | 57.3 | 12.0 | 0.0 | ¦ | 3.4475 | 28.2921 |  |  | ¦ | 0.0013584 | 1.3744
[8 empty] | ¦ | [5 empty] | ¦ | 10.00 | 8.000 | 8.944 | 50.5 | 6.8 | 0.0 | ¦ | 3.6517 | 29.6922 |  |  | ¦ | 0.0015241 | 1.4001
Cumulative Finer Mass Percent |  | Mass Frequency Percent |  | Cumulative Surface Area Coarser |  | Surface Area Population |  | ¦ | [5 empty] | ¦ | 8.000 | 6.000 | 6.928 | 42.7 | 7.8 | 0.0 | ¦ | 3.8681 | 31.1277 |  |  | ¦ | 0.0017101 | 1.4354
Particle Diameter (µm) | Cumulative Finer Mass Percent | Particle Diameter (µm) | Mass Frequency Percent | Particle Diameter (µm) | Cumulative Surface Area Coarser (m²/g) | Particle Diameter (µm) | Surface Area Population (m²/g) | ¦ | [5 empty] | ¦ | 6.000 | 5.000 | 5.477 | 37.9 | 4.8 | 0.0 | ¦ | 4.0973 | 32.6041 |  |  | ¦ | 0.0019187 | 1.4765
2.0535 | 17.1162 | 1.9953 | 0 | 2.0535 | 0.25791 | 1.9953 | 0.0044822 | ¦ | [5 empty] | ¦ | 5.000 | 4.000 | 4.472 | 32.0 | 5.9 | 0.0 | ¦ | 4.3401 | 34.1173 |  |  | ¦ | 0.0021529 | 1.5132
2.1752 | 18.2429 | 2.1135 | 1.1267 | 2.1752 | 0.25151 | 2.1135 | 0.0063983 | ¦ | [5 empty] | ¦ | 4.000 | 3.000 | 3.464 | 25.0 | 7.0 | 0.0 | ¦ | 4.5973 | 35.6531 |  |  | ¦ | 0.0024156 | 1.5357
2.3041 | 19.3668 | 2.2387 | 1.124 | 2.3041 | 0.24336 | 2.2387 | 0.0081537 | ¦ | [5 empty] | ¦ | 3.000 | 2.000 | 2.449 | 17.1 | 7.9 | 0.0 | ¦ | 4.8697 | 37.1935 |  |  | ¦ | 0.0027103 | 1.5404
2.4406 | 20.5129 | 2.3714 | 1.146 | 2.4406 | 0.23377 | 2.3714 | 0.009582 | ¦ | [5 empty] | ¦ | [6 empty] | ¦ | 5.1582 | 38.7248 |  |  | ¦ | 0.003041 | 1.5314
2.5852 | 21.702 | 2.5119 | 1.1892 | 2.5852 | 0.22323 | 2.5119 | 0.010541 | ¦ | [5 empty] | ¦ | [6 empty] | ¦ | 5.4639 | 40.2433 |  |  | ¦ | 0.0034121 | 1.5185
2.7384 | 22.9441 | 2.6607 | 1.242 | 2.7384 | 0.21232 | 2.6607 | 0.010911 | ¦ | [12 empty] | ¦ | 5.7876 | 41.7549 |  |  | ¦ | 0.0038284 | 1.5116
2.9007 | 24.2355 | 2.8184 | 1.2914 | 2.9007 | 0.20172 | 2.8184 | 0.010602 | ¦ | [12 empty] | ¦ | 6.1306 | 43.2701 |  |  | ¦ | 0.0042955 | 1.5152
3.0726 | 25.564 | 2.9854 | 1.3286 | 3.0726 | 0.19142 | 2.9854 | 0.010301 | ¦ | [12 empty] | ¦ | 6.4938 | 44.7989 |  |  | ¦ | 0.0048197 | 1.5288
3.2546 | 26.9177 | 3.1623 | 1.3537 | 3.2546 | 0.18143 | 3.1623 | 0.0099902 | ¦ | [12 empty] | ¦ | 6.8786 | 46.3469 |  |  | ¦ | 0.0054078 | 1.548
3.4475 | 28.2921 | 3.3497 | 1.3744 | 3.4475 | 0.17176 | 3.3497 | 0.0096668 | ¦ | [12 empty] | ¦ | 7.2862 | 47.9173 |  |  | ¦ | 0.0060676 | 1.5704
3.6517 | 29.6922 | 3.5481 | 1.4001 | 3.6517 | 0.16242 | 3.5481 | 0.009338 | ¦ | [12 empty] | ¦ | 7.7179 | 49.5158 |  |  | ¦ | 0.006808 | 1.5985
3.8681 | 31.1277 | 3.7584 | 1.4354 | 3.8681 | 0.15342 | 3.7584 | 0.0090093 | ¦ | [12 empty] | ¦ | 8.1752 | 51.1529 |  |  | ¦ | 0.0076387 | 1.637
4.0973 | 32.6041 | 3.9811 | 1.4765 | 4.0973 | 0.14474 | 3.9811 | 0.008679 | ¦ | [12 empty] | ¦ | 8.6596 | 52.8415 |  |  | ¦ | 0.0085707 | 1.6886
4.3401 | 34.1173 | 4.217 | 1.5132 | 4.3401 | 0.1364 | 4.217 | 0.0083398 | ¦ | [12 empty] | ¦ | 9.1728 | 54.5907 |  |  | ¦ | 0.0096165 | 1.7492
4.5973 | 35.6531 | 4.4668 | 1.5357 | 4.5973 | 0.12841 | 4.4668 | 0.0079831 | ¦ | [12 empty] | ¦ | 9.7163 | 56.3974 |  |  | ¦ | 0.01079 | 1.8068
4.8697 | 37.1935 | 4.7315 | 1.5404 | 4.8697 | 0.12081 | 4.7315 | 0.0076061 | ¦ | [12 empty] | ¦ | 10.292 | 58.2428 |  |  | ¦ | 0.012106 | 1.8454
5.1582 | 38.7248 | 5.0119 | 1.5314 | 5.1582 | 0.11359 | 5.0119 | 0.0072147 | ¦ | [12 empty] | ¦ | 10.9018 | 60.094 |  |  | ¦ | 0.013584 | 1.8512
5.4639 | 40.2433 | 5.3088 | 1.5185 | 5.4639 | 0.10677 | 5.3088 | 0.0068219 | ¦ | [12 empty] | ¦ | 11.5478 | 61.9143 |  |  | ¦ | 0.015241 | 1.8202
5.7876 | 41.7549 | 5.6234 | 1.5116 | 5.7876 | 0.10033 | 5.6234 | 0.0064437 | ¦ | [12 empty] | ¦ | 12.2321 | 63.6726 |  |  | ¦ | 0.017101 | 1.7583
6.1306 | 43.2701 | 5.9566 | 1.5152 | 6.1306 | 0.094234 | 5.9566 | 0.0060934 | ¦ | [12 empty] | ¦ | 12.9569 | 65.3535 |  |  | ¦ | 0.019187 | 1.681
6.4938 | 44.7989 | 6.3096 | 1.5288 | 6.4938 | 0.088455 | 6.3096 | 0.0057793 | ¦ | [12 empty] | ¦ | 13.7246 | 66.9614 |  |  | ¦ | 0.021529 | 1.6079
6.8786 | 46.3469 | 6.6834 | 1.548 | 6.8786 | 0.08295 | 6.6834 | 0.0055041 | ¦ | [12 empty] | ¦ | 14.5378 | 68.5169 |  |  | ¦ | 0.024156 | 1.5555
7.2862 | 47.9173 | 7.0795 | 1.5704 | 7.2862 | 0.077683 | 7.0795 | 0.005267 | ¦ | [12 empty] | ¦ | 15.3993 | 70.0491 |  |  | ¦ | 0.027103 | 1.5322
7.7179 | 49.5158 | 7.4989 | 1.5985 | 7.7179 | 0.072619 | 7.4989 | 0.0050641 | ¦ | [12 empty] | ¦ | 16.3117 | 71.5839 |  |  | ¦ | 0.03041 | 1.5348
8.1752 | 51.1529 | 7.9433 | 1.637 | 8.1752 | 0.06773 | 7.9433 | 0.0048892 | ¦ | [12 empty] | ¦ | 17.2783 | 73.1343 |  |  | ¦ | 0.034121 | 1.5504
8.6596 | 52.8415 | 8.414 | 1.6886 | 8.6596 | 0.062997 | 8.414 | 0.0047328 | ¦ | [12 empty] | ¦ | 18.3021 | 74.6957 |  |  | ¦ | 0.038284 | 1.5614
9.1728 | 54.5907 | 8.9125 | 1.7492 | 9.1728 | 0.058415 | 8.9125 | 0.0045821 | ¦ | [12 empty] | ¦ | 19.3865 | 76.2503 |  |  | ¦ | 0.042955 | 1.5545
9.7163 | 56.3974 | 9.4406 | 1.8068 | 9.7163 | 0.053993 | 9.4406 | 0.0044219 | ¦ | [12 empty] | ¦ | 20.5353 | 77.7756 |  |  | ¦ | 0.048197 | 1.5253
10.292 | 58.2428 | 10 | 1.8454 | 10.292 | 0.049755 | 10 | 0.0042382 | ¦ | [12 empty] | ¦ | 21.752 | 79.2548 |  |  | ¦ | 0.054078 | 1.4793
10.9018 | 60.094 | 10.5925 | 1.8512 | 10.9018 | 0.045733 | 10.5925 | 0.0040225 | ¦ | [12 empty] | ¦ | 23.0409 | 80.682 |  |  | ¦ | 0.060676 | 1.4272
11.5478 | 61.9143 | 11.2202 | 1.8202 | 11.5478 | 0.041958 | 11.2202 | 0.0037746 | ¦ | [12 empty] | ¦ | 24.4062 | 82.0613 |  |  | ¦ | 0.06808 | 1.3793
12.2321 | 63.6726 | 11.885 | 1.7583 | 12.2321 | 0.038454 | 11.885 | 0.0035037 | ¦ | [12 empty] | ¦ | 25.8523 | 83.4016 |  |  | ¦ | 0.076387 | 1.3403
12.9569 | 65.3535 | 12.5893 | 1.681 | 12.9569 | 0.035228 | 12.5893 | 0.0032262 | ¦ | [12 empty] | ¦ | 27.3842 | 84.71 |  |  | ¦ | 0.085707 | 1.3084
13.7246 | 66.9614 | 13.3352 | 1.6079 | 13.7246 | 0.032268 | 13.3352 | 0.0029602 | ¦ | [12 empty] | ¦ | 29.0068 | 85.9885 |  |  | ¦ | 0.096165 | 1.2785
14.5378 | 68.5169 | 14.1254 | 1.5555 | 14.5378 | 0.029547 | 14.1254 | 0.0027207 | ¦ | [12 empty] | ¦ | 30.7256 | 87.2343 |  |  | ¦ | 0.1079 | 1.2459
15.3993 | 70.0491 | 14.9624 | 1.5322 | 15.3993 | 0.027032 | 14.9624 | 0.0025149 | ¦ | [12 empty] | ¦ | 32.5462 | 88.4427 |  |  | ¦ | 0.12106 | 1.2084
16.3117 | 71.5839 | 15.8489 | 1.5348 | 16.3117 | 0.024691 | 15.8489 | 0.0023415 | ¦ | [12 empty] | ¦ | 34.4747 | 89.6082 |  |  | ¦ | 0.13584 | 1.1655
17.2783 | 73.1343 | 16.788 | 1.5504 | 17.2783 | 0.022498 | 16.788 | 0.0021928 | ¦ | [12 empty] | ¦ | 36.5174 | 90.7252 |  |  | ¦ | 0.15241 | 1.1169
18.3021 | 74.6957 | 17.7828 | 1.5614 | 18.3021 | 0.02044 | 17.7828 | 0.0020582 | ¦ | [12 empty] | ¦ | 38.6812 | 91.7867 |  |  | ¦ | 0.17101 | 1.0615
19.3865 | 76.2503 | 18.8365 | 1.5545 | 19.3865 | 0.018511 | 18.8365 | 0.0019287 | ¦ | [12 empty] | ¦ | 40.9732 | 92.7853 |  |  | ¦ | 0.19187 | 0.99866
20.5353 | 77.7756 | 19.9526 | 1.5253 | 20.5353 | 0.016712 | 19.9526 | 0.0017987 | ¦ | [12 empty] | ¦ | 43.401 | 93.7155 |  |  | ¦ | 0.21529 | 0.93015
21.752 | 79.2548 | 21.1349 | 1.4793 | 21.752 | 0.015045 | 21.1349 | 0.0016675 | ¦ | [12 empty] | ¦ | 45.9727 | 94.5755 |  |  | ¦ | 0.24156 | 0.86005
23.0409 | 80.682 | 22.3872 | 1.4272 | 23.0409 | 0.013507 | 22.3872 | 0.0015374 | ¦ | [12 empty] | ¦ | 48.6968 | 95.3682 |  |  | ¦ | 0.27103 | 0.79265
24.4062 | 82.0613 | 23.7137 | 1.3793 | 24.4062 | 0.012095 | 23.7137 | 0.0014123 | ¦ | [12 empty] | ¦ | 51.5822 | 96.0984 |  |  | ¦ | 0.3041 | 0.73026
25.8523 | 83.4016 | 25.1189 | 1.3403 | 25.8523 | 0.0108 | 25.1189 | 0.0012955 | ¦ | [12 empty] | ¦ | 54.6387 | 96.7713 |  |  | ¦ | 0.34121 | 0.67286
27.3842 | 84.71 | 26.6073 | 1.3084 | 27.3842 | 0.0096114 | 26.6073 | 0.0011882 | ¦ | [12 empty] | ¦ | 57.8762 | 97.3898 |  |  | ¦ | 0.38284 | 0.61849
29.0068 | 85.9885 | 28.1838 | 1.2785 | 29.0068 | 0.0085211 | 28.1838 | 0.0010903 | ¦ | [12 empty] | ¦ | 61.3056 | 97.9547 |  |  | ¦ | 0.42955 | 0.56496
30.7256 | 87.2343 | 29.8538 | 1.2459 | 30.7256 | 0.0075211 | 29.8538 | 0.001 | ¦ | [12 empty] | ¦ | 64.9382 | 98.4661 |  |  | ¦ | 0.48197 | 0.51135
32.5462 | 88.4427 | 31.6228 | 1.2084 | 32.5462 | 0.0066058 | 31.6228 | 0.00091533 | ¦ | [12 empty] | ¦ | 68.786 | 98.924 |  |  | ¦ | 0.54078 | 0.45792
34.4747 | 89.6082 | 33.4965 | 1.1655 | 34.4747 | 0.0057713 | 33.4965 | 0.00083446 | ¦ | [12 empty] | ¦ | 72.8618 | 99.3292 |  |  | ¦ | 0.60676 | 0.40521
36.5174 | 90.7252 | 35.4813 | 1.1169 | 36.5174 | 0.0050149 | 35.4813 | 0.0007564 | ¦ | [12 empty] | ¦ | 77.1792 | 99.6826 |  |  | ¦ | 0.6808 | 0.35337
38.6812 | 91.7867 | 37.5837 | 1.0615 | 38.6812 | 0.0043339 | 37.5837 | 0.00068097 | ¦ | [12 empty] | ¦ | 81.7523 | 99.9852 |  |  | ¦ | 0.76387 | 0.30263
40.9732 | 92.7853 | 39.8107 | 0.99866 | 40.9732 | 0.0037253 | 39.8107 | 0.00060861 | ¦ | [12 empty] | ¦ | 86.5964 | 100.2387 |  |  | ¦ | 0.85707 | 0.25345
43.401 | 93.7155 | 42.1697 | 0.93015 | 43.401 | 0.0031853 | 42.1697 | 0.00054005 | ¦ | [12 empty] | ¦ | 91.7276 | 100.4454 |  |  | ¦ | 0.96165 | 0.20672
45.9727 | 94.5755 | 44.6684 | 0.86005 | 45.9727 | 0.0027091 | 44.6684 | 0.00047611 | ¦ | [12 empty] | ¦ | 97.1628 | 100.6093 |  |  | ¦ | 1.079 | 0.16388
48.6968 | 95.3682 | 47.3151 | 0.79265 | 48.6968 | 0.0022918 | 47.3151 | 0.0004174 | ¦ | [12 empty] | ¦ | 102.9201 | 100.7359 |  |  | ¦ | 1.2106 | 0.12663
51.5822 | 96.0984 | 50.1187 | 0.73026 | 51.5822 | 0.0019275 | 50.1187 | 0.00036427 | ¦ | [12 empty] | ¦ | 109.0184 | 100.8323 |  |  | ¦ | 1.3584 | 0.096421
54.6387 | 96.7713 | 53.0884 | 0.67286 | 54.6387 | 0.0016108 | 53.0884 | 0.00031669 | ¦ | [12 empty] | ¦ | 115.4782 | 100.9061 |  |  | ¦ | 1.5241 | 0.073809
57.8762 | 97.3898 | 56.2341 | 0.61849 | 57.8762 | 0.0013365 | 56.2341 | 0.00027432 | ¦ | [12 empty] | ¦ | 122.3207 | 100.9646 |  |  | ¦ | 1.7101 | 0.058498
61.3056 | 97.9547 | 59.5662 | 0.56496 | 61.3056 | 0.0010999 | 59.5662 | 0.00023659 | ¦ | [12 empty] | ¦ | 129.5687 | 101.014 |  |  | ¦ | 1.9187 | 0.049334
64.9382 | 98.4661 | 63.0957 | 0.51135 | 64.9382 | 0.00089705 | 63.0957 | 0.00020284 | ¦ | [12 empty] | ¦ | 137.2461 | 101.0587 |  |  | ¦ | 2.1529 | 0.044717
68.786 | 98.924 | 66.8344 | 0.45792 | 68.786 | 0.00072452 | 66.8344 | 0.00017253 | ¦ | [12 empty] | ¦ | 145.3784 | 101.1018 |  |  | ¦ | 2.4156 | 0.043065
72.8618 | 99.3292 | 70.7946 | 0.40521 | 72.8618 | 0.00057928 | 70.7946 | 0.00014524 | ¦ | [12 empty] | ¦ | 153.9927 | 101.1447 |  |  | ¦ | 2.7103 | 0.042991
77.1792 | 99.6826 | 74.9894 | 0.35337 | 77.1792 | 0.00045855 | 74.9894 | 0.00012073 | ¦ | [12 empty] | ¦ | 163.1173 | 101.1882 |  |  | ¦ | 3.041 | 0.043504
81.7523 | 99.9852 | 79.4328 | 0.30263 | 81.7523 | 0.00035967 | 79.4328 | 9.8878e-05 | ¦ | [12 empty] | ¦ | 172.7826 | 101.2323 |  |  | ¦ | 3.4121 | 0.044037
86.5964 | 100.2387 | 84.1395 | 0.25345 | 86.5964 | 0.00028006 | 84.1395 | 7.9619e-05 | ¦ | [12 empty] | ¦ | 183.0206 | 101.2767 |  |  | ¦ | 3.8284 | 0.044385
91.7276 | 100.4454 | 89.1251 | 0.20672 | 91.7276 | 0.00021713 | 89.1251 | 6.2922e-05 | ¦ | [12 empty] | ¦ | 193.8653 | 101.3212 |  |  | ¦ | 4.2955 | 0.044539
97.1628 | 100.6093 | 94.4061 | 0.16388 | 97.1628 | 0.00016837 | 94.4061 | 4.876e-05 | ¦ | [12 empty] | ¦ | 205.3525 | 101.3562 |  |  | ¦ | 4.8197 | 0.034994
102.9201 | 100.7359 | 100 | 0.12663 | 102.9201 | 0.00013129 | 100 | 3.7086e-05 | ¦ | [12 empty] | ¦ |  |  |  |  | ¦ | 5.4078 | 0
109.0184 | 100.8323 | 105.9254 | 0.096421 | 109.0184 | 0.00010349 | 105.9254 | 2.7794e-05 | ¦ | [17 empty] | ¦
115.4782 | 100.9061 | 112.2018 | 0.073809 | 115.4782 | 8.2797e-05 | 112.2018 | 2.0698e-05 | ¦
122.3207 | 100.9646 | 118.8502 | 0.058498 | 122.3207 | 6.7269e-05 | 118.8502 | 1.5528e-05 | ¦
129.5687 | 101.014 | 125.8925 | 0.049334 | 129.5687 | 5.532e-05 | 125.8925 | 1.1949e-05 | ¦
137.2461 | 101.0587 | 133.3521 | 0.044717 | 137.2461 | 4.5726e-05 | 133.3521 | 9.594e-06 | ¦
145.3784 | 101.1018 | 141.2538 | 0.043065 | 145.3784 | 3.7615e-05 | 141.2538 | 8.1108e-06 | ¦
153.9927 | 101.1447 | 149.6236 | 0.042991 | 153.9927 | 3.042e-05 | 149.6236 | 7.1955e-06 | ¦
163.1173 | 101.1882 | 158.4893 | 0.043504 | 163.1173 | 2.3806e-05 | 158.4893 | 6.614e-06 | ¦
172.7826 | 101.2323 | 167.8804 | 0.044037 | 172.7826 | 1.769e-05 | 167.8804 | 6.1161e-06 | ¦
183.0206 | 101.2767 | 177.8279 | 0.044385 | 183.0206 | 1.2359e-05 | 177.8279 | 5.3308e-06 | ¦
193.8653 | 101.3212 | 188.3649 | 0.044539 | 193.8653 | 7.9941e-06 | 188.3649 | 4.3648e-06 | ¦
205.3525 | 101.3562 | 199.5262 | 0.034994 | 205.3525 | 4.6669e-06 | 199.5262 | 3.3272e-06 | ¦
|  | 211.3489 | 0 |  |  | 211.3489 | 2.318e-06 | ¦
¦