## 001-006
\ | [7 empty] | ¦ | Micromeritics Instrument Corporation |  |  |  |  | ¦ | Micromeritics Instrument Corporation | [5 empty] | ¦ | Micromeritics Instrument Corporation |  |  |  | ¦ | Micromeritics Instrument Corporation
SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 |  |  |  |  | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 |  | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 |  |  | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Sample: | AP_H1_dt2.0 | [6 empty] | ¦ | Sample: | AP_H1_dt2.0 |  |  |  | ¦ | Sample: | AP_H1_dt2.0 |  |  |  |  | ¦ | Sample: | AP_H1_dt2.0 |  |  | ¦ | Sample: | AP_H1_dt2.0
Operator: | Jia Jia ter Kuile | [6 empty] | ¦ | Operator: | Jia Jia ter Kuile |  |  |  | ¦ | Operator: | Jia Jia ter Kuile |  |  |  |  | ¦ | Operator: | Jia Jia ter Kuile |  |  | ¦ | Operator: | Jia Jia ter Kuile
Submitter: | [7 empty] | ¦ | Submitter: |  |  |  |  | ¦ | Submitter: | [5 empty] | ¦ | Submitter: |  |  |  | ¦ | Submitter:
File: | C:\...\JIAJIA~1\001-006.SMP | [6 empty] | ¦ | File: | C:\...\JIAJIA~1\001-006.SMP |  |  |  | ¦ | File: | C:\...\JIAJIA~1\001-006.SMP |  |  |  |  | ¦ | File: | C:\...\JIAJIA~1\001-006.SMP |  |  | ¦ | File: | C:\...\JIAJIA~1\001-006.SMP
Material/Liquid: | soil / Water | [6 empty] | ¦ | Material/Liquid: | soil / Water |  |  |  | ¦ | Material/Liquid: | soil / Water |  |  |  |  | ¦ | Material/Liquid: | soil / Water |  |  | ¦ | Material/Liquid: | soil / Water
Measurement Principle: | X-Ray monitored gravity sedimentation | [6 empty] | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation |  |  |  | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation |  |  |  |  | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation |  |  | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation
Calculation Method: | Stokes sedimentation and Beer's law of extinction | [6 empty] | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction |  |  |  | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction |  |  |  |  | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction |  |  | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Test Number: | 1 | Analysis Type: | High Resolution |  |  |  |  | ¦ | Test Number: | 1 | Analysis Type: | High Resolution |  | ¦ | Test Number: | 1 | Analysis Type: | High Resolution |  |  | ¦ | Test Number: | 1 | Analysis Type: | High Resolution | ¦ | Test Number: | 1 | Analysis Type: | High Resolution
Analyzed: | 2/7/2024 4:04:07PM | Run Time: | 0:03 hrs:min |  |  |  |  | ¦ | Analyzed: | 2/7/2024 4:04:07PM | Run Time: | 0:03 hrs:min |  | ¦ | Analyzed: | 2/7/2024 4:04:07PM | Run Time: | 0:03 hrs:min |  |  | ¦ | Analyzed: | 2/7/2024 4:04:07PM | Run Time: | 0:03 hrs:min | ¦ | Analyzed: | 2/7/2024 4:04:07PM | Run Time: | 0:03 hrs:min
Reported: | 2/7/2024 4:11:04PM | Sample Density: | 2.600 g/cm³ |  |  |  |  | ¦ | Reported: | 2/7/2024 4:11:04PM | Sample Density: | 2.600 g/cm³ |  | ¦ | Reported: | 2/7/2024 4:11:04PM | Sample Density: | 2.600 g/cm³ |  |  | ¦ | Reported: | 2/7/2024 4:11:04PM | Sample Density: | 2.600 g/cm³ | ¦ | Reported: | 2/7/2024 4:11:04PM | Sample Density: | 2.600 g/cm³
Liquid Visc: | 0.7221 mPa·s | Liquid Density: | 0.9941 g/cm³ |  |  |  |  | ¦ | Liquid Visc: | 0.7221 mPa·s | Liquid Density: | 0.9941 g/cm³ |  | ¦ | Liquid Visc: | 0.7221 mPa·s | Liquid Density: | 0.9941 g/cm³ |  |  | ¦ | Liquid Visc: | 0.7221 mPa·s | Liquid Density: | 0.9941 g/cm³ | ¦ | Liquid Visc: | 0.7221 mPa·s | Liquid Density: | 0.9941 g/cm³
Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 71 kCnts/s |  |  |  |  | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 71 kCnts/s |  | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 71 kCnts/s |  |  | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 71 kCnts/s | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 71 kCnts/s
Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 |  |  |  |  | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 |  | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 |  |  | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound | [7 empty] | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound |  |  |  |  | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound | [5 empty] | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound |  |  |  | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Combined Report | [7 empty] | ¦ | Report by Sieve Size |  |  |  |  | ¦ | Report by Size Table | [5 empty] | ¦ | Cumulative Finer Mass Percent vs. Diameter |  |  |  | ¦ | Mass Frequency vs. Settling Velocity
Report by Size Table | [7 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | Sieve Name | Aperture Size (µm) | Cumulative Mass Passed (Percent) | Mass Frequency (Percent) | Cum. Mass Standard Deviation (1 tests) | ¦ | High Diameter (µm) | Low Diameter (µm) | Average Diameter (µm) | Cumulative Mass Finer (Percent) | Mass Frequency (Percent) | Cum. Mass Standard Deviation (1 tests) | ¦ |  |  |  |  | ¦
High Diameter (µm) | Low Diameter (µm) | Average Diameter (µm) | Cumulative Mass Finer (Percent) | Mass Frequency (Percent) | Cum. Mass Standard Deviation (1 tests) | Particle Size (Phi) | Settling Velocity (cm/s) | ¦ | No. 50 | 300 | 101.4 | 0.0 | 0.0 | ¦ | 250.0 | 200.0 | 223.6 | 101.3 | 0.0 | 0.0 | ¦ | Test 1 |  |  |  | ¦ | Test 1
250.0 | 125.0 | 176.8 | 100.8 | 0.6 | 0.0 | 3.000 | 1.89182 | ¦ | No. 120 | 125 | 100.8 | 0.6 | 0.0 | ¦ | 200.0 | 150.0 | 173.2 | 101.0 | 0.3 | 0.0 | ¦ | Particle Diameter (µm) | Cumulative Finer Mass Percent |  |  | ¦ | Settling Velocity (cm/s) | Mass Frequency Percent
125.0 | 63.00 | 88.74 | 97.0 | 3.8 | 0.0 | 3.989 | 0.48055 | ¦ | No. 270 | 53 | 94.9 | 5.9 | 0.0 | ¦ | 150.0 | 100.0 | 122.5 | 100.2 | 0.8 | 0.0 | ¦ | 2.0535 | 15.7612 |  |  | ¦ | 0.00048201 | 0
63.00 | 32.00 | 44.90 | 86.3 | 10.7 | 0.0 | 4.966 | 0.12398 | ¦ | No. 635 | 20 | 76.2 | 18.7 | 0.0 | ¦ | 100.0 | 80.00 | 89.44 | 99.1 | 1.1 | 0.0 | ¦ | 2.1752 | 16.9828 |  |  | ¦ | 0.00054083 | 1.2216
32.00 | 16.00 | 22.63 | 69.7 | 16.6 | 0.0 | 5.966 | 0.03100 | ¦ | [5 empty] | ¦ | 80.00 | 60.00 | 69.28 | 96.4 | 2.7 | 0.0 | ¦ | 2.3041 | 18.1597 |  |  | ¦ | 0.00060682 | 1.1769
16.00 | 8.000 | 11.31 | 48.9 | 20.7 | 0.0 | 6.966 | 0.00775 | ¦ | [5 empty] | ¦ | 60.00 | 50.00 | 54.77 | 94.1 | 2.3 | 0.0 | ¦ | 2.4406 | 19.315 |  |  | ¦ | 0.00068086 | 1.1552
8.000 | 4.000 | 5.657 | 30.4 | 18.6 | 0.0 | 7.966 | 0.00194 | ¦ | [5 empty] | ¦ | 50.00 | 40.00 | 44.72 | 90.8 | 3.3 | 0.0 | ¦ | 2.5852 | 20.4754 |  |  | ¦ | 0.00076394 | 1.1604
4.000 | 2.000 | 2.828 | 15.8 | 14.6 | 0.0 | 8.966 | 0.00048 | ¦ | [5 empty] | ¦ | 40.00 | 30.00 | 34.64 | 84.9 | 5.9 | 0.0 | ¦ | 2.7384 | 21.6656 |  |  | ¦ | 0.00085715 | 1.1902
[8 empty] | ¦ | [5 empty] | ¦ | 30.00 | 25.00 | 27.39 | 81.3 | 3.6 | 0.0 | ¦ | 2.9007 | 22.9022 |  |  | ¦ | 0.00096174 | 1.2366
[8 empty] | ¦ | [5 empty] | ¦ | 25.00 | 20.00 | 22.36 | 76.2 | 5.1 | 0.0 | ¦ | 3.0726 | 24.1901 |  |  | ¦ | 0.0010791 | 1.2879
Cumulative Finer Mass Percent vs. Diameter | [7 empty] | ¦ | [5 empty] | ¦ | 20.00 | 15.00 | 17.32 | 67.7 | 8.5 | 0.0 | ¦ | 3.2546 | 25.5216 |  |  | ¦ | 0.0012108 | 1.3315
[8 empty] | ¦ | [5 empty] | ¦ | 15.00 | 10.00 | 12.25 | 55.4 | 12.3 | 0.0 | ¦ | 3.4475 | 26.8794 |  |  | ¦ | 0.0013585 | 1.3579
[8 empty] | ¦ | [5 empty] | ¦ | 10.00 | 8.000 | 8.944 | 48.9 | 6.5 | 0.0 | ¦ | 3.6517 | 28.2432 |  |  | ¦ | 0.0015243 | 1.3638
Cumulative Finer Mass Percent |  | Mass Frequency Percent |  | Cumulative Surface Area Coarser |  | Surface Area Population |  | ¦ | [5 empty] | ¦ | 8.000 | 6.000 | 6.928 | 40.9 | 8.0 | 0.0 | ¦ | 3.8681 | 29.5987 |  |  | ¦ | 0.0017102 | 1.3555
Particle Diameter (µm) | Cumulative Finer Mass Percent | Particle Diameter (µm) | Mass Frequency Percent | Particle Diameter (µm) | Cumulative Surface Area Coarser (m²/g) | Particle Diameter (µm) | Surface Area Population (m²/g) | ¦ | [5 empty] | ¦ | 6.000 | 5.000 | 5.477 | 35.8 | 5.1 | 0.0 | ¦ | 4.0973 | 30.9455 |  |  | ¦ | 0.0019189 | 1.3468
2.0535 | 15.7612 | 1.9953 | 0 | 2.0535 | 0.25591 | 1.9953 | 0.0047325 | ¦ | [5 empty] | ¦ | 5.000 | 4.000 | 4.472 | 30.4 | 5.4 | 0.0 | ¦ | 4.3401 | 32.2992 |  |  | ¦ | 0.0021531 | 1.3536
2.1752 | 16.9828 | 2.1135 | 1.2216 | 2.1752 | 0.24925 | 2.1135 | 0.0066559 | ¦ | [5 empty] | ¦ | 4.000 | 3.000 | 3.464 | 23.6 | 6.7 | 0.0 | ¦ | 4.5973 | 33.686 |  |  | ¦ | 0.0024158 | 1.3868
2.3041 | 18.1597 | 2.2387 | 1.1769 | 2.3041 | 0.24089 | 2.2387 | 0.0083575 | ¦ | [5 empty] | ¦ | 3.000 | 2.000 | 2.449 | 15.8 | 7.9 | 0.0 | ¦ | 4.8697 | 35.1321 |  |  | ¦ | 0.0027106 | 1.4461
2.4406 | 19.315 | 2.3714 | 1.1552 | 2.4406 | 0.23121 | 2.3714 | 0.009688 | ¦ | [5 empty] | ¦ | [6 empty] | ¦ | 5.1582 | 36.6516 |  |  | ¦ | 0.0030413 | 1.5195
2.5852 | 20.4754 | 2.5119 | 1.1604 | 2.5852 | 0.22068 | 2.5119 | 0.01053 | ¦ | [5 empty] | ¦ | [6 empty] | ¦ | 5.4639 | 38.2391 |  |  | ¦ | 0.0034124 | 1.5875
2.7384 | 21.6656 | 2.6607 | 1.1902 | 2.7384 | 0.20989 | 2.6607 | 0.010786 | ¦ | [12 empty] | ¦ | 5.7876 | 39.8716 |  |  | ¦ | 0.0038288 | 1.6325
2.9007 | 22.9022 | 2.8184 | 1.2366 | 2.9007 | 0.19952 | 2.8184 | 0.010372 | ¦ | [12 empty] | ¦ | 6.1306 | 41.5181 |  |  | ¦ | 0.004296 | 1.6465
3.0726 | 24.1901 | 2.9854 | 1.2879 | 3.0726 | 0.18949 | 2.9854 | 0.01003 | ¦ | [12 empty] | ¦ | 6.4938 | 43.1529 |  |  | ¦ | 0.0048201 | 1.6349
3.2546 | 25.5216 | 3.1623 | 1.3315 | 3.2546 | 0.17979 | 3.1623 | 0.0096994 | ¦ | [12 empty] | ¦ | 6.8786 | 44.7645 |  |  | ¦ | 0.0054083 | 1.6115
3.4475 | 26.8794 | 3.3497 | 1.3579 | 3.4475 | 0.17045 | 3.3497 | 0.0093419 | ¦ | [12 empty] | ¦ | 7.2862 | 46.3573 |  |  | ¦ | 0.0060682 | 1.5928
3.6517 | 28.2432 | 3.5481 | 1.3638 | 3.6517 | 0.1615 | 3.5481 | 0.0089478 | ¦ | [12 empty] | ¦ | 7.7179 | 47.9479 |  |  | ¦ | 0.0068086 | 1.5906
3.8681 | 29.5987 | 3.7584 | 1.3555 | 3.8681 | 0.15296 | 3.7584 | 0.0085343 | ¦ | [12 empty] | ¦ | 8.1752 | 49.5557 |  |  | ¦ | 0.0076394 | 1.6077
4.0973 | 30.9455 | 3.9811 | 1.3468 | 4.0973 | 0.14483 | 3.9811 | 0.0081339 | ¦ | [12 empty] | ¦ | 8.6596 | 51.1947 |  |  | ¦ | 0.0085715 | 1.6391
4.3401 | 32.2992 | 4.217 | 1.3536 | 4.3401 | 0.13705 | 4.217 | 0.0077784 | ¦ | [12 empty] | ¦ | 9.1728 | 52.8704 |  |  | ¦ | 0.0096174 | 1.6756
4.5973 | 33.686 | 4.4668 | 1.3868 | 4.5973 | 0.12957 | 4.4668 | 0.0074858 | ¦ | [12 empty] | ¦ | 9.7163 | 54.579 |  |  | ¦ | 0.010791 | 1.7086
4.8697 | 35.1321 | 4.7315 | 1.4461 | 4.8697 | 0.12231 | 4.7315 | 0.0072518 | ¦ | [12 empty] | ¦ | 10.292 | 56.3111 |  |  | ¦ | 0.012108 | 1.7321
5.1582 | 36.6516 | 5.0119 | 1.5195 | 5.1582 | 0.11526 | 5.0119 | 0.0070532 | ¦ | [12 empty] | ¦ | 10.9018 | 58.0561 |  |  | ¦ | 0.013585 | 1.7449
5.4639 | 38.2391 | 5.3088 | 1.5875 | 5.4639 | 0.1084 | 5.3088 | 0.0068572 | ¦ | [12 empty] | ¦ | 11.5478 | 59.8054 |  |  | ¦ | 0.015243 | 1.7493
5.7876 | 39.8716 | 5.6234 | 1.6325 | 5.7876 | 0.10177 | 5.6234 | 0.0066348 | ¦ | [12 empty] | ¦ | 12.2321 | 61.5541 |  |  | ¦ | 0.017102 | 1.7487
6.1306 | 41.5181 | 5.9566 | 1.6465 | 6.1306 | 0.095398 | 5.9566 | 0.0063706 | ¦ | [12 empty] | ¦ | 12.9569 | 63.3001 |  |  | ¦ | 0.019189 | 1.7461
6.4938 | 43.1529 | 6.3096 | 1.6349 | 6.4938 | 0.089331 | 6.3096 | 0.0060675 | ¦ | [12 empty] | ¦ | 13.7246 | 65.0436 |  |  | ¦ | 0.021531 | 1.7434
6.8786 | 44.7645 | 6.6834 | 1.6115 | 6.8786 | 0.083588 | 6.6834 | 0.0057428 | ¦ | [12 empty] | ¦ | 14.5378 | 66.7852 |  |  | ¦ | 0.024158 | 1.7416
7.2862 | 46.3573 | 7.0795 | 1.5928 | 7.2862 | 0.078168 | 7.0795 | 0.0054203 | ¦ | [12 empty] | ¦ | 15.3993 | 68.526 |  |  | ¦ | 0.027106 | 1.7408
7.7179 | 47.9479 | 7.4989 | 1.5906 | 7.7179 | 0.073046 | 7.4989 | 0.0051211 | ¦ | [12 empty] | ¦ | 16.3117 | 70.2647 |  |  | ¦ | 0.030413 | 1.7387
8.1752 | 49.5557 | 7.9433 | 1.6077 | 8.1752 | 0.06819 | 7.9433 | 0.0048566 | ¦ | [12 empty] | ¦ | 17.2783 | 71.9938 |  |  | ¦ | 0.034124 | 1.7291
8.6596 | 51.1947 | 8.414 | 1.6391 | 8.6596 | 0.063563 | 8.414 | 0.004627 | ¦ | [12 empty] | ¦ | 18.3021 | 73.6943 |  |  | ¦ | 0.038288 | 1.7005
9.1728 | 52.8704 | 8.9125 | 1.6756 | 9.1728 | 0.059139 | 8.9125 | 0.0044239 | ¦ | [12 empty] | ¦ | 19.3865 | 75.3359 |  |  | ¦ | 0.04296 | 1.6416
9.7163 | 54.579 | 9.4406 | 1.7086 | 9.7163 | 0.054904 | 9.4406 | 0.0042354 | ¦ | [12 empty] | ¦ | 20.5353 | 76.8832 |  |  | ¦ | 0.048201 | 1.5473
10.292 | 56.3111 | 10 | 1.7321 | 10.292 | 0.050853 | 10 | 0.004051 | ¦ | [12 empty] | ¦ | 21.752 | 78.3084 |  |  | ¦ | 0.054083 | 1.4252
10.9018 | 58.0561 | 10.5925 | 1.7449 | 10.9018 | 0.046988 | 10.5925 | 0.0038642 | ¦ | [12 empty] | ¦ | 23.0409 | 79.6046 |  |  | ¦ | 0.060682 | 1.2962
11.5478 | 59.8054 | 11.2202 | 1.7493 | 11.5478 | 0.043315 | 11.2202 | 0.0036737 | ¦ | [12 empty] | ¦ | 24.4062 | 80.7934 |  |  | ¦ | 0.068086 | 1.1888
12.2321 | 61.5541 | 11.885 | 1.7487 | 12.2321 | 0.039833 | 11.885 | 0.0034815 | ¦ | [12 empty] | ¦ | 25.8523 | 81.9211 |  |  | ¦ | 0.076394 | 1.1277
12.9569 | 63.3001 | 12.5893 | 1.7461 | 12.9569 | 0.036542 | 12.5893 | 0.0032915 | ¦ | [12 empty] | ¦ | 27.3842 | 83.043 |  |  | ¦ | 0.085715 | 1.1219
13.7246 | 65.0436 | 13.3352 | 1.7434 | 13.7246 | 0.033435 | 13.3352 | 0.0031071 | ¦ | [12 empty] | ¦ | 29.0068 | 84.2029 |  |  | ¦ | 0.096174 | 1.1599
14.5378 | 66.7852 | 14.1254 | 1.7416 | 14.5378 | 0.030505 | 14.1254 | 0.0029301 | ¦ | [12 empty] | ¦ | 30.7256 | 85.4162 |  |  | ¦ | 0.10791 | 1.2133
15.3993 | 68.526 | 14.9624 | 1.7408 | 15.3993 | 0.027746 | 14.9624 | 0.002759 | ¦ | [12 empty] | ¦ | 32.5462 | 86.666 |  |  | ¦ | 0.12108 | 1.2497
16.3117 | 70.2647 | 15.8489 | 1.7387 | 16.3117 | 0.025156 | 15.8489 | 0.0025898 | ¦ | [12 empty] | ¦ | 34.4747 | 87.9116 |  |  | ¦ | 0.13585 | 1.2457
17.2783 | 71.9938 | 16.788 | 1.7291 | 17.2783 | 0.022739 | 16.788 | 0.0024167 | ¦ | [12 empty] | ¦ | 36.5174 | 89.1063 |  |  | ¦ | 0.15243 | 1.1947
18.3021 | 73.6943 | 17.7828 | 1.7005 | 18.3021 | 0.020504 | 17.7828 | 0.002235 | ¦ | [12 empty] | ¦ | 38.6812 | 90.2144 |  |  | ¦ | 0.17102 | 1.108
19.3865 | 75.3359 | 18.8365 | 1.6416 | 19.3865 | 0.018461 | 18.8365 | 0.0020427 | ¦ | [12 empty] | ¦ | 40.9732 | 91.2208 |  |  | ¦ | 0.19189 | 1.0065
20.5353 | 76.8832 | 19.9526 | 1.5473 | 20.5353 | 0.016618 | 19.9526 | 0.0018432 | ¦ | [12 empty] | ¦ | 43.401 | 92.132 |  |  | ¦ | 0.21531 | 0.9112
21.752 | 78.3084 | 21.1349 | 1.4252 | 21.752 | 0.014973 | 21.1349 | 0.0016448 | ¦ | [12 empty] | ¦ | 45.9727 | 92.9684 |  |  | ¦ | 0.24158 | 0.83636
23.0409 | 79.6046 | 22.3872 | 1.2962 | 23.0409 | 0.013514 | 22.3872 | 0.001459 | ¦ | [12 empty] | ¦ | 48.6968 | 93.7545 |  |  | ¦ | 0.27106 | 0.7861
24.4062 | 80.7934 | 23.7137 | 1.1888 | 24.4062 | 0.012217 | 23.7137 | 0.0012973 | ¦ | [12 empty] | ¦ | 51.5822 | 94.5105 |  |  | ¦ | 0.30413 | 0.75599
25.8523 | 81.9211 | 25.1189 | 1.1277 | 25.8523 | 0.01105 | 25.1189 | 0.0011672 | ¦ | [12 empty] | ¦ | 54.6387 | 95.247 |  |  | ¦ | 0.34124 | 0.73657
27.3842 | 83.043 | 26.6073 | 1.1219 | 27.3842 | 0.0099802 | 26.6073 | 0.0010697 | ¦ | [12 empty] | ¦ | 57.8762 | 95.9641 |  |  | ¦ | 0.38288 | 0.71707
29.0068 | 84.2029 | 28.1838 | 1.1599 | 29.0068 | 0.0089812 | 28.1838 | 0.00099895 | ¦ | [12 empty] | ¦ | 61.3056 | 96.6528 |  |  | ¦ | 0.4296 | 0.68865
30.7256 | 85.4162 | 29.8538 | 1.2133 | 30.7256 | 0.0080368 | 29.8538 | 0.0009444 | ¦ | [12 empty] | ¦ | 64.9382 | 97.2995 |  |  | ¦ | 0.48201 | 0.6467
32.5462 | 86.666 | 31.6228 | 1.2497 | 32.5462 | 0.0071425 | 31.6228 | 0.00089426 | ¦ | [12 empty] | ¦ | 68.786 | 97.8908 |  |  | ¦ | 0.54083 | 0.59138
34.4747 | 87.9116 | 33.4965 | 1.2457 | 34.4747 | 0.0063033 | 33.4965 | 0.00083922 | ¦ | [12 empty] | ¦ | 72.8618 | 98.4173 |  |  | ¦ | 0.60682 | 0.52643
36.5174 | 89.1063 | 35.4813 | 1.1947 | 36.5174 | 0.0055285 | 35.4813 | 0.00077478 | ¦ | [12 empty] | ¦ | 77.1792 | 98.8753 |  |  | ¦ | 0.68086 | 0.458
38.6812 | 90.2144 | 37.5837 | 1.108 | 38.6812 | 0.0048269 | 37.5837 | 0.00070168 | ¦ | [12 empty] | ¦ | 81.7523 | 99.2676 |  |  | ¦ | 0.76394 | 0.39234
40.9732 | 91.2208 | 39.8107 | 1.0065 | 40.9732 | 0.0042023 | 39.8107 | 0.00062459 | ¦ | [12 empty] | ¦ | 86.5964 | 99.6014 |  |  | ¦ | 0.85715 | 0.33376
43.401 | 92.132 | 42.1697 | 0.9112 | 43.401 | 0.0036527 | 42.1697 | 0.00054959 | ¦ | [12 empty] | ¦ | 91.7276 | 99.885 |  |  | ¦ | 0.96174 | 0.2836
45.9727 | 92.9684 | 44.6684 | 0.83636 | 45.9727 | 0.0031707 | 44.6684 | 0.00048193 | ¦ | [12 empty] | ¦ | 97.1628 | 100.1257 |  |  | ¦ | 1.0791 | 0.24071
48.6968 | 93.7545 | 47.3151 | 0.7861 | 48.6968 | 0.0027463 | 47.3151 | 0.00042442 | ¦ | [12 empty] | ¦ | 102.9201 | 100.3284 |  |  | ¦ | 1.2108 | 0.20272
51.5822 | 94.5105 | 50.1187 | 0.75599 | 51.5822 | 0.0023691 | 50.1187 | 0.00037718 | ¦ | [12 empty] | ¦ | 109.0184 | 100.4964 |  |  | ¦ | 1.3585 | 0.16798
54.6387 | 95.247 | 53.0884 | 0.73657 | 54.6387 | 0.0020309 | 53.0884 | 0.00033823 | ¦ | [12 empty] | ¦ | 115.4782 | 100.6328 |  |  | ¦ | 1.5243 | 0.13643
57.8762 | 95.9641 | 56.2341 | 0.71707 | 57.8762 | 0.0017263 | 56.2341 | 0.00030465 | ¦ | [12 empty] | ¦ | 122.3207 | 100.7422 |  |  | ¦ | 1.7102 | 0.10941
61.3056 | 96.6528 | 59.5662 | 0.68865 | 61.3056 | 0.0014526 | 59.5662 | 0.00027372 | ¦ | [12 empty] | ¦ | 129.5687 | 100.8308 |  |  | ¦ | 1.9189 | 0.08862
64.9382 | 97.2995 | 63.0957 | 0.6467 | 64.9382 | 0.001209 | 63.0957 | 0.00024359 | ¦ | [12 empty] | ¦ | 137.2461 | 100.9058 |  |  | ¦ | 2.1531 | 0.074946
68.786 | 97.8908 | 66.8344 | 0.59138 | 68.786 | 0.00099541 | 66.8344 | 0.00021356 | ¦ | [12 empty] | ¦ | 145.3784 | 100.9736 |  |  | ¦ | 2.4158 | 0.067807
72.8618 | 98.4173 | 70.7946 | 0.52643 | 72.8618 | 0.0008115 | 70.7946 | 0.00018391 | ¦ | [12 empty] | ¦ | 153.9927 | 101.039 |  |  | ¦ | 2.7106 | 0.065381
77.1792 | 98.8753 | 74.9894 | 0.458 | 77.1792 | 0.00065604 | 74.9894 | 0.00015546 | ¦ | [12 empty] | ¦ | 163.1173 | 101.1044 |  |  | ¦ | 3.0413 | 0.065429
81.7523 | 99.2676 | 79.4328 | 0.39234 | 81.7523 | 0.00052688 | 79.4328 | 0.00012917 | ¦ | [12 empty] | ¦ | 172.7826 | 101.1706 |  |  | ¦ | 3.4124 | 0.066193
86.5964 | 99.6014 | 84.1395 | 0.33376 | 86.5964 | 0.00042111 | 84.1395 | 0.00010577 | ¦ | [12 empty] | ¦ | 183.0206 | 101.2374 |  |  | ¦ | 3.8288 | 0.066772
91.7276 | 99.885 | 89.1251 | 0.2836 | 91.7276 | 0.0003355 | 89.1251 | 8.5604e-05 | ¦ | [12 empty] | ¦ | 193.8653 | 101.3044 |  |  | ¦ | 4.296 | 0.067014
97.1628 | 100.1257 | 94.4061 | 0.24071 | 97.1628 | 0.00026686 | 94.4061 | 6.8646e-05 | ¦ | [12 empty] | ¦ | 205.3525 | 101.357 |  |  | ¦ | 4.8201 | 0.052591
102.9201 | 100.3284 | 100 | 0.20272 | 102.9201 | 0.00021224 | 100 | 5.4615e-05 | ¦ | [12 empty] | ¦ |  |  |  |  | ¦ | 5.4083 | 0
109.0184 | 100.4964 | 105.9254 | 0.16798 | 109.0184 | 0.00016911 | 105.9254 | 4.3133e-05 | ¦ | [17 empty] | ¦
115.4782 | 100.6328 | 112.2018 | 0.13643 | 115.4782 | 0.00013527 | 112.2018 | 3.3843e-05 | ¦
122.3207 | 100.7422 | 118.8502 | 0.10941 | 122.3207 | 0.0001088 | 118.8502 | 2.6464e-05 | ¦
129.5687 | 100.8308 | 125.8925 | 0.08862 | 129.5687 | 8.8033e-05 | 125.8925 | 2.077e-05 | ¦
137.2461 | 100.9058 | 133.3521 | 0.074946 | 137.2461 | 7.1478e-05 | 133.3521 | 1.6555e-05 | ¦
145.3784 | 100.9736 | 141.2538 | 0.067807 | 145.3784 | 5.7893e-05 | 141.2538 | 1.3586e-05 | ¦
153.9927 | 101.039 | 149.6236 | 0.065381 | 153.9927 | 4.6295e-05 | 149.6236 | 1.1597e-05 | ¦
163.1173 | 101.1044 | 158.4893 | 0.065429 | 163.1173 | 3.5983e-05 | 158.4893 | 1.0312e-05 | ¦
172.7826 | 101.1706 | 167.8804 | 0.066193 | 172.7826 | 2.6647e-05 | 167.8804 | 9.3362e-06 | ¦
183.0206 | 101.2374 | 177.8279 | 0.066772 | 183.0206 | 1.8592e-05 | 177.8279 | 8.0553e-06 | ¦
193.8653 | 101.3044 | 188.3649 | 0.067014 | 193.8653 | 1.2022e-05 | 188.3649 | 6.5702e-06 | ¦
205.3525 | 101.357 | 199.5262 | 0.052591 | 205.3525 | 7.018e-06 | 199.5262 | 5.0036e-06 | ¦
|  | 211.3489 | 0 |  |  | 211.3489 | 3.486e-06 | ¦
¦