## 001-007
Micromeritics Instrument Corporation | [7 empty] | ¦ | Micromeritics Instrument Corporation |  |  |  |  | ¦ | Micromeritics Instrument Corporation | [5 empty] | ¦ | Micromeritics Instrument Corporation |  |  |  | ¦ | Micromeritics Instrument Corporation
SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 |  |  |  |  | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 |  | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 |  |  | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Sample: | AP_H2_dt1.0 | [6 empty] | ¦ | Sample: | AP_H2_dt1.0 |  |  |  | ¦ | Sample: | AP_H2_dt1.0 |  |  |  |  | ¦ | Sample: | AP_H2_dt1.0 |  |  | ¦ | Sample: | AP_H2_dt1.0
Operator: | Jia Jia ter Kuile | [6 empty] | ¦ | Operator: | Jia Jia ter Kuile |  |  |  | ¦ | Operator: | Jia Jia ter Kuile |  |  |  |  | ¦ | Operator: | Jia Jia ter Kuile |  |  | ¦ | Operator: | Jia Jia ter Kuile
Submitter: | [7 empty] | ¦ | Submitter: |  |  |  |  | ¦ | Submitter: | [5 empty] | ¦ | Submitter: |  |  |  | ¦ | Submitter:
File: | C:\...\JIAJIA~1\001-007.SMP | [6 empty] | ¦ | File: | C:\...\JIAJIA~1\001-007.SMP |  |  |  | ¦ | File: | C:\...\JIAJIA~1\001-007.SMP |  |  |  |  | ¦ | File: | C:\...\JIAJIA~1\001-007.SMP |  |  | ¦ | File: | C:\...\JIAJIA~1\001-007.SMP
Material/Liquid: | soil / Water | [6 empty] | ¦ | Material/Liquid: | soil / Water |  |  |  | ¦ | Material/Liquid: | soil / Water |  |  |  |  | ¦ | Material/Liquid: | soil / Water |  |  | ¦ | Material/Liquid: | soil / Water
Measurement Principle: | X-Ray monitored gravity sedimentation | [6 empty] | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation |  |  |  | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation |  |  |  |  | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation |  |  | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation
Calculation Method: | Stokes sedimentation and Beer's law of extinction | [6 empty] | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction |  |  |  | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction |  |  |  |  | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction |  |  | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Test Number: | 1 | Analysis Type: | High Resolution |  |  |  |  | ¦ | Test Number: | 1 | Analysis Type: | High Resolution |  | ¦ | Test Number: | 1 | Analysis Type: | High Resolution |  |  | ¦ | Test Number: | 1 | Analysis Type: | High Resolution | ¦ | Test Number: | 1 | Analysis Type: | High Resolution
Analyzed: | 2/7/2024 4:23:06PM | Run Time: | 0:03 hrs:min |  |  |  |  | ¦ | Analyzed: | 2/7/2024 4:23:06PM | Run Time: | 0:03 hrs:min |  | ¦ | Analyzed: | 2/7/2024 4:23:06PM | Run Time: | 0:03 hrs:min |  |  | ¦ | Analyzed: | 2/7/2024 4:23:06PM | Run Time: | 0:03 hrs:min | ¦ | Analyzed: | 2/7/2024 4:23:06PM | Run Time: | 0:03 hrs:min
Reported: | 2/7/2024 4:30:01PM | Sample Density: | 2.600 g/cm³ |  |  |  |  | ¦ | Reported: | 2/7/2024 4:30:01PM | Sample Density: | 2.600 g/cm³ |  | ¦ | Reported: | 2/7/2024 4:30:01PM | Sample Density: | 2.600 g/cm³ |  |  | ¦ | Reported: | 2/7/2024 4:30:01PM | Sample Density: | 2.600 g/cm³ | ¦ | Reported: | 2/7/2024 4:30:01PM | Sample Density: | 2.600 g/cm³
Liquid Visc: | 0.7221 mPa·s | Liquid Density: | 0.9941 g/cm³ |  |  |  |  | ¦ | Liquid Visc: | 0.7221 mPa·s | Liquid Density: | 0.9941 g/cm³ |  | ¦ | Liquid Visc: | 0.7221 mPa·s | Liquid Density: | 0.9941 g/cm³ |  |  | ¦ | Liquid Visc: | 0.7221 mPa·s | Liquid Density: | 0.9941 g/cm³ | ¦ | Liquid Visc: | 0.7221 mPa·s | Liquid Density: | 0.9941 g/cm³
Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 72 kCnts/s |  |  |  |  | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 72 kCnts/s |  | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 72 kCnts/s |  |  | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 72 kCnts/s | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 72 kCnts/s
Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 |  |  |  |  | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 |  | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 |  |  | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound | [7 empty] | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound |  |  |  |  | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound | [5 empty] | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound |  |  |  | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Combined Report | [7 empty] | ¦ | Report by Sieve Size |  |  |  |  | ¦ | Report by Size Table | [5 empty] | ¦ | Cumulative Finer Mass Percent vs. Diameter |  |  |  | ¦ | Mass Frequency vs. Settling Velocity
Report by Size Table | [7 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | Sieve Name | Aperture Size (µm) | Cumulative Mass Passed (Percent) | Mass Frequency (Percent) | Cum. Mass Standard Deviation (1 tests) | ¦ | High Diameter (µm) | Low Diameter (µm) | Average Diameter (µm) | Cumulative Mass Finer (Percent) | Mass Frequency (Percent) | Cum. Mass Standard Deviation (1 tests) | ¦ |  |  |  |  | ¦
High Diameter (µm) | Low Diameter (µm) | Average Diameter (µm) | Cumulative Mass Finer (Percent) | Mass Frequency (Percent) | Cum. Mass Standard Deviation (1 tests) | Particle Size (Phi) | Settling Velocity (cm/s) | ¦ | No. 50 | 300 | 101.1 | 0.0 | 0.0 | ¦ | 250.0 | 200.0 | 223.6 | 101.1 | 0.0 | 0.0 | ¦ | Test 1 |  |  |  | ¦ | Test 1
250.0 | 125.0 | 176.8 | 100.5 | 0.6 | 0.0 | 3.000 | 1.89179 | ¦ | No. 120 | 125 | 100.5 | 0.6 | 0.0 | ¦ | 200.0 | 150.0 | 173.2 | 100.8 | 0.3 | 0.0 | ¦ | Particle Diameter (µm) | Cumulative Finer Mass Percent |  |  | ¦ | Settling Velocity (cm/s) | Mass Frequency Percent
125.0 | 63.00 | 88.74 | 95.2 | 5.3 | 0.0 | 3.989 | 0.48055 | ¦ | No. 270 | 53 | 92.4 | 8.1 | 0.0 | ¦ | 150.0 | 100.0 | 122.5 | 99.9 | 0.9 | 0.0 | ¦ | 2.0535 | 16.413 |  |  | ¦ | 0.00048201 | 0
63.00 | 32.00 | 44.90 | 82.6 | 12.7 | 0.0 | 4.966 | 0.12398 | ¦ | No. 635 | 20 | 70.6 | 21.8 | 0.0 | ¦ | 100.0 | 80.00 | 89.44 | 98.4 | 1.5 | 0.0 | ¦ | 2.1752 | 16.9331 |  |  | ¦ | 0.00054082 | 0.52013
32.00 | 16.00 | 22.63 | 64.7 | 17.9 | 0.0 | 5.966 | 0.03100 | ¦ | [5 empty] | ¦ | 80.00 | 60.00 | 69.28 | 94.5 | 4.0 | 0.0 | ¦ | 2.3041 | 17.6061 |  |  | ¦ | 0.00060681 | 0.67293
16.00 | 8.000 | 11.31 | 45.6 | 19.1 | 0.0 | 6.966 | 0.00775 | ¦ | [5 empty] | ¦ | 60.00 | 50.00 | 54.77 | 91.4 | 3.0 | 0.0 | ¦ | 2.4406 | 18.4341 |  |  | ¦ | 0.00068085 | 0.828
8.000 | 4.000 | 5.657 | 28.6 | 17.0 | 0.0 | 7.966 | 0.00194 | ¦ | [5 empty] | ¦ | 50.00 | 40.00 | 44.72 | 87.5 | 4.0 | 0.0 | ¦ | 2.5852 | 19.4011 |  |  | ¦ | 0.00076393 | 0.96707
4.000 | 2.000 | 2.828 | 16.4 | 12.2 | 0.0 | 8.966 | 0.00048 | ¦ | [5 empty] | ¦ | 40.00 | 30.00 | 34.64 | 81.0 | 6.5 | 0.0 | ¦ | 2.7384 | 20.4773 |  |  | ¦ | 0.00085714 | 1.0762
[8 empty] | ¦ | [5 empty] | ¦ | 30.00 | 25.00 | 27.39 | 76.4 | 4.6 | 0.0 | ¦ | 2.9007 | 21.6273 |  |  | ¦ | 0.00096173 | 1.15
[8 empty] | ¦ | [5 empty] | ¦ | 25.00 | 20.00 | 22.36 | 70.6 | 5.8 | 0.0 | ¦ | 3.0726 | 22.8204 |  |  | ¦ | 0.0010791 | 1.1931
Cumulative Finer Mass Percent vs. Diameter | [7 empty] | ¦ | [5 empty] | ¦ | 20.00 | 15.00 | 17.32 | 62.9 | 7.7 | 0.0 | ¦ | 3.2546 | 24.0386 |  |  | ¦ | 0.0012107 | 1.2181
[8 empty] | ¦ | [5 empty] | ¦ | 15.00 | 10.00 | 12.25 | 51.5 | 11.4 | 0.0 | ¦ | 3.4475 | 25.2778 |  |  | ¦ | 0.0013585 | 1.2392
[8 empty] | ¦ | [5 empty] | ¦ | 10.00 | 8.000 | 8.944 | 45.6 | 5.9 | 0.0 | ¦ | 3.6517 | 26.5439 |  |  | ¦ | 0.0015242 | 1.2661
Cumulative Finer Mass Percent |  | Mass Frequency Percent |  | Cumulative Surface Area Coarser |  | Surface Area Population |  | ¦ | [5 empty] | ¦ | 8.000 | 6.000 | 6.928 | 38.1 | 7.5 | 0.0 | ¦ | 3.8681 | 27.8435 |  |  | ¦ | 0.0017102 | 1.2996
Particle Diameter (µm) | Cumulative Finer Mass Percent | Particle Diameter (µm) | Mass Frequency Percent | Particle Diameter (µm) | Cumulative Surface Area Coarser (m²/g) | Particle Diameter (µm) | Surface Area Population (m²/g) | ¦ | [5 empty] | ¦ | 6.000 | 5.000 | 5.477 | 33.9 | 4.2 | 0.0 | ¦ | 4.0973 | 29.1759 |  |  | ¦ | 0.0019189 | 1.3324
2.0535 | 16.413 | 1.9953 | 0 | 2.0535 | 0.22948 | 1.9953 | 0.0025203 | ¦ | [5 empty] | ¦ | 5.000 | 4.000 | 4.472 | 28.6 | 5.2 | 0.0 | ¦ | 4.3401 | 30.5306 |  |  | ¦ | 0.002153 | 1.3547
2.1752 | 16.9331 | 2.1135 | 0.52013 | 2.1752 | 0.22556 | 2.1135 | 0.0039186 | ¦ | [5 empty] | ¦ | 4.000 | 3.000 | 3.464 | 22.3 | 6.3 | 0.0 | ¦ | 4.5973 | 31.891 |  |  | ¦ | 0.0024158 | 1.3604
2.3041 | 17.6061 | 2.2387 | 0.67293 | 2.3041 | 0.22017 | 2.2387 | 0.0053853 | ¦ | [5 empty] | ¦ | 3.000 | 2.000 | 2.449 | 16.4 | 5.9 | 0.0 | ¦ | 4.8697 | 33.2417 |  |  | ¦ | 0.0027105 | 1.3506
2.4406 | 18.4341 | 2.3714 | 0.828 | 2.4406 | 0.21341 | 2.3714 | 0.0067651 | ¦ | [5 empty] | ¦ | [6 empty] | ¦ | 5.1582 | 34.5764 |  |  | ¦ | 0.0030413 | 1.3347
2.5852 | 19.4011 | 2.5119 | 0.96707 | 2.5852 | 0.20551 | 2.5119 | 0.007904 | ¦ | [5 empty] | ¦ | [6 empty] | ¦ | 5.4639 | 35.9025 |  |  | ¦ | 0.0034124 | 1.3262
2.7384 | 20.4773 | 2.6607 | 1.0762 | 2.7384 | 0.19684 | 2.6607 | 0.008666 | ¦ | [12 empty] | ¦ | 5.7876 | 37.2387 |  |  | ¦ | 0.0038287 | 1.3362
2.9007 | 21.6273 | 2.8184 | 1.15 | 2.9007 | 0.1879 | 2.8184 | 0.0089432 | ¦ | [12 empty] | ¦ | 6.1306 | 38.6079 |  |  | ¦ | 0.0042959 | 1.3691
3.0726 | 22.8204 | 2.9854 | 1.1931 | 3.0726 | 0.17889 | 2.9854 | 0.0090032 | ¦ | [12 empty] | ¦ | 6.4938 | 40.0284 |  |  | ¦ | 0.0048201 | 1.4205
3.2546 | 24.0386 | 3.1623 | 1.2181 | 3.2546 | 0.17 | 3.1623 | 0.0088974 | ¦ | [12 empty] | ¦ | 6.8786 | 41.5071 |  |  | ¦ | 0.0054082 | 1.4787
3.4475 | 25.2778 | 3.3497 | 1.2392 | 3.4475 | 0.16131 | 3.3497 | 0.0086845 | ¦ | [12 empty] | ¦ | 7.2862 | 43.0357 |  |  | ¦ | 0.0060681 | 1.5286
3.6517 | 26.5439 | 3.5481 | 1.2661 | 3.6517 | 0.1529 | 3.5481 | 0.0084131 | ¦ | [12 empty] | ¦ | 7.7179 | 44.5942 |  |  | ¦ | 0.0068085 | 1.5585
3.8681 | 27.8435 | 3.7584 | 1.2996 | 3.8681 | 0.14479 | 3.7584 | 0.0081127 | ¦ | [12 empty] | ¦ | 8.1752 | 46.1583 |  |  | ¦ | 0.0076393 | 1.564
4.0973 | 29.1759 | 3.9811 | 1.3324 | 4.0973 | 0.13699 | 3.9811 | 0.0077935 | ¦ | [12 empty] | ¦ | 8.6596 | 47.7091 |  |  | ¦ | 0.0085714 | 1.5509
4.3401 | 30.5306 | 4.217 | 1.3547 | 4.3401 | 0.12954 | 4.217 | 0.0074555 | ¦ | [12 empty] | ¦ | 9.1728 | 49.2402 |  |  | ¦ | 0.0096173 | 1.5311
4.5973 | 31.891 | 4.4668 | 1.3604 | 4.5973 | 0.12244 | 4.4668 | 0.0070991 | ¦ | [12 empty] | ¦ | 9.7163 | 50.7586 |  |  | ¦ | 0.010791 | 1.5184
4.8697 | 33.2417 | 4.7315 | 1.3506 | 4.8697 | 0.11571 | 4.7315 | 0.0067321 | ¦ | [12 empty] | ¦ | 10.292 | 52.2804 |  |  | ¦ | 0.012107 | 1.5218
5.1582 | 34.5764 | 5.0119 | 1.3347 | 5.1582 | 0.10933 | 5.0119 | 0.0063719 | ¦ | [12 empty] | ¦ | 10.9018 | 53.825 |  |  | ¦ | 0.013585 | 1.5446
5.4639 | 35.9025 | 5.3088 | 1.3262 | 5.4639 | 0.10329 | 5.3088 | 0.0060395 | ¦ | [12 empty] | ¦ | 11.5478 | 55.4074 |  |  | ¦ | 0.015242 | 1.5823
5.7876 | 37.2387 | 5.6234 | 1.3362 | 5.7876 | 0.097542 | 5.6234 | 0.005752 | ¦ | [12 empty] | ¦ | 12.2321 | 57.0318 |  |  | ¦ | 0.017102 | 1.6244
6.1306 | 38.6079 | 5.9566 | 1.3691 | 6.1306 | 0.092027 | 5.9566 | 0.0055147 | ¦ | [12 empty] | ¦ | 12.9569 | 58.6894 |  |  | ¦ | 0.019189 | 1.6576
6.4938 | 40.0284 | 6.3096 | 1.4205 | 6.4938 | 0.086708 | 6.3096 | 0.0053193 | ¦ | [12 empty] | ¦ | 13.7246 | 60.3603 |  |  | ¦ | 0.02153 | 1.6709
6.8786 | 41.5071 | 6.6834 | 1.4787 | 6.8786 | 0.081561 | 6.6834 | 0.0051466 | ¦ | [12 empty] | ¦ | 14.5378 | 62.0199 |  |  | ¦ | 0.024158 | 1.6597
7.2862 | 43.0357 | 7.0795 | 1.5286 | 7.2862 | 0.076587 | 7.0795 | 0.0049744 | ¦ | [12 empty] | ¦ | 15.3993 | 63.6483 |  |  | ¦ | 0.027105 | 1.6283
7.7179 | 44.5942 | 7.4989 | 1.5585 | 7.7179 | 0.071801 | 7.4989 | 0.0047855 | ¦ | [12 empty] | ¦ | 16.3117 | 65.2355 |  |  | ¦ | 0.030413 | 1.5872
8.1752 | 46.1583 | 7.9433 | 1.564 | 8.1752 | 0.067228 | 7.9433 | 0.004573 | ¦ | [12 empty] | ¦ | 17.2783 | 66.7841 |  |  | ¦ | 0.034124 | 1.5486
8.6596 | 47.7091 | 8.414 | 1.5509 | 8.6596 | 0.062887 | 8.414 | 0.0043417 | ¦ | [12 empty] | ¦ | 18.3021 | 68.3053 |  |  | ¦ | 0.038287 | 1.5211
9.1728 | 49.2402 | 8.9125 | 1.5311 | 9.1728 | 0.058782 | 8.9125 | 0.0041047 | ¦ | [12 empty] | ¦ | 19.3865 | 69.8119 |  |  | ¦ | 0.042959 | 1.5066
9.7163 | 50.7586 | 9.4406 | 1.5184 | 9.7163 | 0.054905 | 9.4406 | 0.0038774 | ¦ | [12 empty] | ¦ | 20.5353 | 71.3124 |  |  | ¦ | 0.048201 | 1.5005
10.292 | 52.2804 | 10 | 1.5218 | 10.292 | 0.051232 | 10 | 0.0036723 | ¦ | [12 empty] | ¦ | 21.752 | 72.8083 |  |  | ¦ | 0.054082 | 1.4959
10.9018 | 53.825 | 10.5925 | 1.5446 | 10.9018 | 0.047738 | 10.5925 | 0.0034939 | ¦ | [12 empty] | ¦ | 23.0409 | 74.2971 |  |  | ¦ | 0.060681 | 1.4887
11.5478 | 55.4074 | 11.2202 | 1.5823 | 11.5478 | 0.0444 | 11.2202 | 0.0033384 | ¦ | [12 empty] | ¦ | 24.4062 | 75.7762 |  |  | ¦ | 0.068085 | 1.4792
12.2321 | 57.0318 | 11.885 | 1.6244 | 12.2321 | 0.041204 | 11.885 | 0.0031957 | ¦ | [12 empty] | ¦ | 25.8523 | 77.2464 |  |  | ¦ | 0.076393 | 1.4702
12.9569 | 58.6894 | 12.5893 | 1.6576 | 12.9569 | 0.03815 | 12.5893 | 0.0030541 | ¦ | [12 empty] | ¦ | 27.3842 | 78.7092 |  |  | ¦ | 0.085714 | 1.4628
13.7246 | 60.3603 | 13.3352 | 1.6709 | 13.7246 | 0.035246 | 13.3352 | 0.0029044 | ¦ | [12 empty] | ¦ | 29.0068 | 80.1631 |  |  | ¦ | 0.096173 | 1.4539
14.5378 | 62.0199 | 14.1254 | 1.6597 | 14.5378 | 0.032503 | 14.1254 | 0.0027431 | ¦ | [12 empty] | ¦ | 30.7256 | 81.5989 |  |  | ¦ | 0.10791 | 1.4358
15.3993 | 63.6483 | 14.9624 | 1.6283 | 15.3993 | 0.02993 | 14.9624 | 0.0025723 | ¦ | [12 empty] | ¦ | 32.5462 | 82.9996 |  |  | ¦ | 0.12107 | 1.4006
16.3117 | 65.2355 | 15.8489 | 1.5872 | 16.3117 | 0.027532 | 15.8489 | 0.0023985 | ¦ | [12 empty] | ¦ | 34.4747 | 84.3446 |  |  | ¦ | 0.13585 | 1.345
17.2783 | 66.7841 | 16.788 | 1.5486 | 17.2783 | 0.025303 | 16.788 | 0.0022295 | ¦ | [12 empty] | ¦ | 36.5174 | 85.6173 |  |  | ¦ | 0.15242 | 1.2727
18.3021 | 68.3053 | 17.7828 | 1.5211 | 18.3021 | 0.023231 | 17.7828 | 0.0020717 | ¦ | [12 empty] | ¦ | 38.6812 | 86.8112 |  |  | ¦ | 0.17102 | 1.1939
19.3865 | 69.8119 | 18.8365 | 1.5066 | 19.3865 | 0.021302 | 18.8365 | 0.0019285 | ¦ | [12 empty] | ¦ | 40.9732 | 87.9311 |  |  | ¦ | 0.19189 | 1.1199
20.5353 | 71.3124 | 19.9526 | 1.5005 | 20.5353 | 0.019502 | 19.9526 | 0.0018005 | ¦ | [12 empty] | ¦ | 43.401 | 88.9903 |  |  | ¦ | 0.2153 | 1.0592
21.752 | 72.8083 | 21.1349 | 1.4959 | 21.752 | 0.017816 | 21.1349 | 0.0016857 | ¦ | [12 empty] | ¦ | 45.9727 | 90.0054 |  |  | ¦ | 0.24158 | 1.0152
23.0409 | 74.2971 | 22.3872 | 1.4887 | 23.0409 | 0.016235 | 22.3872 | 0.0015814 | ¦ | [12 empty] | ¦ | 48.6968 | 90.9924 |  |  | ¦ | 0.27105 | 0.98697
24.4062 | 75.7762 | 23.7137 | 1.4792 | 24.4062 | 0.01475 | 23.7137 | 0.001485 | ¦ | [12 empty] | ¦ | 51.5822 | 91.9631 |  |  | ¦ | 0.30413 | 0.97068
25.8523 | 77.2464 | 25.1189 | 1.4702 | 25.8523 | 0.013356 | 25.1189 | 0.0013939 | ¦ | [12 empty] | ¦ | 54.6387 | 92.9242 |  |  | ¦ | 0.34124 | 0.96112
27.3842 | 78.7092 | 26.6073 | 1.4628 | 27.3842 | 0.01205 | 26.6073 | 0.001306 | ¦ | [12 empty] | ¦ | 57.8762 | 93.8763 |  |  | ¦ | 0.38287 | 0.95214
29.0068 | 80.1631 | 28.1838 | 1.4539 | 29.0068 | 0.010831 | 28.1838 | 0.0012193 | ¦ | [12 empty] | ¦ | 61.3056 | 94.8132 |  |  | ¦ | 0.42959 | 0.93684
30.7256 | 81.5989 | 29.8538 | 1.4358 | 30.7256 | 0.0096984 | 29.8538 | 0.0011321 | ¦ | [12 empty] | ¦ | 64.9382 | 95.7211 |  |  | ¦ | 0.48201 | 0.90796
32.5462 | 82.9996 | 31.6228 | 1.4006 | 32.5462 | 0.008655 | 31.6228 | 0.0010435 | ¦ | [12 empty] | ¦ | 68.786 | 96.5803 |  |  | ¦ | 0.54082 | 0.85919
34.4747 | 84.3446 | 33.4965 | 1.345 | 34.4747 | 0.0077013 | 33.4965 | 0.00095366 | ¦ | [12 empty] | ¦ | 72.8618 | 97.3674 |  |  | ¦ | 0.60681 | 0.78706
36.5174 | 85.6173 | 35.4813 | 1.2727 | 36.5174 | 0.006837 | 35.4813 | 0.00086429 | ¦ | [12 empty] | ¦ | 77.1792 | 98.0606 |  |  | ¦ | 0.68085 | 0.69315
38.6812 | 86.8112 | 37.5837 | 1.1939 | 38.6812 | 0.006059 | 37.5837 | 0.00077806 | ¦ | [12 empty] | ¦ | 81.7523 | 98.6452 |  |  | ¦ | 0.76393 | 0.58461
40.9732 | 87.9311 | 39.8107 | 1.1199 | 40.9732 | 0.005361 | 39.8107 | 0.00069798 | ¦ | [12 empty] | ¦ | 86.5964 | 99.1179 |  |  | ¦ | 0.85714 | 0.47276
43.401 | 88.9903 | 42.1697 | 1.0592 | 43.401 | 0.0047344 | 42.1697 | 0.00062661 | ¦ | [12 empty] | ¦ | 91.7276 | 99.4878 |  |  | ¦ | 0.96173 | 0.36984
45.9727 | 90.0054 | 44.6684 | 1.0152 | 45.9727 | 0.004169 | 44.6684 | 0.00056532 | ¦ | [12 empty] | ¦ | 97.1628 | 99.7728 |  |  | ¦ | 1.0791 | 0.28501
48.6968 | 90.9924 | 47.3151 | 0.98697 | 48.6968 | 0.003655 | 47.3151 | 0.00051403 | ¦ | [12 empty] | ¦ | 102.9201 | 99.9948 |  |  | ¦ | 1.2107 | 0.22206
51.5822 | 91.9631 | 50.1187 | 0.97068 | 51.5822 | 0.0031837 | 50.1187 | 0.00047128 | ¦ | [12 empty] | ¦ | 109.0184 | 100.174 |  |  | ¦ | 1.3585 | 0.17913
54.6387 | 92.9242 | 53.0884 | 0.96112 | 54.6387 | 0.002749 | 53.0884 | 0.00043472 | ¦ | [12 empty] | ¦ | 115.4782 | 100.3248 |  |  | ¦ | 1.5242 | 0.1508
57.8762 | 93.8763 | 56.2341 | 0.95214 | 57.8762 | 0.0023473 | 56.2341 | 0.00040167 | ¦ | [12 empty] | ¦ | 122.3207 | 100.4557 |  |  | ¦ | 1.7102 | 0.13095
61.3056 | 94.8132 | 59.5662 | 0.93684 | 61.3056 | 0.0019777 | 59.5662 | 0.0003696 | ¦ | [12 empty] | ¦ | 129.5687 | 100.5705 |  |  | ¦ | 1.9189 | 0.11479
64.9382 | 95.7211 | 63.0957 | 0.90796 | 64.9382 | 0.0016412 | 63.0957 | 0.00033654 | ¦ | [12 empty] | ¦ | 137.2461 | 100.6703 |  |  | ¦ | 2.153 | 0.099816
68.786 | 96.5803 | 66.8344 | 0.85919 | 68.786 | 0.0013398 | 66.8344 | 0.00030139 | ¦ | [12 empty] | ¦ | 145.3784 | 100.7559 |  |  | ¦ | 2.4158 | 0.085602
72.8618 | 97.3674 | 70.7946 | 0.78706 | 72.8618 | 0.0010758 | 70.7946 | 0.00026404 | ¦ | [12 empty] | ¦ | 153.9927 | 100.8289 |  |  | ¦ | 2.7105 | 0.072981
77.1792 | 98.0606 | 74.9894 | 0.69315 | 77.1792 | 0.00085043 | 74.9894 | 0.00022534 | ¦ | [12 empty] | ¦ | 163.1173 | 100.8919 |  |  | ¦ | 3.0413 | 0.063044
81.7523 | 98.6452 | 79.4328 | 0.58461 | 81.7523 | 0.0006636 | 79.4328 | 0.00018683 | ¦ | [12 empty] | ¦ | 172.7826 | 100.9483 |  |  | ¦ | 3.4124 | 0.056319
86.5964 | 99.1179 | 84.1395 | 0.47276 | 86.5964 | 0.00051319 | 84.1395 | 0.00015041 | ¦ | [12 empty] | ¦ | 183.0206 | 101.0008 |  |  | ¦ | 3.8287 | 0.052536
91.7276 | 99.4878 | 89.1251 | 0.36984 | 91.7276 | 0.00039538 | 89.1251 | 0.0001178 | ¦ | [12 empty] | ¦ | 193.8653 | 101.0516 |  |  | ¦ | 4.2959 | 0.050845
97.1628 | 99.7728 | 94.4061 | 0.28501 | 97.1628 | 0.00030513 | 94.4061 | 9.025e-05 | ¦ | [12 empty] | ¦ | 205.3525 | 101.0911 |  |  | ¦ | 4.8201 | 0.039462
102.9201 | 99.9948 | 100 | 0.22206 | 102.9201 | 0.00023689 | 100 | 6.8239e-05 | ¦ | [12 empty] | ¦ |  |  |  |  | ¦ | 5.4082 | 0
109.0184 | 100.174 | 105.9254 | 0.17913 | 109.0184 | 0.00018536 | 105.9254 | 5.1534e-05 | ¦ | [17 empty] | ¦
115.4782 | 100.3248 | 112.2018 | 0.1508 | 115.4782 | 0.00014601 | 112.2018 | 3.935e-05 | ¦
122.3207 | 100.4557 | 118.8502 | 0.13095 | 122.3207 | 0.00011537 | 118.8502 | 3.0637e-05 | ¦
129.5687 | 100.5705 | 125.8925 | 0.11479 | 129.5687 | 9.1017e-05 | 125.8925 | 2.4357e-05 | ¦
137.2461 | 100.6703 | 133.3521 | 0.099816 | 137.2461 | 7.1335e-05 | 133.3521 | 1.9681e-05 | ¦
145.3784 | 100.7559 | 141.2538 | 0.085602 | 145.3784 | 5.5276e-05 | 141.2538 | 1.6059e-05 | ¦
153.9927 | 100.8289 | 149.6236 | 0.072981 | 153.9927 | 4.2092e-05 | 149.6236 | 1.3184e-05 | ¦
163.1173 | 100.8919 | 158.4893 | 0.063044 | 163.1173 | 3.1186e-05 | 158.4893 | 1.0906e-05 | ¦
172.7826 | 100.9483 | 167.8804 | 0.056319 | 172.7826 | 2.2142e-05 | 167.8804 | 9.044e-06 | ¦
183.0206 | 101.0008 | 177.8279 | 0.052536 | 183.0206 | 1.4923e-05 | 177.8279 | 7.2193e-06 | ¦
193.8653 | 101.0516 | 188.3649 | 0.050845 | 193.8653 | 9.3976e-06 | 188.3649 | 5.5252e-06 | ¦
205.3525 | 101.0911 | 199.5262 | 0.039462 | 205.3525 | 5.3853e-06 | 199.5262 | 4.0123e-06 | ¦
|  | 211.3489 | 0 |  |  | 211.3489 | 2.707e-06 | ¦
¦