## 001-008
Micromeritics Instrument Corporation | [7 empty] | ¦ | Micromeritics Instrument Corporation |  |  |  |  | ¦ | Micromeritics Instrument Corporation | [5 empty] | ¦ | Micromeritics Instrument Corporation |  |  |  | ¦ | Micromeritics Instrument Corporation
SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 |  |  |  |  | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 |  | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 |  |  | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Sample: | AP_H2_dt2.0 | [6 empty] | ¦ | Sample: | AP_H2_dt2.0 |  |  |  | ¦ | Sample: | AP_H2_dt2.0 |  |  |  |  | ¦ | Sample: | AP_H2_dt2.0 |  |  | ¦ | Sample: | AP_H2_dt2.0
Operator: | Jia Jia ter Kuile | [6 empty] | ¦ | Operator: | Jia Jia ter Kuile |  |  |  | ¦ | Operator: | Jia Jia ter Kuile |  |  |  |  | ¦ | Operator: | Jia Jia ter Kuile |  |  | ¦ | Operator: | Jia Jia ter Kuile
Submitter: | [7 empty] | ¦ | Submitter: |  |  |  |  | ¦ | Submitter: | [5 empty] | ¦ | Submitter: |  |  |  | ¦ | Submitter:
File: | C:\...\JIAJIA~1\001-008.SMP | [6 empty] | ¦ | File: | C:\...\JIAJIA~1\001-008.SMP |  |  |  | ¦ | File: | C:\...\JIAJIA~1\001-008.SMP |  |  |  |  | ¦ | File: | C:\...\JIAJIA~1\001-008.SMP |  |  | ¦ | File: | C:\...\JIAJIA~1\001-008.SMP
Material/Liquid: | soil / Water | [6 empty] | ¦ | Material/Liquid: | soil / Water |  |  |  | ¦ | Material/Liquid: | soil / Water |  |  |  |  | ¦ | Material/Liquid: | soil / Water |  |  | ¦ | Material/Liquid: | soil / Water
Measurement Principle: | X-Ray monitored gravity sedimentation | [6 empty] | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation |  |  |  | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation |  |  |  |  | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation |  |  | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation
Calculation Method: | Stokes sedimentation and Beer's law of extinction | [6 empty] | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction |  |  |  | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction |  |  |  |  | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction |  |  | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Test Number: | 1 | Analysis Type: | High Resolution |  |  |  |  | ¦ | Test Number: | 1 | Analysis Type: | High Resolution |  | ¦ | Test Number: | 1 | Analysis Type: | High Resolution |  |  | ¦ | Test Number: | 1 | Analysis Type: | High Resolution | ¦ | Test Number: | 1 | Analysis Type: | High Resolution
Analyzed: | 2/7/2024 4:42:04PM | Run Time: | 0:03 hrs:min |  |  |  |  | ¦ | Analyzed: | 2/7/2024 4:42:04PM | Run Time: | 0:03 hrs:min |  | ¦ | Analyzed: | 2/7/2024 4:42:04PM | Run Time: | 0:03 hrs:min |  |  | ¦ | Analyzed: | 2/7/2024 4:42:04PM | Run Time: | 0:03 hrs:min | ¦ | Analyzed: | 2/7/2024 4:42:04PM | Run Time: | 0:03 hrs:min
Reported: | 2/7/2024 4:49:00PM | Sample Density: | 2.600 g/cm³ |  |  |  |  | ¦ | Reported: | 2/7/2024 4:49:00PM | Sample Density: | 2.600 g/cm³ |  | ¦ | Reported: | 2/7/2024 4:49:00PM | Sample Density: | 2.600 g/cm³ |  |  | ¦ | Reported: | 2/7/2024 4:49:00PM | Sample Density: | 2.600 g/cm³ | ¦ | Reported: | 2/7/2024 4:49:00PM | Sample Density: | 2.600 g/cm³
Liquid Visc: | 0.7222 mPa·s | Liquid Density: | 0.9941 g/cm³ |  |  |  |  | ¦ | Liquid Visc: | 0.7222 mPa·s | Liquid Density: | 0.9941 g/cm³ |  | ¦ | Liquid Visc: | 0.7222 mPa·s | Liquid Density: | 0.9941 g/cm³ |  |  | ¦ | Liquid Visc: | 0.7222 mPa·s | Liquid Density: | 0.9941 g/cm³ | ¦ | Liquid Visc: | 0.7222 mPa·s | Liquid Density: | 0.9941 g/cm³
Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 71 kCnts/s |  |  |  |  | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 71 kCnts/s |  | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 71 kCnts/s |  |  | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 71 kCnts/s | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 71 kCnts/s
Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 |  |  |  |  | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 |  | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 |  |  | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound | [7 empty] | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound |  |  |  |  | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound | [5 empty] | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound |  |  |  | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Combined Report | [7 empty] | ¦ | Report by Sieve Size |  |  |  |  | ¦ | Report by Size Table | [5 empty] | ¦ | Cumulative Finer Mass Percent vs. Diameter |  |  |  | ¦ | Mass Frequency vs. Settling Velocity
Report by Size Table | [7 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | Sieve Name | Aperture Size (µm) | Cumulative Mass Passed (Percent) | Mass Frequency (Percent) | Cum. Mass Standard Deviation (1 tests) | ¦ | High Diameter (µm) | Low Diameter (µm) | Average Diameter (µm) | Cumulative Mass Finer (Percent) | Mass Frequency (Percent) | Cum. Mass Standard Deviation (1 tests) | ¦ |  |  |  |  | ¦
High Diameter (µm) | Low Diameter (µm) | Average Diameter (µm) | Cumulative Mass Finer (Percent) | Mass Frequency (Percent) | Cum. Mass Standard Deviation (1 tests) | Particle Size (Phi) | Settling Velocity (cm/s) | ¦ | No. 50 | 300 | 102.4 | 0.0 | 0.0 | ¦ | 250.0 | 200.0 | 223.6 | 102.3 | 0.0 | 0.0 | ¦ | Test 1 |  |  |  | ¦ | Test 1
250.0 | 125.0 | 176.8 | 101.7 | 0.7 | 0.0 | 3.000 | 1.89170 | ¦ | No. 120 | 125 | 101.7 | 0.7 | 0.0 | ¦ | 200.0 | 150.0 | 173.2 | 102.0 | 0.3 | 0.0 | ¦ | Particle Diameter (µm) | Cumulative Finer Mass Percent |  |  | ¦ | Settling Velocity (cm/s) | Mass Frequency Percent
125.0 | 63.00 | 88.74 | 96.5 | 5.2 | 0.0 | 3.989 | 0.48052 | ¦ | No. 270 | 53 | 93.2 | 8.5 | 0.0 | ¦ | 150.0 | 100.0 | 122.5 | 101.1 | 0.9 | 0.0 | ¦ | 2.0535 | 16.3702 |  |  | ¦ | 0.00048198 | 0
63.00 | 32.00 | 44.90 | 82.5 | 14.0 | 0.0 | 4.966 | 0.12397 | ¦ | No. 635 | 20 | 71.4 | 21.8 | 0.0 | ¦ | 100.0 | 80.00 | 89.44 | 99.7 | 1.4 | 0.0 | ¦ | 2.1752 | 17.3283 |  |  | ¦ | 0.0005408 | 0.9581
32.00 | 16.00 | 22.63 | 65.8 | 16.7 | 0.0 | 5.966 | 0.03099 | ¦ | [5 empty] | ¦ | 80.00 | 60.00 | 69.28 | 95.6 | 4.1 | 0.0 | ¦ | 2.3041 | 18.3163 |  |  | ¦ | 0.00060678 | 0.98794
16.00 | 8.000 | 11.31 | 46.3 | 19.5 | 0.0 | 6.966 | 0.00775 | ¦ | [5 empty] | ¦ | 60.00 | 50.00 | 54.77 | 91.9 | 3.7 | 0.0 | ¦ | 2.4406 | 19.3524 |  |  | ¦ | 0.00068082 | 1.0361
8.000 | 4.000 | 5.657 | 29.6 | 16.8 | 0.0 | 7.966 | 0.00194 | ¦ | [5 empty] | ¦ | 50.00 | 40.00 | 44.72 | 87.1 | 4.9 | 0.0 | ¦ | 2.5852 | 20.4494 |  |  | ¦ | 0.00076389 | 1.097
4.000 | 2.000 | 2.828 | 16.4 | 13.2 | 0.0 | 8.966 | 0.00048 | ¦ | [5 empty] | ¦ | 40.00 | 30.00 | 34.64 | 81.0 | 6.0 | 0.0 | ¦ | 2.7384 | 21.6081 |  |  | ¦ | 0.0008571 | 1.1588
[8 empty] | ¦ | [5 empty] | ¦ | 30.00 | 25.00 | 27.39 | 76.6 | 4.4 | 0.0 | ¦ | 2.9007 | 22.8153 |  |  | ¦ | 0.00096169 | 1.2072
[8 empty] | ¦ | [5 empty] | ¦ | 25.00 | 20.00 | 22.36 | 71.4 | 5.2 | 0.0 | ¦ | 3.0726 | 24.0469 |  |  | ¦ | 0.001079 | 1.2316
Cumulative Finer Mass Percent vs. Diameter | [7 empty] | ¦ | [5 empty] | ¦ | 20.00 | 15.00 | 17.32 | 64.0 | 7.4 | 0.0 | ¦ | 3.2546 | 25.2773 |  |  | ¦ | 0.0012107 | 1.2304
[8 empty] | ¦ | [5 empty] | ¦ | 15.00 | 10.00 | 12.25 | 52.5 | 11.5 | 0.0 | ¦ | 3.4475 | 26.4906 |  |  | ¦ | 0.0013584 | 1.2133
[8 empty] | ¦ | [5 empty] | ¦ | 10.00 | 8.000 | 8.944 | 46.3 | 6.2 | 0.0 | ¦ | 3.6517 | 27.688 |  |  | ¦ | 0.0015242 | 1.1974
Cumulative Finer Mass Percent |  | Mass Frequency Percent |  | Cumulative Surface Area Coarser |  | Surface Area Population |  | ¦ | [5 empty] | ¦ | 8.000 | 6.000 | 6.928 | 39.0 | 7.3 | 0.0 | ¦ | 3.8681 | 28.8857 |  |  | ¦ | 0.0017101 | 1.1977
Particle Diameter (µm) | Cumulative Finer Mass Percent | Particle Diameter (µm) | Mass Frequency Percent | Particle Diameter (µm) | Cumulative Surface Area Coarser (m²/g) | Particle Diameter (µm) | Surface Area Population (m²/g) | ¦ | [5 empty] | ¦ | 6.000 | 5.000 | 5.477 | 34.6 | 4.4 | 0.0 | ¦ | 4.0973 | 30.1049 |  |  | ¦ | 0.0019188 | 1.2192
2.0535 | 16.3702 | 1.9953 | 0 | 2.0535 | 0.23726 | 1.9953 | 0.003905 | ¦ | [5 empty] | ¦ | 5.000 | 4.000 | 4.472 | 29.6 | 5.0 | 0.0 | ¦ | 4.3401 | 31.3622 |  |  | ¦ | 0.0021529 | 1.2572
2.1752 | 17.3283 | 2.1135 | 0.9581 | 2.1752 | 0.23162 | 2.1135 | 0.0056401 | ¦ | [5 empty] | ¦ | 4.000 | 3.000 | 3.464 | 23.5 | 6.1 | 0.0 | ¦ | 4.5973 | 32.662 |  |  | ¦ | 0.0024156 | 1.2998
2.3041 | 18.3163 | 2.2387 | 0.98794 | 2.3041 | 0.22435 | 2.2387 | 0.0072671 | ¦ | [5 empty] | ¦ | 3.000 | 2.000 | 2.449 | 16.4 | 7.2 | 0.0 | ¦ | 4.8697 | 33.9975 |  |  | ¦ | 0.0027104 | 1.3355
2.4406 | 19.3524 | 2.3714 | 1.0361 | 2.4406 | 0.21573 | 2.3714 | 0.0086261 | ¦ | [5 empty] | ¦ | [6 empty] | ¦ | 5.1582 | 35.3575 |  |  | ¦ | 0.0030411 | 1.36
2.5852 | 20.4494 | 2.5119 | 1.097 | 2.5852 | 0.20616 | 2.5119 | 0.0095711 | ¦ | [5 empty] | ¦ | [6 empty] | ¦ | 5.4639 | 36.7342 |  |  | ¦ | 0.0034122 | 1.3767
2.7384 | 21.6081 | 2.6607 | 1.1588 | 2.7384 | 0.19618 | 2.6607 | 0.0099734 | ¦ | [12 empty] | ¦ | 5.7876 | 38.1264 |  |  | ¦ | 0.0038285 | 1.3922
2.9007 | 22.8153 | 2.8184 | 1.2072 | 2.9007 | 0.18645 | 2.8184 | 0.0097315 | ¦ | [12 empty] | ¦ | 6.1306 | 39.5374 |  |  | ¦ | 0.0042957 | 1.411
3.0726 | 24.0469 | 2.9854 | 1.2316 | 3.0726 | 0.17704 | 2.9854 | 0.0094137 | ¦ | [12 empty] | ¦ | 6.4938 | 40.9704 |  |  | ¦ | 0.0048198 | 1.4331
3.2546 | 25.2773 | 3.1623 | 1.2304 | 3.2546 | 0.16802 | 3.1623 | 0.0090223 | ¦ | [12 empty] | ¦ | 6.8786 | 42.4257 |  |  | ¦ | 0.005408 | 1.4553
3.4475 | 26.4906 | 3.3497 | 1.2133 | 3.4475 | 0.15943 | 3.3497 | 0.0085847 | ¦ | [12 empty] | ¦ | 7.2862 | 43.9014 |  |  | ¦ | 0.0060678 | 1.4757
3.6517 | 27.688 | 3.5481 | 1.1974 | 3.6517 | 0.15129 | 3.5481 | 0.0081413 | ¦ | [12 empty] | ¦ | 7.7179 | 45.3976 |  |  | ¦ | 0.0068082 | 1.4962
3.8681 | 28.8857 | 3.7584 | 1.1977 | 3.8681 | 0.14356 | 3.7584 | 0.007729 | ¦ | [12 empty] | ¦ | 8.1752 | 46.9192 |  |  | ¦ | 0.0076389 | 1.5217
4.0973 | 30.1049 | 3.9811 | 1.2192 | 4.0973 | 0.13619 | 3.9811 | 0.0073696 | ¦ | [12 empty] | ¦ | 8.6596 | 48.4747 |  |  | ¦ | 0.008571 | 1.5555
4.3401 | 31.3622 | 4.217 | 1.2572 | 4.3401 | 0.12913 | 4.217 | 0.0070652 | ¦ | [12 empty] | ¦ | 9.1728 | 50.0697 |  |  | ¦ | 0.0096169 | 1.595
4.5973 | 32.662 | 4.4668 | 1.2998 | 4.5973 | 0.12232 | 4.4668 | 0.0068027 | ¦ | [12 empty] | ¦ | 9.7163 | 51.7013 |  |  | ¦ | 0.01079 | 1.6316
4.8697 | 33.9975 | 4.7315 | 1.3355 | 4.8697 | 0.11576 | 4.7315 | 0.0065624 | ¦ | [12 empty] | ¦ | 10.292 | 53.3571 |  |  | ¦ | 0.012107 | 1.6558
5.1582 | 35.3575 | 5.0119 | 1.36 | 5.1582 | 0.10943 | 5.0119 | 0.0063273 | ¦ | [12 empty] | ¦ | 10.9018 | 55.0197 |  |  | ¦ | 0.013584 | 1.6626
5.4639 | 36.7342 | 5.3088 | 1.3767 | 5.4639 | 0.10335 | 5.3088 | 0.0060883 | ¦ | [12 empty] | ¦ | 11.5478 | 56.6746 |  |  | ¦ | 0.015242 | 1.6549
5.7876 | 38.1264 | 5.6234 | 1.3922 | 5.7876 | 0.097501 | 5.6234 | 0.0058446 | ¦ | [12 empty] | ¦ | 12.2321 | 58.3151 |  |  | ¦ | 0.017101 | 1.6405
6.1306 | 39.5374 | 5.9566 | 1.411 | 6.1306 | 0.091901 | 5.9566 | 0.0056002 | ¦ | [12 empty] | ¦ | 12.9569 | 59.9422 |  |  | ¦ | 0.019188 | 1.6271
6.4938 | 40.9704 | 6.3096 | 1.4331 | 6.4938 | 0.086539 | 6.3096 | 0.0053615 | ¦ | [12 empty] | ¦ | 13.7246 | 61.5591 |  |  | ¦ | 0.021529 | 1.6169
6.8786 | 42.4257 | 6.6834 | 1.4553 | 6.8786 | 0.081406 | 6.6834 | 0.0051336 | ¦ | [12 empty] | ¦ | 14.5378 | 63.1661 |  |  | ¦ | 0.024156 | 1.607
7.2862 | 43.9014 | 7.0795 | 1.4757 | 7.2862 | 0.076486 | 7.0795 | 0.00492 | ¦ | [12 empty] | ¦ | 15.3993 | 64.7564 |  |  | ¦ | 0.027104 | 1.5903
7.7179 | 45.3976 | 7.4989 | 1.4962 | 7.7179 | 0.071764 | 7.4989 | 0.004722 | ¦ | [12 empty] | ¦ | 16.3117 | 66.3152 |  |  | ¦ | 0.030411 | 1.5588
8.1752 | 46.9192 | 7.9433 | 1.5217 | 8.1752 | 0.067225 | 7.9433 | 0.0045384 | ¦ | [12 empty] | ¦ | 17.2783 | 67.8246 |  |  | ¦ | 0.034122 | 1.5095
8.6596 | 48.4747 | 8.414 | 1.5555 | 8.6596 | 0.06286 | 8.414 | 0.0043653 | ¦ | [12 empty] | ¦ | 18.3021 | 69.2722 |  |  | ¦ | 0.038285 | 1.4476
9.1728 | 50.0697 | 8.9125 | 1.595 | 9.1728 | 0.058663 | 8.9125 | 0.0041972 | ¦ | [12 empty] | ¦ | 19.3865 | 70.6582 |  |  | ¦ | 0.042957 | 1.3859
9.7163 | 51.7013 | 9.4406 | 1.6316 | 9.7163 | 0.054635 | 9.4406 | 0.0040279 | ¦ | [12 empty] | ¦ | 20.5353 | 71.9985 |  |  | ¦ | 0.048198 | 1.3403
10.292 | 53.3571 | 10 | 1.6558 | 10.292 | 0.050783 | 10 | 0.0038521 | ¦ | [12 empty] | ¦ | 21.752 | 73.3216 |  |  | ¦ | 0.05408 | 1.3232
10.9018 | 55.0197 | 10.5925 | 1.6626 | 10.9018 | 0.047115 | 10.5925 | 0.0036676 | ¦ | [12 empty] | ¦ | 23.0409 | 74.6585 |  |  | ¦ | 0.060678 | 1.3369
11.5478 | 56.6746 | 11.2202 | 1.6549 | 11.5478 | 0.04364 | 11.2202 | 0.0034751 | ¦ | [12 empty] | ¦ | 24.4062 | 76.0291 |  |  | ¦ | 0.068082 | 1.3706
12.2321 | 58.3151 | 11.885 | 1.6405 | 12.2321 | 0.040362 | 11.885 | 0.0032782 | ¦ | [12 empty] | ¦ | 25.8523 | 77.4329 |  |  | ¦ | 0.076389 | 1.4038
12.9569 | 59.9422 | 12.5893 | 1.6271 | 12.9569 | 0.037281 | 12.5893 | 0.0030812 | ¦ | [12 empty] | ¦ | 27.3842 | 78.8467 |  |  | ¦ | 0.08571 | 1.4138
13.7246 | 61.5591 | 13.3352 | 1.6169 | 13.7246 | 0.034393 | 13.3352 | 0.0028874 | ¦ | [12 empty] | ¦ | 29.0068 | 80.2347 |  |  | ¦ | 0.096169 | 1.388
14.5378 | 63.1661 | 14.1254 | 1.607 | 14.5378 | 0.031696 | 14.1254 | 0.0026972 | ¦ | [12 empty] | ¦ | 30.7256 | 81.5644 |  |  | ¦ | 0.1079 | 1.3297
15.3993 | 64.7564 | 14.9624 | 1.5903 | 15.3993 | 0.029186 | 14.9624 | 0.0025097 | ¦ | [12 empty] | ¦ | 32.5462 | 82.8221 |  |  | ¦ | 0.12107 | 1.2576
16.3117 | 66.3152 | 15.8489 | 1.5588 | 16.3117 | 0.026863 | 15.8489 | 0.0023239 | ¦ | [12 empty] | ¦ | 34.4747 | 84.0192 |  |  | ¦ | 0.13584 | 1.1972
17.2783 | 67.8246 | 16.788 | 1.5095 | 17.2783 | 0.024722 | 16.788 | 0.002141 | ¦ | [12 empty] | ¦ | 36.5174 | 85.1874 |  |  | ¦ | 0.15242 | 1.1682
18.3021 | 69.2722 | 17.7828 | 1.4476 | 18.3021 | 0.022756 | 17.7828 | 0.0019657 | ¦ | [12 empty] | ¦ | 38.6812 | 86.3623 |  |  | ¦ | 0.17101 | 1.175
19.3865 | 70.6582 | 18.8365 | 1.3859 | 19.3865 | 0.020951 | 18.8365 | 0.0018045 | ¦ | [12 empty] | ¦ | 40.9732 | 87.5688 |  |  | ¦ | 0.19188 | 1.2065
20.5353 | 71.9985 | 19.9526 | 1.3403 | 20.5353 | 0.019288 | 19.9526 | 0.0016634 | ¦ | [12 empty] | ¦ | 43.401 | 88.8115 |  |  | ¦ | 0.21529 | 1.2427
21.752 | 73.3216 | 21.1349 | 1.3232 | 21.752 | 0.017742 | 21.1349 | 0.0015456 | ¦ | [12 empty] | ¦ | 45.9727 | 90.077 |  |  | ¦ | 0.24156 | 1.2655
23.0409 | 74.6585 | 22.3872 | 1.3369 | 23.0409 | 0.016293 | 22.3872 | 0.0014494 | ¦ | [12 empty] | ¦ | 48.6968 | 91.3424 |  |  | ¦ | 0.27104 | 1.2654
24.4062 | 76.0291 | 23.7137 | 1.3706 | 24.4062 | 0.014924 | 23.7137 | 0.0013687 | ¦ | [12 empty] | ¦ | 51.5822 | 92.5841 |  |  | ¦ | 0.30411 | 1.2417
25.8523 | 77.4329 | 25.1189 | 1.4038 | 25.8523 | 0.01363 | 25.1189 | 0.0012947 | ¦ | [12 empty] | ¦ | 54.6387 | 93.7839 |  |  | ¦ | 0.34122 | 1.1998
27.3842 | 78.8467 | 26.6073 | 1.4138 | 27.3842 | 0.01241 | 26.6073 | 0.0012198 | ¦ | [12 empty] | ¦ | 57.8762 | 94.9281 |  |  | ¦ | 0.38285 | 1.1442
29.0068 | 80.2347 | 28.1838 | 1.388 | 29.0068 | 0.01127 | 28.1838 | 0.0011398 | ¦ | [12 empty] | ¦ | 61.3056 | 96.0047 |  |  | ¦ | 0.42957 | 1.0765
30.7256 | 81.5644 | 29.8538 | 1.3297 | 30.7256 | 0.010215 | 29.8538 | 0.0010552 | ¦ | [12 empty] | ¦ | 64.9382 | 96.9998 |  |  | ¦ | 0.48198 | 0.99513
32.5462 | 82.8221 | 31.6228 | 1.2576 | 32.5462 | 0.0092443 | 31.6228 | 0.00097048 | ¦ | [12 empty] | ¦ | 68.786 | 97.8976 |  |  | ¦ | 0.5408 | 0.89781
34.4747 | 84.0192 | 33.4965 | 1.1972 | 34.4747 | 0.0083526 | 33.4965 | 0.00089164 | ¦ | [12 empty] | ¦ | 72.8618 | 98.6832 |  |  | ¦ | 0.60678 | 0.78563
36.5174 | 85.1874 | 35.4813 | 1.1682 | 36.5174 | 0.007529 | 35.4813 | 0.0008236 | ¦ | [12 empty] | ¦ | 77.1792 | 99.3476 |  |  | ¦ | 0.68082 | 0.66433
38.6812 | 86.3623 | 37.5837 | 1.175 | 38.6812 | 0.0067607 | 37.5837 | 0.00076831 | ¦ | [12 empty] | ¦ | 81.7523 | 99.8911 |  |  | ¦ | 0.76389 | 0.54351
40.9732 | 87.5688 | 39.8107 | 1.2065 | 40.9732 | 0.0060364 | 39.8107 | 0.00072429 | ¦ | [12 empty] | ¦ | 86.5964 | 100.3247 |  |  | ¦ | 0.8571 | 0.43359
43.401 | 88.8115 | 42.1697 | 1.2427 | 43.401 | 0.0053489 | 42.1697 | 0.00068756 | ¦ | [12 empty] | ¦ | 91.7276 | 100.6668 |  |  | ¦ | 0.96169 | 0.34217
45.9727 | 90.077 | 44.6684 | 1.2655 | 45.9727 | 0.0046956 | 44.6684 | 0.00065328 | ¦ | [12 empty] | ¦ | 97.1628 | 100.939 |  |  | ¦ | 1.079 | 0.27214
48.6968 | 91.3424 | 47.3151 | 1.2654 | 48.6968 | 0.0040783 | 47.3151 | 0.00061733 | ¦ | [12 empty] | ¦ | 102.9201 | 101.1608 |  |  | ¦ | 1.2107 | 0.22182
51.5822 | 92.5841 | 50.1187 | 1.2417 | 51.5822 | 0.0035009 | 50.1187 | 0.00057735 | ¦ | [12 empty] | ¦ | 109.0184 | 101.3471 |  |  | ¦ | 1.3584 | 0.18632
54.6387 | 93.7839 | 53.0884 | 1.1998 | 54.6387 | 0.0029682 | 53.0884 | 0.00053273 | ¦ | [12 empty] | ¦ | 115.4782 | 101.5072 |  |  | ¦ | 1.5242 | 0.16003
57.8762 | 94.9281 | 56.2341 | 1.1442 | 57.8762 | 0.002484 | 56.2341 | 0.00048417 | ¦ | [12 empty] | ¦ | 122.3207 | 101.6459 |  |  | ¦ | 1.7101 | 0.13877
61.3056 | 96.0047 | 59.5662 | 1.0765 | 61.3056 | 0.0020511 | 59.5662 | 0.0004329 | ¦ | [12 empty] | ¦ | 129.5687 | 101.7661 |  |  | ¦ | 1.9188 | 0.1202
64.9382 | 96.9998 | 63.0957 | 0.99513 | 64.9382 | 0.0016708 | 63.0957 | 0.00038029 | ¦ | [12 empty] | ¦ | 137.2461 | 101.8699 |  |  | ¦ | 2.1529 | 0.10374
68.786 | 97.8976 | 66.8344 | 0.89781 | 68.786 | 0.0013432 | 66.8344 | 0.00032766 | ¦ | [12 empty] | ¦ | 145.3784 | 101.9597 |  |  | ¦ | 2.4156 | 0.08986
72.8618 | 98.6832 | 70.7946 | 0.78563 | 72.8618 | 0.0010668 | 70.7946 | 0.00027634 | ¦ | [12 empty] | ¦ | 153.9927 | 102.0387 |  |  | ¦ | 2.7104 | 0.07899
77.1792 | 99.3476 | 74.9894 | 0.66433 | 77.1792 | 0.00083907 | 74.9894 | 0.00022776 | ¦ | [12 empty] | ¦ | 163.1173 | 102.1099 |  |  | ¦ | 3.0411 | 0.071226
81.7523 | 99.8911 | 79.4328 | 0.54351 | 81.7523 | 0.00065568 | 79.4328 | 0.00018339 | ¦ | [12 empty] | ¦ | 172.7826 | 102.1762 |  |  | ¦ | 3.4122 | 0.066273
86.5964 | 100.3247 | 84.1395 | 0.43359 | 86.5964 | 0.00051119 | 84.1395 | 0.00014449 | ¦ | [12 empty] | ¦ | 183.0206 | 102.2398 |  |  | ¦ | 3.8285 | 0.063544
91.7276 | 100.6668 | 89.1251 | 0.34217 | 91.7276 | 0.00039931 | 89.1251 | 0.00011188 | ¦ | [12 empty] | ¦ | 193.8653 | 102.3021 |  |  | ¦ | 4.2957 | 0.062315
97.1628 | 100.939 | 94.4061 | 0.27214 | 97.1628 | 0.00031357 | 94.4061 | 8.574e-05 | ¦ | [12 empty] | ¦ | 205.3525 | 102.3507 |  |  | ¦ | 4.8198 | 0.048589
102.9201 | 101.1608 | 100 | 0.22182 | 102.9201 | 0.00024794 | 100 | 6.5634e-05 | ¦ | [12 empty] | ¦ |  |  |  |  | ¦ | 5.408 | 0
109.0184 | 101.3471 | 105.9254 | 0.18632 | 109.0184 | 0.00019729 | 105.9254 | 5.0647e-05 | ¦ | [17 empty] | ¦
115.4782 | 101.5072 | 112.2018 | 0.16003 | 115.4782 | 0.00015764 | 112.2018 | 3.9651e-05 | ¦
122.3207 | 101.6459 | 118.8502 | 0.13877 | 122.3207 | 0.00012608 | 118.8502 | 3.1553e-05 | ¦
129.5687 | 101.7661 | 125.8925 | 0.1202 | 129.5687 | 0.00010061 | 125.8925 | 2.5469e-05 | ¦
137.2461 | 101.8699 | 133.3521 | 0.10374 | 137.2461 | 7.9835e-05 | 133.3521 | 2.078e-05 | ¦
145.3784 | 101.9597 | 141.2538 | 0.08986 | 145.3784 | 6.273e-05 | 141.2538 | 1.7105e-05 | ¦
153.9927 | 102.0387 | 149.6236 | 0.07899 | 153.9927 | 4.8502e-05 | 149.6236 | 1.4227e-05 | ¦
163.1173 | 102.1099 | 158.4893 | 0.071226 | 163.1173 | 3.6493e-05 | 158.4893 | 1.201e-05 | ¦
172.7826 | 102.1762 | 167.8804 | 0.066273 | 172.7826 | 2.6277e-05 | 167.8804 | 1.0215e-05 | ¦
183.0206 | 102.2398 | 177.8279 | 0.063544 | 183.0206 | 1.7924e-05 | 177.8279 | 8.3532e-06 | ¦
193.8653 | 102.3021 | 188.3649 | 0.062315 | 193.8653 | 1.1395e-05 | 188.3649 | 6.5292e-06 | ¦
205.3525 | 102.3507 | 199.5262 | 0.048589 | 205.3525 | 6.5743e-06 | 199.5262 | 4.8206e-06 | ¦
|  | 211.3489 | 0 |  |  | 211.3489 | 3.2902e-06 | ¦
¦