## 001-009
Micromeritics Instrument Corporation | [7 empty] | ¦ | Micromeritics Instrument Corporation |  |  |  |  | ¦ | Micromeritics Instrument Corporation | [5 empty] | ¦ | Micromeritics Instrument Corporation |  |  |  | ¦ | Micromeritics Instrument Corporation
SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 |  |  |  |  | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 |  | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 |  |  | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Sample: | AP_H3_dt0.5 | [6 empty] | ¦ | Sample: | AP_H3_dt0.5 |  |  |  | ¦ | Sample: | AP_H3_dt0.5 |  |  |  |  | ¦ | Sample: | AP_H3_dt0.5 |  |  | ¦ | Sample: | AP_H3_dt0.5
Operator: | Jia Jia ter Kuile | [6 empty] | ¦ | Operator: | Jia Jia ter Kuile |  |  |  | ¦ | Operator: | Jia Jia ter Kuile |  |  |  |  | ¦ | Operator: | Jia Jia ter Kuile |  |  | ¦ | Operator: | Jia Jia ter Kuile
Submitter: | [7 empty] | ¦ | Submitter: |  |  |  |  | ¦ | Submitter: | [5 empty] | ¦ | Submitter: |  |  |  | ¦ | Submitter:
File: | C:\...\JIAJIA~1\001-009.SMP | [6 empty] | ¦ | File: | C:\...\JIAJIA~1\001-009.SMP |  |  |  | ¦ | File: | C:\...\JIAJIA~1\001-009.SMP |  |  |  |  | ¦ | File: | C:\...\JIAJIA~1\001-009.SMP |  |  | ¦ | File: | C:\...\JIAJIA~1\001-009.SMP
Material/Liquid: | soil / Water | [6 empty] | ¦ | Material/Liquid: | soil / Water |  |  |  | ¦ | Material/Liquid: | soil / Water |  |  |  |  | ¦ | Material/Liquid: | soil / Water |  |  | ¦ | Material/Liquid: | soil / Water
Measurement Principle: | X-Ray monitored gravity sedimentation | [6 empty] | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation |  |  |  | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation |  |  |  |  | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation |  |  | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation
Calculation Method: | Stokes sedimentation and Beer's law of extinction | [6 empty] | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction |  |  |  | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction |  |  |  |  | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction |  |  | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Test Number: | 1 | Analysis Type: | High Resolution |  |  |  |  | ¦ | Test Number: | 1 | Analysis Type: | High Resolution |  | ¦ | Test Number: | 1 | Analysis Type: | High Resolution |  |  | ¦ | Test Number: | 1 | Analysis Type: | High Resolution | ¦ | Test Number: | 1 | Analysis Type: | High Resolution
Analyzed: | 2/7/2024 5:01:03PM | Run Time: | 0:03 hrs:min |  |  |  |  | ¦ | Analyzed: | 2/7/2024 5:01:03PM | Run Time: | 0:03 hrs:min |  | ¦ | Analyzed: | 2/7/2024 5:01:03PM | Run Time: | 0:03 hrs:min |  |  | ¦ | Analyzed: | 2/7/2024 5:01:03PM | Run Time: | 0:03 hrs:min | ¦ | Analyzed: | 2/7/2024 5:01:03PM | Run Time: | 0:03 hrs:min
Reported: | 2/7/2024 5:07:59PM | Sample Density: | 2.600 g/cm³ |  |  |  |  | ¦ | Reported: | 2/7/2024 5:07:59PM | Sample Density: | 2.600 g/cm³ |  | ¦ | Reported: | 2/7/2024 5:07:59PM | Sample Density: | 2.600 g/cm³ |  |  | ¦ | Reported: | 2/7/2024 5:07:59PM | Sample Density: | 2.600 g/cm³ | ¦ | Reported: | 2/7/2024 5:07:59PM | Sample Density: | 2.600 g/cm³
Liquid Visc: | 0.7222 mPa·s | Liquid Density: | 0.9941 g/cm³ |  |  |  |  | ¦ | Liquid Visc: | 0.7222 mPa·s | Liquid Density: | 0.9941 g/cm³ |  | ¦ | Liquid Visc: | 0.7222 mPa·s | Liquid Density: | 0.9941 g/cm³ |  |  | ¦ | Liquid Visc: | 0.7222 mPa·s | Liquid Density: | 0.9941 g/cm³ | ¦ | Liquid Visc: | 0.7222 mPa·s | Liquid Density: | 0.9941 g/cm³
Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 72 kCnts/s |  |  |  |  | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 72 kCnts/s |  | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 72 kCnts/s |  |  | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 72 kCnts/s | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 72 kCnts/s
Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 |  |  |  |  | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 |  | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 |  |  | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound | [7 empty] | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound |  |  |  |  | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound | [5 empty] | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound |  |  |  | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Combined Report | [7 empty] | ¦ | Report by Sieve Size |  |  |  |  | ¦ | Report by Size Table | [5 empty] | ¦ | Cumulative Finer Mass Percent vs. Diameter |  |  |  | ¦ | Mass Frequency vs. Settling Velocity
Report by Size Table | [7 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | Sieve Name | Aperture Size (µm) | Cumulative Mass Passed (Percent) | Mass Frequency (Percent) | Cum. Mass Standard Deviation (1 tests) | ¦ | High Diameter (µm) | Low Diameter (µm) | Average Diameter (µm) | Cumulative Mass Finer (Percent) | Mass Frequency (Percent) | Cum. Mass Standard Deviation (1 tests) | ¦ |  |  |  |  | ¦
High Diameter (µm) | Low Diameter (µm) | Average Diameter (µm) | Cumulative Mass Finer (Percent) | Mass Frequency (Percent) | Cum. Mass Standard Deviation (1 tests) | Particle Size (Phi) | Settling Velocity (cm/s) | ¦ | No. 50 | 300 | 102.9 | 0.0 | 0.0 | ¦ | 250.0 | 200.0 | 223.6 | 102.8 | 0.0 | 0.0 | ¦ | Test 1 |  |  |  | ¦ | Test 1
250.0 | 125.0 | 176.8 | 102.5 | 0.4 | 0.0 | 3.000 | 1.89170 | ¦ | No. 120 | 125 | 102.5 | 0.4 | 0.0 | ¦ | 200.0 | 150.0 | 173.2 | 102.6 | 0.2 | 0.0 | ¦ | Particle Diameter (µm) | Cumulative Finer Mass Percent |  |  | ¦ | Settling Velocity (cm/s) | Mass Frequency Percent
125.0 | 63.00 | 88.74 | 98.3 | 4.2 | 0.0 | 3.989 | 0.48052 | ¦ | No. 270 | 53 | 95.4 | 7.0 | 0.0 | ¦ | 150.0 | 100.0 | 122.5 | 102.1 | 0.6 | 0.0 | ¦ | 2.0535 | 18.1621 |  |  | ¦ | 0.00048198 | 0
63.00 | 32.00 | 44.90 | 86.5 | 11.8 | 0.0 | 4.966 | 0.12397 | ¦ | No. 635 | 20 | 75.7 | 19.8 | 0.0 | ¦ | 100.0 | 80.00 | 89.44 | 101.0 | 1.1 | 0.0 | ¦ | 2.1752 | 18.8471 |  |  | ¦ | 0.0005408 | 0.68504
32.00 | 16.00 | 22.63 | 69.9 | 16.6 | 0.0 | 5.966 | 0.03099 | ¦ | [5 empty] | ¦ | 80.00 | 60.00 | 69.28 | 97.5 | 3.4 | 0.0 | ¦ | 2.3041 | 19.7104 |  |  | ¦ | 0.00060678 | 0.8633
16.00 | 8.000 | 11.31 | 50.4 | 19.5 | 0.0 | 6.966 | 0.00775 | ¦ | [5 empty] | ¦ | 60.00 | 50.00 | 54.77 | 94.4 | 3.1 | 0.0 | ¦ | 2.4406 | 20.7359 |  |  | ¦ | 0.00068082 | 1.0254
8.000 | 4.000 | 5.657 | 31.9 | 18.4 | 0.0 | 7.966 | 0.00194 | ¦ | [5 empty] | ¦ | 50.00 | 40.00 | 44.72 | 90.4 | 4.0 | 0.0 | ¦ | 2.5852 | 21.8863 |  |  | ¦ | 0.00076389 | 1.1504
4.000 | 2.000 | 2.828 | 18.2 | 13.8 | 0.0 | 8.966 | 0.00048 | ¦ | [5 empty] | ¦ | 40.00 | 30.00 | 34.64 | 85.2 | 5.2 | 0.0 | ¦ | 2.7384 | 23.1155 |  |  | ¦ | 0.0008571 | 1.2292
[8 empty] | ¦ | [5 empty] | ¦ | 30.00 | 25.00 | 27.39 | 81.3 | 3.9 | 0.0 | ¦ | 2.9007 | 24.3836 |  |  | ¦ | 0.00096169 | 1.2681
[8 empty] | ¦ | [5 empty] | ¦ | 25.00 | 20.00 | 22.36 | 75.7 | 5.7 | 0.0 | ¦ | 3.0726 | 25.6686 |  |  | ¦ | 0.001079 | 1.2849
Cumulative Finer Mass Percent vs. Diameter | [7 empty] | ¦ | [5 empty] | ¦ | 20.00 | 15.00 | 17.32 | 68.2 | 7.5 | 0.0 | ¦ | 3.2546 | 26.9687 |  |  | ¦ | 0.0012107 | 1.3002
[8 empty] | ¦ | [5 empty] | ¦ | 15.00 | 10.00 | 12.25 | 57.0 | 11.1 | 0.0 | ¦ | 3.4475 | 28.2964 |  |  | ¦ | 0.0013584 | 1.3277
[8 empty] | ¦ | [5 empty] | ¦ | 10.00 | 8.000 | 8.944 | 50.4 | 6.7 | 0.0 | ¦ | 3.6517 | 29.6659 |  |  | ¦ | 0.0015242 | 1.3695
Cumulative Finer Mass Percent |  | Mass Frequency Percent |  | Cumulative Surface Area Coarser |  | Surface Area Population |  | ¦ | [5 empty] | ¦ | 8.000 | 6.000 | 6.928 | 42.3 | 8.0 | 0.0 | ¦ | 3.8681 | 31.0816 |  |  | ¦ | 0.0017101 | 1.4157
Particle Diameter (µm) | Cumulative Finer Mass Percent | Particle Diameter (µm) | Mass Frequency Percent | Particle Diameter (µm) | Cumulative Surface Area Coarser (m²/g) | Particle Diameter (µm) | Surface Area Population (m²/g) | ¦ | [5 empty] | ¦ | 6.000 | 5.000 | 5.477 | 37.6 | 4.7 | 0.0 | ¦ | 4.0973 | 32.5339 |  |  | ¦ | 0.0019188 | 1.4523
2.0535 | 18.1621 | 1.9953 | 0 | 2.0535 | 0.24723 | 1.9953 | 0.0032359 | ¦ | [5 empty] | ¦ | 5.000 | 4.000 | 4.472 | 31.9 | 5.7 | 0.0 | ¦ | 4.3401 | 34.0042 |  |  | ¦ | 0.0021529 | 1.4703
2.1752 | 18.8471 | 2.1135 | 0.68504 | 2.1752 | 0.24228 | 2.1135 | 0.0049445 | ¦ | [5 empty] | ¦ | 4.000 | 3.000 | 3.464 | 25.1 | 6.8 | 0.0 | ¦ | 4.5973 | 35.4752 |  |  | ¦ | 0.0024156 | 1.4709
2.3041 | 19.7104 | 2.2387 | 0.8633 | 2.3041 | 0.23562 | 2.2387 | 0.0066628 | ¦ | [5 empty] | ¦ | 3.000 | 2.000 | 2.449 | 18.2 | 7.0 | 0.0 | ¦ | 4.8697 | 36.9391 |  |  | ¦ | 0.0027104 | 1.4639
2.4406 | 20.7359 | 2.3714 | 1.0254 | 2.4406 | 0.22743 | 2.3714 | 0.0081933 | ¦ | [5 empty] | ¦ | [6 empty] | ¦ | 5.1582 | 38.4015 |  |  | ¦ | 0.0030411 | 1.4624
2.5852 | 21.8863 | 2.5119 | 1.1504 | 2.5852 | 0.21806 | 2.5119 | 0.0093612 | ¦ | [5 empty] | ¦ | [6 empty] | ¦ | 5.4639 | 39.8757 |  |  | ¦ | 0.0034122 | 1.4742
2.7384 | 23.1155 | 2.6607 | 1.2292 | 2.7384 | 0.20803 | 2.6607 | 0.01003 | ¦ | [12 empty] | ¦ | 5.7876 | 41.3741 |  |  | ¦ | 0.0038285 | 1.4985
2.9007 | 24.3836 | 2.8184 | 1.2681 | 2.9007 | 0.19793 | 2.8184 | 0.010103 | ¦ | [12 empty] | ¦ | 6.1306 | 42.9028 |  |  | ¦ | 0.0042957 | 1.5286
3.0726 | 25.6686 | 2.9854 | 1.2849 | 3.0726 | 0.18796 | 2.9854 | 0.0099739 | ¦ | [12 empty] | ¦ | 6.4938 | 44.4613 |  |  | ¦ | 0.0048198 | 1.5586
3.2546 | 26.9687 | 3.1623 | 1.3002 | 3.2546 | 0.17824 | 3.1623 | 0.0097224 | ¦ | [12 empty] | ¦ | 6.8786 | 46.0478 |  |  | ¦ | 0.005408 | 1.5865
3.4475 | 28.2964 | 3.3497 | 1.3277 | 3.4475 | 0.16882 | 3.3497 | 0.0094163 | ¦ | [12 empty] | ¦ | 7.2862 | 47.6631 |  |  | ¦ | 0.0060678 | 1.6154
3.6517 | 29.6659 | 3.5481 | 1.3695 | 3.6517 | 0.15972 | 3.5481 | 0.0090958 | ¦ | [12 empty] | ¦ | 7.7179 | 49.3121 |  |  | ¦ | 0.0068082 | 1.6489
3.8681 | 31.0816 | 3.7584 | 1.4157 | 3.8681 | 0.15095 | 3.7584 | 0.0087723 | ¦ | [12 empty] | ¦ | 8.1752 | 50.9977 |  |  | ¦ | 0.0076389 | 1.6857
4.0973 | 32.5339 | 3.9811 | 1.4523 | 4.0973 | 0.14251 | 3.9811 | 0.0084403 | ¦ | [12 empty] | ¦ | 8.6596 | 52.7146 |  |  | ¦ | 0.008571 | 1.7169
4.3401 | 34.0042 | 4.217 | 1.4703 | 4.3401 | 0.13442 | 4.217 | 0.0080916 | ¦ | [12 empty] | ¦ | 9.1728 | 54.4453 |  |  | ¦ | 0.0096169 | 1.7307
4.5973 | 35.4752 | 4.4668 | 1.4709 | 4.5973 | 0.12669 | 4.4668 | 0.0077258 | ¦ | [12 empty] | ¦ | 9.7163 | 56.1641 |  |  | ¦ | 0.01079 | 1.7188
4.8697 | 36.9391 | 4.7315 | 1.4639 | 4.8697 | 0.11934 | 4.7315 | 0.0073526 | ¦ | [12 empty] | ¦ | 10.292 | 57.8468 |  |  | ¦ | 0.012107 | 1.6827
5.1582 | 38.4015 | 5.0119 | 1.4624 | 5.1582 | 0.11235 | 5.0119 | 0.0069879 | ¦ | [12 empty] | ¦ | 10.9018 | 59.4811 |  |  | ¦ | 0.013584 | 1.6344
5.4639 | 39.8757 | 5.3088 | 1.4742 | 5.4639 | 0.10571 | 5.3088 | 0.0066466 | ¦ | [12 empty] | ¦ | 11.5478 | 61.072 |  |  | ¦ | 0.015242 | 1.5908
5.7876 | 41.3741 | 5.6234 | 1.4985 | 5.7876 | 0.099368 | 5.6234 | 0.0063376 | ¦ | [12 empty] | ¦ | 12.2321 | 62.6367 |  |  | ¦ | 0.017101 | 1.5648
6.1306 | 42.9028 | 5.9566 | 1.5286 | 6.1306 | 0.093306 | 5.9566 | 0.0060623 | ¦ | [12 empty] | ¦ | 12.9569 | 64.1947 |  |  | ¦ | 0.019188 | 1.558
6.4938 | 44.4613 | 6.3096 | 1.5586 | 6.4938 | 0.08749 | 6.3096 | 0.0058163 | ¦ | [12 empty] | ¦ | 13.7246 | 65.7557 |  |  | ¦ | 0.021529 | 1.561
6.8786 | 46.0478 | 6.6834 | 1.5865 | 6.8786 | 0.081898 | 6.6834 | 0.0055921 | ¦ | [12 empty] | ¦ | 14.5378 | 67.3158 |  |  | ¦ | 0.024156 | 1.56
7.2862 | 47.6631 | 7.0795 | 1.6154 | 7.2862 | 0.076516 | 7.0795 | 0.0053816 | ¦ | [12 empty] | ¦ | 15.3993 | 68.8623 |  |  | ¦ | 0.027104 | 1.5465
7.7179 | 49.3121 | 7.4989 | 1.6489 | 7.7179 | 0.07134 | 7.4989 | 0.0051761 | ¦ | [12 empty] | ¦ | 16.3117 | 70.3843 |  |  | ¦ | 0.030411 | 1.522
8.1752 | 50.9977 | 7.9433 | 1.6857 | 8.1752 | 0.066373 | 7.9433 | 0.0049667 | ¦ | [12 empty] | ¦ | 17.2783 | 71.881 |  |  | ¦ | 0.034122 | 1.4967
8.6596 | 52.7146 | 8.414 | 1.7169 | 8.6596 | 0.061628 | 8.414 | 0.004745 | ¦ | [12 empty] | ¦ | 18.3021 | 73.3635 |  |  | ¦ | 0.038285 | 1.4825
9.1728 | 54.4453 | 8.9125 | 1.7307 | 9.1728 | 0.057123 | 8.9125 | 0.0045052 | ¦ | [12 empty] | ¦ | 19.3865 | 74.8472 |  |  | ¦ | 0.042957 | 1.4837
9.7163 | 56.1641 | 9.4406 | 1.7188 | 9.7163 | 0.052876 | 9.4406 | 0.0042471 | ¦ | [12 empty] | ¦ | 20.5353 | 76.3408 |  |  | ¦ | 0.048198 | 1.4936
10.292 | 57.8468 | 10 | 1.6827 | 10.292 | 0.048899 | 10 | 0.0039765 | ¦ | [12 empty] | ¦ | 21.752 | 77.8376 |  |  | ¦ | 0.05408 | 1.4967
10.9018 | 59.4811 | 10.5925 | 1.6344 | 10.9018 | 0.045195 | 10.5925 | 0.0037043 | ¦ | [12 empty] | ¦ | 23.0409 | 79.3153 |  |  | ¦ | 0.060678 | 1.4777
11.5478 | 61.072 | 11.2202 | 1.5908 | 11.5478 | 0.041752 | 11.2202 | 0.0034427 | ¦ | [12 empty] | ¦ | 24.4062 | 80.7451 |  |  | ¦ | 0.068082 | 1.4298
12.2321 | 62.6367 | 11.885 | 1.5648 | 12.2321 | 0.038551 | 11.885 | 0.003201 | ¦ | [12 empty] | ¦ | 25.8523 | 82.103 |  |  | ¦ | 0.076389 | 1.3579
12.9569 | 64.1947 | 12.5893 | 1.558 | 12.9569 | 0.035568 | 12.5893 | 0.0029831 | ¦ | [12 empty] | ¦ | 27.3842 | 83.3781 |  |  | ¦ | 0.08571 | 1.2751
13.7246 | 65.7557 | 13.3352 | 1.561 | 13.7246 | 0.032781 | 13.3352 | 0.0027874 | ¦ | [12 empty] | ¦ | 29.0068 | 84.5738 |  |  | ¦ | 0.096169 | 1.1957
14.5378 | 67.3158 | 14.1254 | 1.56 | 14.5378 | 0.030171 | 14.1254 | 0.0026093 | ¦ | [12 empty] | ¦ | 30.7256 | 85.7028 |  |  | ¦ | 0.1079 | 1.1289
15.3993 | 68.8623 | 14.9624 | 1.5465 | 15.3993 | 0.027727 | 14.9624 | 0.0024441 | ¦ | [12 empty] | ¦ | 32.5462 | 86.7803 |  |  | ¦ | 0.12107 | 1.0776
16.3117 | 70.3843 | 15.8489 | 1.522 | 16.3117 | 0.025438 | 15.8489 | 0.0022895 | ¦ | [12 empty] | ¦ | 34.4747 | 87.8209 |  |  | ¦ | 0.13584 | 1.0406
17.2783 | 71.881 | 16.788 | 1.4967 | 17.2783 | 0.023293 | 16.788 | 0.0021451 | ¦ | [12 empty] | ¦ | 36.5174 | 88.8375 |  |  | ¦ | 0.15242 | 1.0166
18.3021 | 73.3635 | 17.7828 | 1.4825 | 18.3021 | 0.021282 | 17.7828 | 0.0020112 | ¦ | [12 empty] | ¦ | 38.6812 | 89.8423 |  |  | ¦ | 0.17101 | 1.0048
19.3865 | 74.8472 | 18.8365 | 1.4837 | 19.3865 | 0.019394 | 18.8365 | 0.0018872 | ¦ | [12 empty] | ¦ | 40.9732 | 90.8466 |  |  | ¦ | 0.19188 | 1.0043
20.5353 | 76.3408 | 19.9526 | 1.4936 | 20.5353 | 0.017624 | 19.9526 | 0.00177 | ¦ | [12 empty] | ¦ | 43.401 | 91.859 |  |  | ¦ | 0.21529 | 1.0124
21.752 | 77.8376 | 21.1349 | 1.4967 | 21.752 | 0.015969 | 21.1349 | 0.001655 | ¦ | [12 empty] | ¦ | 45.9727 | 92.8829 |  |  | ¦ | 0.24156 | 1.0239
23.0409 | 79.3153 | 22.3872 | 1.4777 | 23.0409 | 0.014432 | 22.3872 | 0.0015379 | ¦ | [12 empty] | ¦ | 48.6968 | 93.9151 |  |  | ¦ | 0.27104 | 1.0322
24.4062 | 80.7451 | 23.7137 | 1.4298 | 24.4062 | 0.013015 | 23.7137 | 0.0014166 | ¦ | [12 empty] | ¦ | 51.5822 | 94.9458 |  |  | ¦ | 0.30411 | 1.0308
25.8523 | 82.103 | 25.1189 | 1.3579 | 25.8523 | 0.011723 | 25.1189 | 0.0012921 | ¦ | [12 empty] | ¦ | 54.6387 | 95.9607 |  |  | ¦ | 0.34122 | 1.0148
27.3842 | 83.3781 | 26.6073 | 1.2751 | 27.3842 | 0.010555 | 26.6073 | 0.0011679 | ¦ | [12 empty] | ¦ | 57.8762 | 96.9416 |  |  | ¦ | 0.38285 | 0.98089
29.0068 | 84.5738 | 28.1838 | 1.1957 | 29.0068 | 0.0095055 | 28.1838 | 0.0010494 | ¦ | [12 empty] | ¦ | 61.3056 | 97.8685 |  |  | ¦ | 0.42957 | 0.92691
30.7256 | 85.7028 | 29.8538 | 1.1289 | 30.7256 | 0.0085642 | 29.8538 | 0.00094137 | ¦ | [12 empty] | ¦ | 64.9382 | 98.7211 |  |  | ¦ | 0.48198 | 0.85259
32.5462 | 86.7803 | 31.6228 | 1.0776 | 32.5462 | 0.0077169 | 31.6228 | 0.00084726 | ¦ | [12 empty] | ¦ | 68.786 | 99.4813 |  |  | ¦ | 0.5408 | 0.76021
34.4747 | 87.8209 | 33.4965 | 1.0406 | 34.4747 | 0.0069486 | 33.4965 | 0.00076829 | ¦ | [12 empty] | ¦ | 72.8618 | 100.1366 |  |  | ¦ | 0.60678 | 0.65531
36.5174 | 88.8375 | 35.4813 | 1.0166 | 36.5174 | 0.0062449 | 35.4813 | 0.00070373 | ¦ | [12 empty] | ¦ | 77.1792 | 100.683 |  |  | ¦ | 0.68082 | 0.54646
38.6812 | 89.8423 | 37.5837 | 1.0048 | 38.6812 | 0.0055934 | 37.5837 | 0.00065152 | ¦ | [12 empty] | ¦ | 81.7523 | 101.1261 |  |  | ¦ | 0.76389 | 0.44307
40.9732 | 90.8466 | 39.8107 | 1.0043 | 40.9732 | 0.0049844 | 39.8107 | 0.00060894 | ¦ | [12 empty] | ¦ | 86.5964 | 101.4783 |  |  | ¦ | 0.8571 | 0.35222
43.401 | 91.859 | 42.1697 | 1.0124 | 43.401 | 0.0044113 | 42.1697 | 0.0005731 | ¦ | [12 empty] | ¦ | 91.7276 | 101.7551 |  |  | ¦ | 0.96169 | 0.27672
45.9727 | 92.8829 | 44.6684 | 1.0239 | 45.9727 | 0.0038702 | 44.6684 | 0.00054116 | ¦ | [12 empty] | ¦ | 97.1628 | 101.9708 |  |  | ¦ | 1.079 | 0.21574
48.6968 | 93.9151 | 47.3151 | 1.0322 | 48.6968 | 0.0033596 | 47.3151 | 0.00051055 | ¦ | [12 empty] | ¦ | 102.9201 | 102.1375 |  |  | ¦ | 1.2107 | 0.16674
51.5822 | 94.9458 | 50.1187 | 1.0308 | 51.5822 | 0.0028805 | 50.1187 | 0.00047907 | ¦ | [12 empty] | ¦ | 109.0184 | 102.2649 |  |  | ¦ | 1.3584 | 0.12732
54.6387 | 95.9607 | 53.0884 | 1.0148 | 54.6387 | 0.0024355 | 53.0884 | 0.00044506 | ¦ | [12 empty] | ¦ | 115.4782 | 102.3611 |  |  | ¦ | 1.5242 | 0.096246
57.8762 | 96.9416 | 56.2341 | 0.98089 | 57.8762 | 0.0020279 | 56.2341 | 0.00040761 | ¦ | [12 empty] | ¦ | 122.3207 | 102.4345 |  |  | ¦ | 1.7101 | 0.073394
61.3056 | 97.8685 | 59.5662 | 0.92691 | 61.3056 | 0.0016612 | 59.5662 | 0.00036664 | ¦ | [12 empty] | ¦ | 129.5687 | 102.4928 |  |  | ¦ | 1.9188 | 0.058336
64.9382 | 98.7211 | 63.0957 | 0.85259 | 64.9382 | 0.0013383 | 63.0957 | 0.00032288 | ¦ | [12 empty] | ¦ | 137.2461 | 102.5427 |  |  | ¦ | 2.1529 | 0.049872
68.786 | 99.4813 | 66.8344 | 0.76021 | 68.786 | 0.0010606 | 66.8344 | 0.00027773 | ¦ | [12 empty] | ¦ | 145.3784 | 102.5888 |  |  | ¦ | 2.4156 | 0.046104
72.8618 | 100.1366 | 70.7946 | 0.65531 | 72.8618 | 0.00082763 | 70.7946 | 0.00023299 | ¦ | [12 empty] | ¦ | 153.9927 | 102.6339 |  |  | ¦ | 2.7104 | 0.045076
77.1792 | 100.683 | 74.9894 | 0.54646 | 77.1792 | 0.0006371 | 74.9894 | 0.00019054 | ¦ | [12 empty] | ¦ | 163.1173 | 102.6791 |  |  | ¦ | 3.0411 | 0.045249
81.7523 | 101.1261 | 79.4328 | 0.44307 | 81.7523 | 0.00048513 | 79.4328 | 0.00015197 | ¦ | [12 empty] | ¦ | 172.7826 | 102.7248 |  |  | ¦ | 3.4122 | 0.045701
86.5964 | 101.4783 | 84.1395 | 0.35222 | 86.5964 | 0.00036673 | 84.1395 | 0.0001184 | ¦ | [12 empty] | ¦ | 183.0206 | 102.7709 |  |  | ¦ | 3.8285 | 0.046038
91.7276 | 101.7551 | 89.1251 | 0.27672 | 91.7276 | 0.00027638 | 89.1251 | 9.0347e-05 | ¦ | [12 empty] | ¦ | 193.8653 | 102.8171 |  |  | ¦ | 4.2957 | 0.046183
97.1628 | 101.9708 | 94.4061 | 0.21574 | 97.1628 | 0.00020862 | 94.4061 | 6.7755e-05 | ¦ | [12 empty] | ¦ | 205.3525 | 102.8533 |  |  | ¦ | 4.8198 | 0.036265
102.9201 | 102.1375 | 100 | 0.16674 | 102.9201 | 0.00015848 | 100 | 5.0139e-05 | ¦ | [12 empty] | ¦ |  |  |  |  | ¦ | 5.408 | 0
109.0184 | 102.2649 | 105.9254 | 0.12732 | 109.0184 | 0.00012171 | 105.9254 | 3.6778e-05 | ¦ | [17 empty] | ¦
115.4782 | 102.3611 | 112.2018 | 0.096246 | 115.4782 | 9.4816e-05 | 112.2018 | 2.689e-05 | ¦
122.3207 | 102.4345 | 118.8502 | 0.073394 | 122.3207 | 7.5063e-05 | 118.8502 | 1.9754e-05 | ¦
129.5687 | 102.4928 | 125.8925 | 0.058336 | 129.5687 | 6.0304e-05 | 125.8925 | 1.4758e-05 | ¦
137.2461 | 102.5427 | 133.3521 | 0.049872 | 137.2461 | 4.8914e-05 | 133.3521 | 1.139e-05 | ¦
145.3784 | 102.5888 | 141.2538 | 0.046104 | 145.3784 | 3.9697e-05 | 141.2538 | 9.2166e-06 | ¦
153.9927 | 102.6339 | 149.6236 | 0.045076 | 153.9927 | 3.1829e-05 | 149.6236 | 7.868e-06 | ¦
163.1173 | 102.6791 | 158.4893 | 0.045249 | 163.1173 | 2.4788e-05 | 158.4893 | 7.041e-06 | ¦
172.7826 | 102.7248 | 167.8804 | 0.045701 | 172.7826 | 1.8375e-05 | 167.8804 | 6.4139e-06 | ¦
183.0206 | 102.7709 | 177.8279 | 0.046038 | 183.0206 | 1.2823e-05 | 177.8279 | 5.5519e-06 | ¦
193.8653 | 102.8171 | 188.3649 | 0.046183 | 193.8653 | 8.2899e-06 | 188.3649 | 4.5328e-06 | ¦
205.3525 | 102.8533 | 199.5262 | 0.036265 | 205.3525 | 4.8385e-06 | 199.5262 | 3.4514e-06 | ¦
|  | 211.3489 | 0 |  |  | 211.3489 | 2.4036e-06 | ¦
¦