## 001-010
Micromeritics Instrument Corporation | [7 empty] | ¦ | Micromeritics Instrument Corporation |  |  |  |  | ¦ | Micromeritics Instrument Corporation | [5 empty] | ¦ | Micromeritics Instrument Corporation |  |  |  | ¦ | Micromeritics Instrument Corporation
SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 |  |  |  |  | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 |  | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 |  |  | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Sample: | AP_H3_dt1.0 | [6 empty] | ¦ | Sample: | AP_H3_dt1.0 |  |  |  | ¦ | Sample: | AP_H3_dt1.0 |  |  |  |  | ¦ | Sample: | AP_H3_dt1.0 |  |  | ¦ | Sample: | AP_H3_dt1.0
Operator: | Jia Jia ter Kuile | [6 empty] | ¦ | Operator: | Jia Jia ter Kuile |  |  |  | ¦ | Operator: | Jia Jia ter Kuile |  |  |  |  | ¦ | Operator: | Jia Jia ter Kuile |  |  | ¦ | Operator: | Jia Jia ter Kuile
Submitter: | [7 empty] | ¦ | Submitter: |  |  |  |  | ¦ | Submitter: | [5 empty] | ¦ | Submitter: |  |  |  | ¦ | Submitter:
File: | C:\...\JIAJIA~1\001-010.SMP | [6 empty] | ¦ | File: | C:\...\JIAJIA~1\001-010.SMP |  |  |  | ¦ | File: | C:\...\JIAJIA~1\001-010.SMP |  |  |  |  | ¦ | File: | C:\...\JIAJIA~1\001-010.SMP |  |  | ¦ | File: | C:\...\JIAJIA~1\001-010.SMP
Material/Liquid: | soil / Water | [6 empty] | ¦ | Material/Liquid: | soil / Water |  |  |  | ¦ | Material/Liquid: | soil / Water |  |  |  |  | ¦ | Material/Liquid: | soil / Water |  |  | ¦ | Material/Liquid: | soil / Water
Measurement Principle: | X-Ray monitored gravity sedimentation | [6 empty] | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation |  |  |  | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation |  |  |  |  | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation |  |  | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation
Calculation Method: | Stokes sedimentation and Beer's law of extinction | [6 empty] | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction |  |  |  | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction |  |  |  |  | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction |  |  | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Test Number: | 1 | Analysis Type: | High Resolution |  |  |  |  | ¦ | Test Number: | 1 | Analysis Type: | High Resolution |  | ¦ | Test Number: | 1 | Analysis Type: | High Resolution |  |  | ¦ | Test Number: | 1 | Analysis Type: | High Resolution | ¦ | Test Number: | 1 | Analysis Type: | High Resolution
Analyzed: | 2/7/2024 5:20:01PM | Run Time: | 0:03 hrs:min |  |  |  |  | ¦ | Analyzed: | 2/7/2024 5:20:01PM | Run Time: | 0:03 hrs:min |  | ¦ | Analyzed: | 2/7/2024 5:20:01PM | Run Time: | 0:03 hrs:min |  |  | ¦ | Analyzed: | 2/7/2024 5:20:01PM | Run Time: | 0:03 hrs:min | ¦ | Analyzed: | 2/7/2024 5:20:01PM | Run Time: | 0:03 hrs:min
Reported: | 2/7/2024 5:26:57PM | Sample Density: | 2.600 g/cm³ |  |  |  |  | ¦ | Reported: | 2/7/2024 5:26:57PM | Sample Density: | 2.600 g/cm³ |  | ¦ | Reported: | 2/7/2024 5:26:57PM | Sample Density: | 2.600 g/cm³ |  |  | ¦ | Reported: | 2/7/2024 5:26:57PM | Sample Density: | 2.600 g/cm³ | ¦ | Reported: | 2/7/2024 5:26:57PM | Sample Density: | 2.600 g/cm³
Liquid Visc: | 0.7222 mPa·s | Liquid Density: | 0.9941 g/cm³ |  |  |  |  | ¦ | Liquid Visc: | 0.7222 mPa·s | Liquid Density: | 0.9941 g/cm³ |  | ¦ | Liquid Visc: | 0.7222 mPa·s | Liquid Density: | 0.9941 g/cm³ |  |  | ¦ | Liquid Visc: | 0.7222 mPa·s | Liquid Density: | 0.9941 g/cm³ | ¦ | Liquid Visc: | 0.7222 mPa·s | Liquid Density: | 0.9941 g/cm³
Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 72 kCnts/s |  |  |  |  | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 72 kCnts/s |  | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 72 kCnts/s |  |  | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 72 kCnts/s | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 72 kCnts/s
Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 |  |  |  |  | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 |  | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 |  |  | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound | [7 empty] | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound |  |  |  |  | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound | [5 empty] | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound |  |  |  | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Combined Report | [7 empty] | ¦ | Report by Sieve Size |  |  |  |  | ¦ | Report by Size Table | [5 empty] | ¦ | Cumulative Finer Mass Percent vs. Diameter |  |  |  | ¦ | Mass Frequency vs. Settling Velocity
Report by Size Table | [7 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | Sieve Name | Aperture Size (µm) | Cumulative Mass Passed (Percent) | Mass Frequency (Percent) | Cum. Mass Standard Deviation (1 tests) | ¦ | High Diameter (µm) | Low Diameter (µm) | Average Diameter (µm) | Cumulative Mass Finer (Percent) | Mass Frequency (Percent) | Cum. Mass Standard Deviation (1 tests) | ¦ |  |  |  |  | ¦
High Diameter (µm) | Low Diameter (µm) | Average Diameter (µm) | Cumulative Mass Finer (Percent) | Mass Frequency (Percent) | Cum. Mass Standard Deviation (1 tests) | Particle Size (Phi) | Settling Velocity (cm/s) | ¦ | No. 50 | 300 | 101.6 | 0.0 | 0.0 | ¦ | 250.0 | 200.0 | 223.6 | 101.6 | 0.0 | 0.0 | ¦ | Test 1 |  |  |  | ¦ | Test 1
250.0 | 125.0 | 176.8 | 101.5 | 0.1 | 0.0 | 3.000 | 1.89166 | ¦ | No. 120 | 125 | 101.5 | 0.1 | 0.0 | ¦ | 200.0 | 150.0 | 173.2 | 101.6 | 0.0 | 0.0 | ¦ | Particle Diameter (µm) | Cumulative Finer Mass Percent |  |  | ¦ | Settling Velocity (cm/s) | Mass Frequency Percent
125.0 | 63.00 | 88.74 | 97.7 | 3.8 | 0.0 | 3.989 | 0.48051 | ¦ | No. 270 | 53 | 95.3 | 6.2 | 0.0 | ¦ | 150.0 | 100.0 | 122.5 | 101.2 | 0.4 | 0.0 | ¦ | 2.0535 | 20.0945 |  |  | ¦ | 0.00048197 | 0
63.00 | 32.00 | 44.90 | 87.0 | 10.7 | 0.0 | 4.966 | 0.12397 | ¦ | No. 635 | 20 | 77.7 | 17.6 | 0.0 | ¦ | 100.0 | 80.00 | 89.44 | 100.1 | 1.1 | 0.0 | ¦ | 2.1752 | 20.9215 |  |  | ¦ | 0.00054078 | 0.82699
32.00 | 16.00 | 22.63 | 72.7 | 14.3 | 0.0 | 5.966 | 0.03099 | ¦ | [5 empty] | ¦ | 80.00 | 60.00 | 69.28 | 97.1 | 3.0 | 0.0 | ¦ | 2.3041 | 21.8518 |  |  | ¦ | 0.00060677 | 0.93027
16.00 | 8.000 | 11.31 | 53.4 | 19.2 | 0.0 | 6.966 | 0.00775 | ¦ | [5 empty] | ¦ | 60.00 | 50.00 | 54.77 | 94.4 | 2.6 | 0.0 | ¦ | 2.4406 | 22.8982 |  |  | ¦ | 0.0006808 | 1.0464
8.000 | 4.000 | 5.657 | 34.3 | 19.1 | 0.0 | 7.966 | 0.00194 | ¦ | [5 empty] | ¦ | 50.00 | 40.00 | 44.72 | 91.0 | 3.4 | 0.0 | ¦ | 2.5852 | 24.054 |  |  | ¦ | 0.00076387 | 1.1558
4.000 | 2.000 | 2.828 | 20.1 | 14.3 | 0.0 | 8.966 | 0.00048 | ¦ | [5 empty] | ¦ | 40.00 | 30.00 | 34.64 | 85.7 | 5.3 | 0.0 | ¦ | 2.7384 | 25.2953 |  |  | ¦ | 0.00085708 | 1.2413
[8 empty] | ¦ | [5 empty] | ¦ | 30.00 | 25.00 | 27.39 | 82.0 | 3.6 | 0.0 | ¦ | 2.9007 | 26.5907 |  |  | ¦ | 0.00096166 | 1.2954
[8 empty] | ¦ | [5 empty] | ¦ | 25.00 | 20.00 | 22.36 | 77.7 | 4.4 | 0.0 | ¦ | 3.0726 | 27.9149 |  |  | ¦ | 0.001079 | 1.3241
Cumulative Finer Mass Percent vs. Diameter | [7 empty] | ¦ | [5 empty] | ¦ | 20.00 | 15.00 | 17.32 | 71.0 | 6.7 | 0.0 | ¦ | 3.2546 | 29.2572 |  |  | ¦ | 0.0012107 | 1.3423
[8 empty] | ¦ | [5 empty] | ¦ | 15.00 | 10.00 | 12.25 | 60.0 | 11.0 | 0.0 | ¦ | 3.4475 | 30.6229 |  |  | ¦ | 0.0013584 | 1.3657
[8 empty] | ¦ | [5 empty] | ¦ | 10.00 | 8.000 | 8.944 | 53.4 | 6.5 | 0.0 | ¦ | 3.6517 | 32.0259 |  |  | ¦ | 0.0015241 | 1.403
Cumulative Finer Mass Percent |  | Mass Frequency Percent |  | Cumulative Surface Area Coarser |  | Surface Area Population |  | ¦ | [5 empty] | ¦ | 8.000 | 6.000 | 6.928 | 45.2 | 8.2 | 0.0 | ¦ | 3.8681 | 33.4777 |  |  | ¦ | 0.0017101 | 1.4519
Particle Diameter (µm) | Cumulative Finer Mass Percent | Particle Diameter (µm) | Mass Frequency Percent | Particle Diameter (µm) | Cumulative Surface Area Coarser (m²/g) | Particle Diameter (µm) | Surface Area Population (m²/g) | ¦ | [5 empty] | ¦ | 6.000 | 5.000 | 5.477 | 40.3 | 4.9 | 0.0 | ¦ | 4.0973 | 34.9784 |  |  | ¦ | 0.0019188 | 1.5007
2.0535 | 20.0945 | 1.9953 | 0 | 2.0535 | 0.24992 | 1.9953 | 0.003599 | ¦ | [5 empty] | ¦ | 5.000 | 4.000 | 4.472 | 34.3 | 6.0 | 0.0 | ¦ | 4.3401 | 36.5143 |  |  | ¦ | 0.0021529 | 1.5359
2.1752 | 20.9215 | 2.1135 | 0.82699 | 2.1752 | 0.24457 | 2.1135 | 0.0053549 | ¦ | [5 empty] | ¦ | 4.000 | 3.000 | 3.464 | 27.4 | 7.0 | 0.0 | ¦ | 4.5973 | 38.0652 |  |  | ¦ | 0.0024156 | 1.5509
2.3041 | 21.8518 | 2.2387 | 0.93027 | 2.3041 | 0.23749 | 2.2387 | 0.0070809 | ¦ | [5 empty] | ¦ | 3.000 | 2.000 | 2.449 | 20.1 | 7.3 | 0.0 | ¦ | 4.8697 | 39.6138 |  |  | ¦ | 0.0027103 | 1.5486
2.4406 | 22.8982 | 2.3714 | 1.0464 | 2.4406 | 0.22889 | 2.3714 | 0.0085939 | ¦ | [5 empty] | ¦ | [6 empty] | ¦ | 5.1582 | 41.1538 |  |  | ¦ | 0.003041 | 1.54
2.5852 | 24.054 | 2.5119 | 1.1558 | 2.5852 | 0.21917 | 2.5119 | 0.0097263 | ¦ | [5 empty] | ¦ | [6 empty] | ¦ | 5.4639 | 42.6916 |  |  | ¦ | 0.0034121 | 1.5378
2.7384 | 25.2953 | 2.6607 | 1.2413 | 2.7384 | 0.20883 | 2.6607 | 0.010341 | ¦ | [12 empty] | ¦ | 5.7876 | 44.2408 |  |  | ¦ | 0.0038284 | 1.5492
2.9007 | 26.5907 | 2.8184 | 1.2954 | 2.9007 | 0.19849 | 2.8184 | 0.010336 | ¦ | [12 empty] | ¦ | 6.1306 | 45.8146 |  |  | ¦ | 0.0042956 | 1.5738
3.0726 | 27.9149 | 2.9854 | 1.3241 | 3.0726 | 0.18829 | 2.9854 | 0.010196 | ¦ | [12 empty] | ¦ | 6.4938 | 47.4196 |  |  | ¦ | 0.0048197 | 1.6051
3.2546 | 29.2572 | 3.1623 | 1.3423 | 3.2546 | 0.17834 | 3.1623 | 0.0099585 | ¦ | [12 empty] | ¦ | 6.8786 | 49.0544 |  |  | ¦ | 0.0054078 | 1.6347
3.4475 | 30.6229 | 3.3497 | 1.3657 | 3.4475 | 0.16867 | 3.3497 | 0.0096695 | ¦ | [12 empty] | ¦ | 7.2862 | 50.7123 |  |  | ¦ | 0.0060677 | 1.6579
3.6517 | 32.0259 | 3.5481 | 1.403 | 3.6517 | 0.1593 | 3.5481 | 0.009364 | ¦ | [12 empty] | ¦ | 7.7179 | 52.3865 |  |  | ¦ | 0.006808 | 1.6742
3.8681 | 33.4777 | 3.7584 | 1.4519 | 3.8681 | 0.15025 | 3.7584 | 0.0090572 | ¦ | [12 empty] | ¦ | 8.1752 | 54.0716 |  |  | ¦ | 0.0076387 | 1.6852
4.0973 | 34.9784 | 3.9811 | 1.5007 | 4.0973 | 0.1415 | 3.9811 | 0.0087456 | ¦ | [12 empty] | ¦ | 8.6596 | 55.7632 |  |  | ¦ | 0.0085708 | 1.6916
4.3401 | 36.5143 | 4.217 | 1.5359 | 4.3401 | 0.13308 | 4.217 | 0.0084177 | ¦ | [12 empty] | ¦ | 9.1728 | 57.4545 |  |  | ¦ | 0.0096166 | 1.6913
4.5973 | 38.0652 | 4.4668 | 1.5509 | 4.5973 | 0.12502 | 4.4668 | 0.0080659 | ¦ | [12 empty] | ¦ | 9.7163 | 59.1348 |  |  | ¦ | 0.01079 | 1.6803
4.8697 | 39.6138 | 4.7315 | 1.5486 | 4.8697 | 0.11732 | 4.7315 | 0.0076928 | ¦ | [12 empty] | ¦ | 10.292 | 60.7905 |  |  | ¦ | 0.012107 | 1.6557
5.1582 | 41.1538 | 5.0119 | 1.54 | 5.1582 | 0.11001 | 5.0119 | 0.0073119 | ¦ | [12 empty] | ¦ | 10.9018 | 62.411 |  |  | ¦ | 0.013584 | 1.6205
5.4639 | 42.6916 | 5.3088 | 1.5378 | 5.4639 | 0.10307 | 5.3088 | 0.0069415 | ¦ | [12 empty] | ¦ | 11.5478 | 63.9945 |  |  | ¦ | 0.015241 | 1.5835
5.7876 | 44.2408 | 5.6234 | 1.5492 | 5.7876 | 0.096473 | 5.6234 | 0.0065966 | ¦ | [12 empty] | ¦ | 12.2321 | 65.5507 |  |  | ¦ | 0.017101 | 1.5562
6.1306 | 45.8146 | 5.9566 | 1.5738 | 6.1306 | 0.090189 | 5.9566 | 0.0062843 | ¦ | [12 empty] | ¦ | 12.9569 | 67.0954 |  |  | ¦ | 0.019188 | 1.5447
6.4938 | 47.4196 | 6.3096 | 1.6051 | 6.4938 | 0.084187 | 6.3096 | 0.0060021 | ¦ | [12 empty] | ¦ | 13.7246 | 68.6396 |  |  | ¦ | 0.021529 | 1.5442
6.8786 | 49.0544 | 6.6834 | 1.6347 | 6.8786 | 0.078445 | 6.6834 | 0.0057415 | ¦ | [12 empty] | ¦ | 14.5378 | 70.1797 |  |  | ¦ | 0.024156 | 1.5401
7.2862 | 50.7123 | 7.0795 | 1.6579 | 7.2862 | 0.072954 | 7.0795 | 0.0054917 | ¦ | [12 empty] | ¦ | 15.3993 | 71.6956 |  |  | ¦ | 0.027103 | 1.5159
7.7179 | 52.3865 | 7.4989 | 1.6742 | 7.7179 | 0.06771 | 7.4989 | 0.0052437 | ¦ | [12 empty] | ¦ | 16.3117 | 73.1581 |  |  | ¦ | 0.03041 | 1.4625
8.1752 | 54.0716 | 7.9433 | 1.6852 | 8.1752 | 0.062718 | 7.9433 | 0.0049915 | ¦ | [12 empty] | ¦ | 17.2783 | 74.5415 |  |  | ¦ | 0.034121 | 1.3834
8.6596 | 55.7632 | 8.414 | 1.6916 | 8.6596 | 0.057986 | 8.414 | 0.0047322 | ¦ | [12 empty] | ¦ | 18.3021 | 75.8352 |  |  | ¦ | 0.038284 | 1.2937
9.1728 | 57.4545 | 8.9125 | 1.6913 | 9.1728 | 0.053521 | 8.9125 | 0.0044655 | ¦ | [12 empty] | ¦ | 19.3865 | 77.0481 |  |  | ¦ | 0.042956 | 1.2129
9.7163 | 59.1348 | 9.4406 | 1.6803 | 9.7163 | 0.049327 | 9.4406 | 0.0041935 | ¦ | [12 empty] | ¦ | 20.5353 | 78.2037 |  |  | ¦ | 0.048197 | 1.1556
10.292 | 60.7905 | 10 | 1.6557 | 10.292 | 0.045406 | 10 | 0.0039211 | ¦ | [12 empty] | ¦ | 21.752 | 79.3298 |  |  | ¦ | 0.054078 | 1.1261
10.9018 | 62.411 | 10.5925 | 1.6205 | 10.9018 | 0.041751 | 10.5925 | 0.0036553 | ¦ | [12 empty] | ¦ | 23.0409 | 80.4489 |  |  | ¦ | 0.060677 | 1.1191
11.5478 | 63.9945 | 11.2202 | 1.5835 | 11.5478 | 0.038347 | 11.2202 | 0.0034032 | ¦ | [12 empty] | ¦ | 24.4062 | 81.5743 |  |  | ¦ | 0.06808 | 1.1254
12.2321 | 65.5507 | 11.885 | 1.5562 | 12.2321 | 0.035178 | 11.885 | 0.0031696 | ¦ | [12 empty] | ¦ | 25.8523 | 82.7112 |  |  | ¦ | 0.076387 | 1.1369
12.9569 | 67.0954 | 12.5893 | 1.5447 | 12.9569 | 0.032223 | 12.5893 | 0.0029547 | ¦ | [12 empty] | ¦ | 27.3842 | 83.8599 |  |  | ¦ | 0.085708 | 1.1486
13.7246 | 68.6396 | 13.3352 | 1.5442 | 13.7246 | 0.029469 | 13.3352 | 0.0027542 | ¦ | [12 empty] | ¦ | 29.0068 | 85.0164 |  |  | ¦ | 0.096166 | 1.1565
14.5378 | 70.1797 | 14.1254 | 1.5401 | 14.5378 | 0.026908 | 14.1254 | 0.002561 | ¦ | [12 empty] | ¦ | 30.7256 | 86.1718 |  |  | ¦ | 0.1079 | 1.1554
15.3993 | 71.6956 | 14.9624 | 1.5159 | 15.3993 | 0.02454 | 14.9624 | 0.0023682 | ¦ | [12 empty] | ¦ | 32.5462 | 87.3103 |  |  | ¦ | 0.12107 | 1.1385
16.3117 | 73.1581 | 15.8489 | 1.4625 | 16.3117 | 0.022367 | 15.8489 | 0.0021727 | ¦ | [12 empty] | ¦ | 34.4747 | 88.4122 |  |  | ¦ | 0.13584 | 1.1019
17.2783 | 74.5415 | 16.788 | 1.3834 | 17.2783 | 0.020391 | 16.788 | 0.0019763 | ¦ | [12 empty] | ¦ | 36.5174 | 89.4604 |  |  | ¦ | 0.15241 | 1.0482
18.3021 | 75.8352 | 17.7828 | 1.2937 | 18.3021 | 0.018605 | 17.7828 | 0.0017856 | ¦ | [12 empty] | ¦ | 38.6812 | 90.4478 |  |  | ¦ | 0.17101 | 0.98741
19.3865 | 77.0481 | 18.8365 | 1.2129 | 19.3865 | 0.016996 | 18.8365 | 0.0016093 | ¦ | [12 empty] | ¦ | 40.9732 | 91.3812 |  |  | ¦ | 0.19188 | 0.93342
20.5353 | 78.2037 | 19.9526 | 1.1556 | 20.5353 | 0.015541 | 19.9526 | 0.0014549 | ¦ | [12 empty] | ¦ | 43.401 | 92.278 |  |  | ¦ | 0.21529 | 0.8968
21.752 | 79.3298 | 21.1349 | 1.1261 | 21.752 | 0.014215 | 21.1349 | 0.0013264 | ¦ | [12 empty] | ¦ | 45.9727 | 93.1575 |  |  | ¦ | 0.24156 | 0.87957
23.0409 | 80.4489 | 22.3872 | 1.1191 | 23.0409 | 0.012991 | 22.3872 | 0.0012236 | ¦ | [12 empty] | ¦ | 48.6968 | 94.0319 |  |  | ¦ | 0.27103 | 0.87438
24.4062 | 81.5743 | 23.7137 | 1.1254 | 24.4062 | 0.011849 | 23.7137 | 0.0011421 | ¦ | [12 empty] | ¦ | 51.5822 | 94.901 |  |  | ¦ | 0.3041 | 0.86907
25.8523 | 82.7112 | 25.1189 | 1.1369 | 25.8523 | 0.010773 | 25.1189 | 0.0010756 | ¦ | [12 empty] | ¦ | 54.6387 | 95.7538 |  |  | ¦ | 0.34121 | 0.85283
27.3842 | 83.8599 | 26.6073 | 1.1486 | 27.3842 | 0.0097561 | 26.6073 | 0.0010172 | ¦ | [12 empty] | ¦ | 57.8762 | 96.5745 |  |  | ¦ | 0.38284 | 0.82072
29.0068 | 85.0164 | 28.1838 | 1.1565 | 29.0068 | 0.0087952 | 28.1838 | 0.00096088 | ¦ | [12 empty] | ¦ | 61.3056 | 97.3487 |  |  | ¦ | 0.42956 | 0.77414
30.7256 | 86.1718 | 29.8538 | 1.1554 | 30.7256 | 0.0078926 | 29.8538 | 0.00090257 | ¦ | [12 empty] | ¦ | 64.9382 | 98.0666 |  |  | ¦ | 0.48197 | 0.71787
32.5462 | 87.3103 | 31.6228 | 1.1385 | 32.5462 | 0.0070522 | 31.6228 | 0.00084044 | ¦ | [12 empty] | ¦ | 68.786 | 98.7226 |  |  | ¦ | 0.54078 | 0.65606
34.4747 | 88.4122 | 33.4965 | 1.1019 | 34.4747 | 0.0062773 | 33.4965 | 0.00077489 | ¦ | [12 empty] | ¦ | 72.8618 | 99.3122 |  |  | ¦ | 0.60677 | 0.58953
36.5174 | 89.4604 | 35.4813 | 1.0482 | 36.5174 | 0.0055692 | 35.4813 | 0.00070809 | ¦ | [12 empty] | ¦ | 77.1792 | 99.8293 |  |  | ¦ | 0.6808 | 0.51712
38.6812 | 90.4478 | 37.5837 | 0.98741 | 38.6812 | 0.0049261 | 37.5837 | 0.00064311 | ¦ | [12 empty] | ¦ | 81.7523 | 100.2674 |  |  | ¦ | 0.76387 | 0.43815
40.9732 | 91.3812 | 39.8107 | 0.93342 | 40.9732 | 0.0043431 | 39.8107 | 0.00058302 | ¦ | [12 empty] | ¦ | 86.5964 | 100.6225 |  |  | ¦ | 0.85708 | 0.35503
43.401 | 92.278 | 42.1697 | 0.8968 | 43.401 | 0.0038132 | 42.1697 | 0.00052986 | ¦ | [12 empty] | ¦ | 91.7276 | 100.8961 |  |  | ¦ | 0.96166 | 0.27367
45.9727 | 93.1575 | 44.6684 | 0.87957 | 45.9727 | 0.0033291 | 44.6684 | 0.00048415 | ¦ | [12 empty] | ¦ | 97.1628 | 101.0972 |  |  | ¦ | 1.079 | 0.20107
48.6968 | 94.0319 | 47.3151 | 0.87438 | 48.6968 | 0.0028842 | 47.3151 | 0.00044482 | ¦ | [12 empty] | ¦ | 102.9201 | 101.2399 |  |  | ¦ | 1.2107 | 0.1427
51.5822 | 94.901 | 50.1187 | 0.86907 | 51.5822 | 0.0024745 | 50.1187 | 0.00040975 | ¦ | [12 empty] | ¦ | 109.0184 | 101.3402 |  |  | ¦ | 1.3584 | 0.1003
54.6387 | 95.7538 | 53.0884 | 0.85283 | 54.6387 | 0.0020979 | 53.0884 | 0.00037662 | ¦ | [12 empty] | ¦ | 115.4782 | 101.412 |  |  | ¦ | 1.5241 | 0.071779
57.8762 | 96.5745 | 56.2341 | 0.82072 | 57.8762 | 0.0017543 | 56.2341 | 0.0003436 | ¦ | [12 empty] | ¦ | 122.3207 | 101.465 |  |  | ¦ | 1.7101 | 0.05303
61.3056 | 97.3487 | 59.5662 | 0.77414 | 61.3056 | 0.0014445 | 59.5662 | 0.00030979 | ¦ | [12 empty] | ¦ | 129.5687 | 101.5048 |  |  | ¦ | 1.9188 | 0.039828
64.9382 | 98.0666 | 63.0957 | 0.71787 | 64.9382 | 0.0011694 | 63.0957 | 0.00027512 | ¦ | [12 empty] | ¦ | 137.2461 | 101.5343 |  |  | ¦ | 2.1529 | 0.029469
68.786 | 98.7226 | 66.8344 | 0.65606 | 68.786 | 0.00092925 | 66.8344 | 0.00024012 | ¦ | [12 empty] | ¦ | 145.3784 | 101.5552 |  |  | ¦ | 2.4156 | 0.020872
72.8618 | 99.3122 | 70.7946 | 0.58953 | 72.8618 | 0.00072371 | 70.7946 | 0.00020554 | ¦ | [12 empty] | ¦ | 153.9927 | 101.5691 |  |  | ¦ | 2.7103 | 0.013944
77.1792 | 99.8293 | 74.9894 | 0.51712 | 77.1792 | 0.00055154 | 74.9894 | 0.00017217 | ¦ | [12 empty] | ¦ | 163.1173 | 101.578 |  |  | ¦ | 3.041 | 0.0088452
81.7523 | 100.2674 | 79.4328 | 0.43815 | 81.7523 | 0.00041082 | 79.4328 | 0.00014072 | ¦ | [12 empty] | ¦ | 172.7826 | 101.5835 |  |  | ¦ | 3.4121 | 0.0055146
86.5964 | 100.6225 | 84.1395 | 0.35503 | 86.5964 | 0.00029895 | 84.1395 | 0.00011187 | ¦ | [12 empty] | ¦ | 183.0206 | 101.5871 |  |  | ¦ | 3.8284 | 0.0036668
91.7276 | 100.8961 | 89.1251 | 0.27367 | 91.7276 | 0.00021271 | 89.1251 | 8.6245e-05 | ¦ | [12 empty] | ¦ | 193.8653 | 101.59 |  |  | ¦ | 4.2956 | 0.0028383
97.1628 | 101.0972 | 94.4061 | 0.20107 | 97.1628 | 0.00014834 | 94.4061 | 6.437e-05 | ¦ | [12 empty] | ¦ | 205.3525 | 101.592 |  |  | ¦ | 4.8197 | 0.002024
102.9201 | 101.2399 | 100 | 0.1427 | 102.9201 | 0.0001018 | 100 | 4.6535e-05 | ¦ | [12 empty] | ¦ |  |  |  |  | ¦ | 5.4078 | 0
109.0184 | 101.3402 | 105.9254 | 0.1003 | 109.0184 | 6.9093e-05 | 105.9254 | 3.2707e-05 | ¦ | [17 empty] | ¦
115.4782 | 101.412 | 112.2018 | 0.071779 | 115.4782 | 4.658e-05 | 112.2018 | 2.2513e-05 | ¦
122.3207 | 101.465 | 118.8502 | 0.05303 | 122.3207 | 3.1252e-05 | 118.8502 | 1.5329e-05 | ¦
129.5687 | 101.5048 | 125.8925 | 0.039828 | 129.5687 | 2.0829e-05 | 125.8925 | 1.0422e-05 | ¦
137.2461 | 101.5343 | 133.3521 | 0.029469 | 137.2461 | 1.372e-05 | 133.3521 | 7.1088e-06 | ¦
145.3784 | 101.5552 | 141.2538 | 0.020872 | 145.3784 | 8.8732e-06 | 141.2538 | 4.8473e-06 | ¦
153.9927 | 101.5691 | 149.6236 | 0.013944 | 153.9927 | 5.6001e-06 | 149.6236 | 3.2731e-06 | ¦
163.1173 | 101.578 | 158.4893 | 0.0088452 | 163.1173 | 3.4323e-06 | 158.4893 | 2.1679e-06 | ¦
172.7826 | 101.5835 | 167.8804 | 0.0055146 | 172.7826 | 2.0317e-06 | 167.8804 | 1.4005e-06 | ¦
183.0206 | 101.5871 | 177.8279 | 0.0036668 | 183.0206 | 1.1587e-06 | 177.8279 | 8.7298e-07 | ¦
193.8653 | 101.59 | 188.3649 | 0.0028383 | 193.8653 | 6.3222e-07 | 188.3649 | 5.2652e-07 | ¦
205.3525 | 101.592 | 199.5262 | 0.002024 | 205.3525 | 3.2355e-07 | 199.5262 | 3.0867e-07 | ¦
|  | 211.3489 | 0 |  |  | 211.3489 | 1.7508e-07 | ¦
¦