## 001-011
Micromeritics Instrument Corporation | [7 empty] | ¦ | Micromeritics Instrument Corporation |  |  |  |  | ¦ | Micromeritics Instrument Corporation | [5 empty] | ¦ | Micromeritics Instrument Corporation |  |  |  | ¦ | Micromeritics Instrument Corporation
SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 |  |  |  |  | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 |  | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 |  |  | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Sample: | AP_H3_dt1.5 | [6 empty] | ¦ | Sample: | AP_H3_dt1.5 |  |  |  | ¦ | Sample: | AP_H3_dt1.5 |  |  |  |  | ¦ | Sample: | AP_H3_dt1.5 |  |  | ¦ | Sample: | AP_H3_dt1.5
Operator: | Jia Jia ter Kuile | [6 empty] | ¦ | Operator: | Jia Jia ter Kuile |  |  |  | ¦ | Operator: | Jia Jia ter Kuile |  |  |  |  | ¦ | Operator: | Jia Jia ter Kuile |  |  | ¦ | Operator: | Jia Jia ter Kuile
Submitter: | [7 empty] | ¦ | Submitter: |  |  |  |  | ¦ | Submitter: | [5 empty] | ¦ | Submitter: |  |  |  | ¦ | Submitter:
File: | C:\...\JIAJIA~1\001-011.SMP | [6 empty] | ¦ | File: | C:\...\JIAJIA~1\001-011.SMP |  |  |  | ¦ | File: | C:\...\JIAJIA~1\001-011.SMP |  |  |  |  | ¦ | File: | C:\...\JIAJIA~1\001-011.SMP |  |  | ¦ | File: | C:\...\JIAJIA~1\001-011.SMP
Material/Liquid: | soil / Water | [6 empty] | ¦ | Material/Liquid: | soil / Water |  |  |  | ¦ | Material/Liquid: | soil / Water |  |  |  |  | ¦ | Material/Liquid: | soil / Water |  |  | ¦ | Material/Liquid: | soil / Water
Measurement Principle: | X-Ray monitored gravity sedimentation | [6 empty] | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation |  |  |  | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation |  |  |  |  | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation |  |  | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation
Calculation Method: | Stokes sedimentation and Beer's law of extinction | [6 empty] | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction |  |  |  | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction |  |  |  |  | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction |  |  | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Test Number: | 1 | Analysis Type: | High Resolution |  |  |  |  | ¦ | Test Number: | 1 | Analysis Type: | High Resolution |  | ¦ | Test Number: | 1 | Analysis Type: | High Resolution |  |  | ¦ | Test Number: | 1 | Analysis Type: | High Resolution | ¦ | Test Number: | 1 | Analysis Type: | High Resolution
Analyzed: | 2/7/2024 5:38:59PM | Run Time: | 0:03 hrs:min |  |  |  |  | ¦ | Analyzed: | 2/7/2024 5:38:59PM | Run Time: | 0:03 hrs:min |  | ¦ | Analyzed: | 2/7/2024 5:38:59PM | Run Time: | 0:03 hrs:min |  |  | ¦ | Analyzed: | 2/7/2024 5:38:59PM | Run Time: | 0:03 hrs:min | ¦ | Analyzed: | 2/7/2024 5:38:59PM | Run Time: | 0:03 hrs:min
Reported: | 2/7/2024 5:45:55PM | Sample Density: | 2.600 g/cm³ |  |  |  |  | ¦ | Reported: | 2/7/2024 5:45:55PM | Sample Density: | 2.600 g/cm³ |  | ¦ | Reported: | 2/7/2024 5:45:55PM | Sample Density: | 2.600 g/cm³ |  |  | ¦ | Reported: | 2/7/2024 5:45:55PM | Sample Density: | 2.600 g/cm³ | ¦ | Reported: | 2/7/2024 5:45:55PM | Sample Density: | 2.600 g/cm³
Liquid Visc: | 0.7221 mPa·s | Liquid Density: | 0.9941 g/cm³ |  |  |  |  | ¦ | Liquid Visc: | 0.7221 mPa·s | Liquid Density: | 0.9941 g/cm³ |  | ¦ | Liquid Visc: | 0.7221 mPa·s | Liquid Density: | 0.9941 g/cm³ |  |  | ¦ | Liquid Visc: | 0.7221 mPa·s | Liquid Density: | 0.9941 g/cm³ | ¦ | Liquid Visc: | 0.7221 mPa·s | Liquid Density: | 0.9941 g/cm³
Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 71 kCnts/s |  |  |  |  | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 71 kCnts/s |  | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 71 kCnts/s |  |  | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 71 kCnts/s | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 71 kCnts/s
Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 |  |  |  |  | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 |  | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 |  |  | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound | [7 empty] | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound |  |  |  |  | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound | [5 empty] | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound |  |  |  | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Combined Report | [7 empty] | ¦ | Report by Sieve Size |  |  |  |  | ¦ | Report by Size Table | [5 empty] | ¦ | Cumulative Finer Mass Percent vs. Diameter |  |  |  | ¦ | Mass Frequency vs. Settling Velocity
Report by Size Table | [7 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | Sieve Name | Aperture Size (µm) | Cumulative Mass Passed (Percent) | Mass Frequency (Percent) | Cum. Mass Standard Deviation (1 tests) | ¦ | High Diameter (µm) | Low Diameter (µm) | Average Diameter (µm) | Cumulative Mass Finer (Percent) | Mass Frequency (Percent) | Cum. Mass Standard Deviation (1 tests) | ¦ |  |  |  |  | ¦
High Diameter (µm) | Low Diameter (µm) | Average Diameter (µm) | Cumulative Mass Finer (Percent) | Mass Frequency (Percent) | Cum. Mass Standard Deviation (1 tests) | Particle Size (Phi) | Settling Velocity (cm/s) | ¦ | No. 50 | 300 | 100.4 | 0.0 | 0.0 | ¦ | 250.0 | 200.0 | 223.6 | 100.4 | 0.0 | 0.0 | ¦ | Test 1 |  |  |  | ¦ | Test 1
250.0 | 125.0 | 176.8 | 100.1 | 0.2 | 0.0 | 3.000 | 1.89186 | ¦ | No. 120 | 125 | 100.1 | 0.2 | 0.0 | ¦ | 200.0 | 150.0 | 173.2 | 100.2 | 0.1 | 0.0 | ¦ | Particle Diameter (µm) | Cumulative Finer Mass Percent |  |  | ¦ | Settling Velocity (cm/s) | Mass Frequency Percent
125.0 | 63.00 | 88.74 | 97.7 | 2.5 | 0.0 | 3.989 | 0.48056 | ¦ | No. 270 | 53 | 95.9 | 4.2 | 0.0 | ¦ | 150.0 | 100.0 | 122.5 | 99.9 | 0.3 | 0.0 | ¦ | 2.0535 | 17.395 |  |  | ¦ | 0.00048203 | 0
63.00 | 32.00 | 44.90 | 87.8 | 9.8 | 0.0 | 4.966 | 0.12399 | ¦ | No. 635 | 20 | 76.6 | 19.3 | 0.0 | ¦ | 100.0 | 80.00 | 89.44 | 99.2 | 0.7 | 0.0 | ¦ | 2.1752 | 18.2256 |  |  | ¦ | 0.00054084 | 0.83059
32.00 | 16.00 | 22.63 | 70.8 | 17.1 | 0.0 | 5.966 | 0.03100 | ¦ | [5 empty] | ¦ | 80.00 | 60.00 | 69.28 | 97.2 | 2.0 | 0.0 | ¦ | 2.3041 | 19.1889 |  |  | ¦ | 0.00060683 | 0.96333
16.00 | 8.000 | 11.31 | 50.1 | 20.6 | 0.0 | 6.966 | 0.00775 | ¦ | [5 empty] | ¦ | 60.00 | 50.00 | 54.77 | 95.2 | 2.0 | 0.0 | ¦ | 2.4406 | 20.2705 |  |  | ¦ | 0.00068088 | 1.0816
8.000 | 4.000 | 5.657 | 31.5 | 18.6 | 0.0 | 7.966 | 0.00194 | ¦ | [5 empty] | ¦ | 50.00 | 40.00 | 44.72 | 91.8 | 3.4 | 0.0 | ¦ | 2.5852 | 21.4456 |  |  | ¦ | 0.00076396 | 1.175
4.000 | 2.000 | 2.828 | 17.4 | 14.1 | 0.0 | 8.966 | 0.00048 | ¦ | [5 empty] | ¦ | 40.00 | 30.00 | 34.64 | 86.5 | 5.3 | 0.0 | ¦ | 2.7384 | 22.6874 |  |  | ¦ | 0.00085718 | 1.2418
[8 empty] | ¦ | [5 empty] | ¦ | 30.00 | 25.00 | 27.39 | 82.3 | 4.2 | 0.0 | ¦ | 2.9007 | 23.9734 |  |  | ¦ | 0.00096177 | 1.286
[8 empty] | ¦ | [5 empty] | ¦ | 25.00 | 20.00 | 22.36 | 76.6 | 5.7 | 0.0 | ¦ | 3.0726 | 25.2871 |  |  | ¦ | 0.0010791 | 1.3136
Cumulative Finer Mass Percent vs. Diameter | [7 empty] | ¦ | [5 empty] | ¦ | 20.00 | 15.00 | 17.32 | 69.0 | 7.6 | 0.0 | ¦ | 3.2546 | 26.6168 |  |  | ¦ | 0.0012108 | 1.3298
[8 empty] | ¦ | [5 empty] | ¦ | 15.00 | 10.00 | 12.25 | 56.9 | 12.1 | 0.0 | ¦ | 3.4475 | 27.9557 |  |  | ¦ | 0.0013585 | 1.3389
[8 empty] | ¦ | [5 empty] | ¦ | 10.00 | 8.000 | 8.944 | 50.1 | 6.8 | 0.0 | ¦ | 3.6517 | 29.3029 |  |  | ¦ | 0.0015243 | 1.3471
Cumulative Finer Mass Percent |  | Mass Frequency Percent |  | Cumulative Surface Area Coarser |  | Surface Area Population |  | ¦ | [5 empty] | ¦ | 8.000 | 6.000 | 6.928 | 42.2 | 7.9 | 0.0 | ¦ | 3.8681 | 30.6647 |  |  | ¦ | 0.0017103 | 1.3618
Particle Diameter (µm) | Cumulative Finer Mass Percent | Particle Diameter (µm) | Mass Frequency Percent | Particle Diameter (µm) | Cumulative Surface Area Coarser (m²/g) | Particle Diameter (µm) | Surface Area Population (m²/g) | ¦ | [5 empty] | ¦ | 6.000 | 5.000 | 5.477 | 37.2 | 5.0 | 0.0 | ¦ | 4.0973 | 32.0539 |  |  | ¦ | 0.001919 | 1.3892
2.0535 | 17.395 | 1.9953 | 0 | 2.0535 | 0.25217 | 1.9953 | 0.0036792 | ¦ | [5 empty] | ¦ | 5.000 | 4.000 | 4.472 | 31.5 | 5.7 | 0.0 | ¦ | 4.3401 | 33.4849 |  |  | ¦ | 0.0021531 | 1.431
2.1752 | 18.2256 | 2.1135 | 0.83059 | 2.1752 | 0.2467 | 2.1135 | 0.0054779 | ¦ | [5 empty] | ¦ | 4.000 | 3.000 | 3.464 | 24.7 | 6.7 | 0.0 | ¦ | 4.5973 | 34.9657 |  |  | ¦ | 0.0024158 | 1.4808
2.3041 | 19.1889 | 2.2387 | 0.96333 | 2.3041 | 0.23947 | 2.2387 | 0.0072259 | ¦ | [5 empty] | ¦ | 3.000 | 2.000 | 2.449 | 17.4 | 7.3 | 0.0 | ¦ | 4.8697 | 36.4926 |  |  | ¦ | 0.0027106 | 1.5269
2.4406 | 20.2705 | 2.3714 | 1.0816 | 2.4406 | 0.23073 | 2.3714 | 0.0087364 | ¦ | [5 empty] | ¦ | [6 empty] | ¦ | 5.1582 | 38.0513 |  |  | ¦ | 0.0030414 | 1.5587
2.5852 | 21.4456 | 2.5119 | 1.175 | 2.5852 | 0.22089 | 2.5119 | 0.0098467 | ¦ | [5 empty] | ¦ | [6 empty] | ¦ | 5.4639 | 39.6239 |  |  | ¦ | 0.0034125 | 1.5726
2.7384 | 22.6874 | 2.6607 | 1.2418 | 2.7384 | 0.21046 | 2.6607 | 0.010423 | ¦ | [12 empty] | ¦ | 5.7876 | 41.1965 |  |  | ¦ | 0.0038289 | 1.5727
2.9007 | 23.9734 | 2.8184 | 1.286 | 2.9007 | 0.2001 | 2.8184 | 0.01036 | ¦ | [12 empty] | ¦ | 6.1306 | 42.764 |  |  | ¦ | 0.0042961 | 1.5675
3.0726 | 25.2871 | 2.9854 | 1.3136 | 3.0726 | 0.18997 | 2.9854 | 0.010137 | ¦ | [12 empty] | ¦ | 6.4938 | 44.3295 |  |  | ¦ | 0.0048203 | 1.5655
3.2546 | 26.6168 | 3.1623 | 1.3298 | 3.2546 | 0.18016 | 3.1623 | 0.009805 | ¦ | [12 empty] | ¦ | 6.8786 | 45.9002 |  |  | ¦ | 0.0054084 | 1.5708
3.4475 | 27.9557 | 3.3497 | 1.3389 | 3.4475 | 0.17074 | 3.3497 | 0.0094177 | ¦ | [12 empty] | ¦ | 7.2862 | 47.4847 |  |  | ¦ | 0.0060683 | 1.5845
3.6517 | 29.3029 | 3.5481 | 1.3471 | 3.6517 | 0.16172 | 3.5481 | 0.0090226 | ¦ | [12 empty] | ¦ | 7.7179 | 49.0916 |  |  | ¦ | 0.0068088 | 1.6068
3.8681 | 30.6647 | 3.7584 | 1.3618 | 3.8681 | 0.15307 | 3.7584 | 0.0086519 | ¦ | [12 empty] | ¦ | 8.1752 | 50.7308 |  |  | ¦ | 0.0076396 | 1.6393
4.0973 | 32.0539 | 3.9811 | 1.3892 | 4.0973 | 0.14475 | 3.9811 | 0.0083203 | ¦ | [12 empty] | ¦ | 8.6596 | 52.4151 |  |  | ¦ | 0.0085718 | 1.6843
4.3401 | 33.4849 | 4.217 | 1.431 | 4.3401 | 0.13672 | 4.217 | 0.0080253 | ¦ | [12 empty] | ¦ | 9.1728 | 54.1551 |  |  | ¦ | 0.0096177 | 1.74
4.5973 | 34.9657 | 4.4668 | 1.4808 | 4.5973 | 0.12897 | 4.4668 | 0.0077529 | ¦ | [12 empty] | ¦ | 9.7163 | 55.9516 |  |  | ¦ | 0.010791 | 1.7965
4.8697 | 36.4926 | 4.7315 | 1.5269 | 4.8697 | 0.12149 | 4.7315 | 0.0074839 | ¦ | [12 empty] | ¦ | 10.292 | 57.7895 |  |  | ¦ | 0.012108 | 1.8379
5.1582 | 38.0513 | 5.0119 | 1.5587 | 5.1582 | 0.11428 | 5.0119 | 0.0072022 | ¦ | [12 empty] | ¦ | 10.9018 | 59.6383 |  |  | ¦ | 0.013585 | 1.8489
5.4639 | 39.6239 | 5.3088 | 1.5726 | 5.4639 | 0.10738 | 5.3088 | 0.0068995 | ¦ | [12 empty] | ¦ | 11.5478 | 61.4625 |  |  | ¦ | 0.015243 | 1.8241
5.7876 | 41.1965 | 5.6234 | 1.5727 | 5.7876 | 0.10081 | 5.6234 | 0.0065775 | ¦ | [12 empty] | ¦ | 12.2321 | 63.2325 |  |  | ¦ | 0.017103 | 1.77
6.1306 | 42.764 | 5.9566 | 1.5675 | 6.1306 | 0.09456 | 5.9566 | 0.0062465 | ¦ | [12 empty] | ¦ | 12.9569 | 64.935 |  |  | ¦ | 0.01919 | 1.7025
6.4938 | 44.3295 | 6.3096 | 1.5655 | 6.4938 | 0.088639 | 6.3096 | 0.0059213 | ¦ | [12 empty] | ¦ | 13.7246 | 66.574 |  |  | ¦ | 0.021531 | 1.639
6.8786 | 45.9002 | 6.6834 | 1.5708 | 6.8786 | 0.083022 | 6.6834 | 0.0056168 | ¦ | [12 empty] | ¦ | 14.5378 | 68.1652 |  |  | ¦ | 0.024158 | 1.5912
7.2862 | 47.4847 | 7.0795 | 1.5845 | 7.2862 | 0.077678 | 7.0795 | 0.0053442 | ¦ | [12 empty] | ¦ | 15.3993 | 69.7261 |  |  | ¦ | 0.027106 | 1.5609
7.7179 | 49.0916 | 7.4989 | 1.6068 | 7.7179 | 0.072569 | 7.4989 | 0.0051088 | ¦ | [12 empty] | ¦ | 16.3117 | 71.2686 |  |  | ¦ | 0.030414 | 1.5425
8.1752 | 50.7308 | 7.9433 | 1.6393 | 8.1752 | 0.067661 | 7.9433 | 0.0049088 | ¦ | [12 empty] | ¦ | 17.2783 | 72.7974 |  |  | ¦ | 0.034125 | 1.5287
8.6596 | 52.4151 | 8.414 | 1.6843 | 8.6596 | 0.062925 | 8.414 | 0.0047356 | ¦ | [12 empty] | ¦ | 18.3021 | 74.3133 |  |  | ¦ | 0.038289 | 1.5159
9.1728 | 54.1551 | 8.9125 | 1.74 | 9.1728 | 0.05835 | 8.9125 | 0.0045752 | ¦ | [12 empty] | ¦ | 19.3865 | 75.8178 |  |  | ¦ | 0.042961 | 1.5045
9.7163 | 55.9516 | 9.4406 | 1.7965 | 9.7163 | 0.053938 | 9.4406 | 0.0044113 | ¦ | [12 empty] | ¦ | 20.5353 | 77.3136 |  |  | ¦ | 0.048203 | 1.4958
10.292 | 57.7895 | 10 | 1.8379 | 10.292 | 0.049709 | 10 | 0.0042292 | ¦ | [12 empty] | ¦ | 21.752 | 78.8027 |  |  | ¦ | 0.054084 | 1.4891
10.9018 | 59.6383 | 10.5925 | 1.8489 | 10.9018 | 0.045689 | 10.5925 | 0.0040199 | ¦ | [12 empty] | ¦ | 23.0409 | 80.2819 |  |  | ¦ | 0.060683 | 1.4792
11.5478 | 61.4625 | 11.2202 | 1.8241 | 11.5478 | 0.041907 | 11.2202 | 0.0037823 | ¦ | [12 empty] | ¦ | 24.4062 | 81.7398 |  |  | ¦ | 0.068088 | 1.4579
12.2321 | 63.2325 | 11.885 | 1.77 | 12.2321 | 0.038383 | 11.885 | 0.0035236 | ¦ | [12 empty] | ¦ | 25.8523 | 83.1579 |  |  | ¦ | 0.076396 | 1.4182
12.9569 | 64.935 | 12.5893 | 1.7025 | 12.9569 | 0.035127 | 12.5893 | 0.0032565 | ¦ | [12 empty] | ¦ | 27.3842 | 84.5169 |  |  | ¦ | 0.085718 | 1.359
13.7246 | 66.574 | 13.3352 | 1.639 | 13.7246 | 0.032131 | 13.3352 | 0.0029959 | ¦ | [12 empty] | ¦ | 29.0068 | 85.8033 |  |  | ¦ | 0.096177 | 1.2864
14.5378 | 68.1652 | 14.1254 | 1.5912 | 14.5378 | 0.029377 | 14.1254 | 0.0027539 | ¦ | [12 empty] | ¦ | 30.7256 | 87.0138 |  |  | ¦ | 0.10791 | 1.2104
15.3993 | 69.7261 | 14.9624 | 1.5609 | 15.3993 | 0.026839 | 14.9624 | 0.0025376 | ¦ | [12 empty] | ¦ | 32.5462 | 88.1545 |  |  | ¦ | 0.12108 | 1.1407
16.3117 | 71.2686 | 15.8489 | 1.5425 | 16.3117 | 0.024491 | 15.8489 | 0.0023484 | ¦ | [12 empty] | ¦ | 34.4747 | 89.2373 |  |  | ¦ | 0.13585 | 1.0828
17.2783 | 72.7974 | 16.788 | 1.5287 | 17.2783 | 0.022307 | 16.788 | 0.0021837 | ¦ | [12 empty] | ¦ | 36.5174 | 90.2746 |  |  | ¦ | 0.15243 | 1.0372
18.3021 | 74.3133 | 17.7828 | 1.5159 | 18.3021 | 0.020269 | 17.7828 | 0.0020388 | ¦ | [12 empty] | ¦ | 38.6812 | 91.2745 |  |  | ¦ | 0.17103 | 0.99994
19.3865 | 75.8178 | 18.8365 | 1.5045 | 19.3865 | 0.01836 | 18.8365 | 0.0019083 | ¦ | [12 empty] | ¦ | 40.9732 | 92.239 |  |  | ¦ | 0.1919 | 0.96452
20.5353 | 77.3136 | 19.9526 | 1.4958 | 20.5353 | 0.016573 | 19.9526 | 0.0017876 | ¦ | [12 empty] | ¦ | 43.401 | 93.1637 |  |  | ¦ | 0.21531 | 0.92471
21.752 | 78.8027 | 21.1349 | 1.4891 | 21.752 | 0.0149 | 21.1349 | 0.0016727 | ¦ | [12 empty] | ¦ | 45.9727 | 94.04 |  |  | ¦ | 0.24158 | 0.87629
23.0409 | 80.2819 | 22.3872 | 1.4792 | 23.0409 | 0.01334 | 22.3872 | 0.00156 | ¦ | [12 empty] | ¦ | 48.6968 | 94.858 |  |  | ¦ | 0.27106 | 0.81796
24.4062 | 81.7398 | 23.7137 | 1.4579 | 24.4062 | 0.011893 | 23.7137 | 0.001447 | ¦ | [12 empty] | ¦ | 51.5822 | 95.6093 |  |  | ¦ | 0.30414 | 0.75128
25.8523 | 83.1579 | 25.1189 | 1.4182 | 25.8523 | 0.01056 | 25.1189 | 0.0013325 | ¦ | [12 empty] | ¦ | 54.6387 | 96.2889 |  |  | ¦ | 0.34125 | 0.67961
27.3842 | 84.5169 | 26.6073 | 1.359 | 27.3842 | 0.0093432 | 26.6073 | 0.0012172 | ¦ | [12 empty] | ¦ | 57.8762 | 96.8962 |  |  | ¦ | 0.38289 | 0.60732
29.0068 | 85.8033 | 28.1838 | 1.2864 | 29.0068 | 0.00824 | 28.1838 | 0.0011032 | ¦ | [12 empty] | ¦ | 61.3056 | 97.4352 |  |  | ¦ | 0.42961 | 0.53899
30.7256 | 87.0138 | 29.8538 | 1.2104 | 30.7256 | 0.0072461 | 29.8538 | 0.00099384 | ¦ | [12 empty] | ¦ | 64.9382 | 97.913 |  |  | ¦ | 0.48203 | 0.47785
32.5462 | 88.1545 | 31.6228 | 1.1407 | 32.5462 | 0.0063539 | 31.6228 | 0.00089227 | ¦ | [12 empty] | ¦ | 68.786 | 98.3376 |  |  | ¦ | 0.54084 | 0.42461
34.4747 | 89.2373 | 33.4965 | 1.0828 | 34.4747 | 0.0055531 | 33.4965 | 0.00080079 | ¦ | [12 empty] | ¦ | 72.8618 | 98.7149 |  |  | ¦ | 0.60683 | 0.37731
36.5174 | 90.2746 | 35.4813 | 1.0372 | 36.5174 | 0.0048331 | 35.4813 | 0.00071999 | ¦ | [12 empty] | ¦ | 77.1792 | 99.0472 |  |  | ¦ | 0.68088 | 0.33231
38.6812 | 91.2745 | 37.5837 | 0.99994 | 38.6812 | 0.0041842 | 37.5837 | 0.00064882 | ¦ | [12 empty] | ¦ | 81.7523 | 99.3333 |  |  | ¦ | 0.76396 | 0.28604
40.9732 | 92.239 | 39.8107 | 0.96452 | 40.9732 | 0.0035991 | 39.8107 | 0.00058516 | ¦ | [12 empty] | ¦ | 86.5964 | 99.5702 |  |  | ¦ | 0.85718 | 0.23689
43.401 | 93.1637 | 42.1697 | 0.92471 | 43.401 | 0.0030725 | 42.1697 | 0.00052662 | ¦ | [12 empty] | ¦ | 91.7276 | 99.7565 |  |  | ¦ | 0.96177 | 0.18633
45.9727 | 94.04 | 44.6684 | 0.87629 | 45.9727 | 0.0026012 | 44.6684 | 0.00047126 | ¦ | [12 empty] | ¦ | 97.1628 | 99.8947 |  |  | ¦ | 1.0791 | 0.13817
48.6968 | 94.858 | 47.3151 | 0.81796 | 48.6968 | 0.0021832 | 47.3151 | 0.00041801 | ¦ | [12 empty] | ¦ | 102.9201 | 99.9913 |  |  | ¦ | 1.2108 | 0.096661
51.5822 | 95.6093 | 50.1187 | 0.75128 | 51.5822 | 0.0018165 | 50.1187 | 0.00036674 | ¦ | [12 empty] | ¦ | 109.0184 | 100.0562 |  |  | ¦ | 1.3585 | 0.064862
54.6387 | 96.2889 | 53.0884 | 0.67961 | 54.6387 | 0.0014984 | 53.0884 | 0.00031804 | ¦ | [12 empty] | ¦ | 115.4782 | 100.0999 |  |  | ¦ | 1.5243 | 0.043683
57.8762 | 96.8962 | 56.2341 | 0.60732 | 57.8762 | 0.0012256 | 56.2341 | 0.00027281 | ¦ | [12 empty] | ¦ | 122.3207 | 100.1318 |  |  | ¦ | 1.7103 | 0.031913
61.3056 | 97.4352 | 59.5662 | 0.53899 | 61.3056 | 0.00099372 | 59.5662 | 0.00023188 | ¦ | [12 empty] | ¦ | 129.5687 | 100.1588 |  |  | ¦ | 1.919 | 0.026956
64.9382 | 97.913 | 63.0957 | 0.47785 | 64.9382 | 0.00079805 | 63.0957 | 0.00019567 | ¦ | [12 empty] | ¦ | 137.2461 | 100.1846 |  |  | ¦ | 2.1531 | 0.025868
68.786 | 98.3376 | 66.8344 | 0.42461 | 68.786 | 0.00063392 | 66.8344 | 0.00016413 | ¦ | [12 empty] | ¦ | 145.3784 | 100.2109 |  |  | ¦ | 2.4158 | 0.026309
72.8618 | 98.7149 | 70.7946 | 0.37731 | 72.8618 | 0.00049714 | 70.7946 | 0.00013678 | ¦ | [12 empty] | ¦ | 153.9927 | 100.2379 |  |  | ¦ | 2.7106 | 0.026935
77.1792 | 99.0472 | 74.9894 | 0.33231 | 77.1792 | 0.0003842 | 74.9894 | 0.00011295 | ¦ | [12 empty] | ¦ | 163.1173 | 100.2652 |  |  | ¦ | 3.0414 | 0.027308
81.7523 | 99.3333 | 79.4328 | 0.28604 | 81.7523 | 0.00029224 | 79.4328 | 9.1953e-05 | ¦ | [12 empty] | ¦ | 172.7826 | 100.2927 |  |  | ¦ | 3.4125 | 0.027477
86.5964 | 99.5702 | 84.1395 | 0.23689 | 86.5964 | 0.0002189 | 84.1395 | 7.3348e-05 | ¦ | [12 empty] | ¦ | 183.0206 | 100.3202 |  |  | ¦ | 3.8289 | 0.027571
91.7276 | 99.7565 | 89.1251 | 0.18633 | 91.7276 | 0.00016195 | 89.1251 | 5.6946e-05 | ¦ | [12 empty] | ¦ | 193.8653 | 100.3478 |  |  | ¦ | 4.2961 | 0.027619
97.1628 | 99.8947 | 94.4061 | 0.13817 | 97.1628 | 0.00011915 | 94.4061 | 4.2799e-05 | ¦ | [12 empty] | ¦ | 205.3525 | 100.3695 |  |  | ¦ | 4.8203 | 0.021662
102.9201 | 99.9913 | 100 | 0.096661 | 102.9201 | 8.8096e-05 | 100 | 3.1054e-05 | ¦ | [12 empty] | ¦ |  |  |  |  | ¦ | 5.4084 | 0
109.0184 | 100.0562 | 105.9254 | 0.064862 | 109.0184 | 6.629e-05 | 105.9254 | 2.1806e-05 | ¦ | [17 empty] | ¦
115.4782 | 100.0999 | 112.2018 | 0.043683 | 115.4782 | 5.1305e-05 | 112.2018 | 1.4985e-05 | ¦
122.3207 | 100.1318 | 118.8502 | 0.031913 | 122.3207 | 4.0986e-05 | 118.8502 | 1.0318e-05 | ¦
129.5687 | 100.1588 | 125.8925 | 0.026956 | 129.5687 | 3.3606e-05 | 125.8925 | 7.3807e-06 | ¦
137.2461 | 100.1846 | 133.3521 | 0.025868 | 137.2461 | 2.792e-05 | 133.3521 | 5.6855e-06 | ¦
145.3784 | 100.2109 | 141.2538 | 0.026309 | 145.3784 | 2.3139e-05 | 141.2538 | 4.7809e-06 | ¦
153.9927 | 100.2379 | 149.6236 | 0.026935 | 153.9927 | 1.8827e-05 | 149.6236 | 4.3123e-06 | ¦
163.1173 | 100.2652 | 158.4893 | 0.027308 | 163.1173 | 1.4784e-05 | 158.4893 | 4.0433e-06 | ¦
172.7826 | 100.2927 | 167.8804 | 0.027477 | 172.7826 | 1.0997e-05 | 167.8804 | 3.7868e-06 | ¦
183.0206 | 100.3202 | 177.8279 | 0.027571 | 183.0206 | 7.6796e-06 | 177.8279 | 3.3172e-06 | ¦
193.8653 | 100.3478 | 188.3649 | 0.027619 | 193.8653 | 4.9624e-06 | 188.3649 | 2.7173e-06 | ¦
205.3525 | 100.3695 | 199.5262 | 0.021662 | 205.3525 | 2.8942e-06 | 199.5262 | 2.0682e-06 | ¦
|  | 211.3489 | 0 |  |  | 211.3489 | 1.4386e-06 | ¦
¦