## 001-015
Micromeritics Instrument Corporation | [7 empty] | ¦ | Micromeritics Instrument Corporation |  |  |  |  | ¦ | Micromeritics Instrument Corporation | [5 empty] | ¦ | Micromeritics Instrument Corporation |  |  |  | ¦ | Micromeritics Instrument Corporation
SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 |  |  |  |  | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 |  | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 |  |  | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Sample: | AP_H5_dt1.5 | [6 empty] | ¦ | Sample: | AP_H5_dt1.5 |  |  |  | ¦ | Sample: | AP_H5_dt1.5 |  |  |  |  | ¦ | Sample: | AP_H5_dt1.5 |  |  | ¦ | Sample: | AP_H5_dt1.5
Operator: | Jia Jia ter Kuile | [6 empty] | ¦ | Operator: | Jia Jia ter Kuile |  |  |  | ¦ | Operator: | Jia Jia ter Kuile |  |  |  |  | ¦ | Operator: | Jia Jia ter Kuile |  |  | ¦ | Operator: | Jia Jia ter Kuile
Submitter: | [7 empty] | ¦ | Submitter: |  |  |  |  | ¦ | Submitter: | [5 empty] | ¦ | Submitter: |  |  |  | ¦ | Submitter:
File: | C:\...\JIAJIA~1\001-015.SMP | [6 empty] | ¦ | File: | C:\...\JIAJIA~1\001-015.SMP |  |  |  | ¦ | File: | C:\...\JIAJIA~1\001-015.SMP |  |  |  |  | ¦ | File: | C:\...\JIAJIA~1\001-015.SMP |  |  | ¦ | File: | C:\...\JIAJIA~1\001-015.SMP
Material/Liquid: | soil / Water | [6 empty] | ¦ | Material/Liquid: | soil / Water |  |  |  | ¦ | Material/Liquid: | soil / Water |  |  |  |  | ¦ | Material/Liquid: | soil / Water |  |  | ¦ | Material/Liquid: | soil / Water
Measurement Principle: | X-Ray monitored gravity sedimentation | [6 empty] | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation |  |  |  | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation |  |  |  |  | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation |  |  | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation
Calculation Method: | Stokes sedimentation and Beer's law of extinction | [6 empty] | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction |  |  |  | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction |  |  |  |  | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction |  |  | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Test Number: | 1 | Analysis Type: | High Resolution |  |  |  |  | ¦ | Test Number: | 1 | Analysis Type: | High Resolution |  | ¦ | Test Number: | 1 | Analysis Type: | High Resolution |  |  | ¦ | Test Number: | 1 | Analysis Type: | High Resolution | ¦ | Test Number: | 1 | Analysis Type: | High Resolution
Analyzed: | 2/7/2024 6:54:51PM | Run Time: | 0:03 hrs:min |  |  |  |  | ¦ | Analyzed: | 2/7/2024 6:54:51PM | Run Time: | 0:03 hrs:min |  | ¦ | Analyzed: | 2/7/2024 6:54:51PM | Run Time: | 0:03 hrs:min |  |  | ¦ | Analyzed: | 2/7/2024 6:54:51PM | Run Time: | 0:03 hrs:min | ¦ | Analyzed: | 2/7/2024 6:54:51PM | Run Time: | 0:03 hrs:min
Reported: | 2/7/2024 7:01:40PM | Sample Density: | 2.600 g/cm³ |  |  |  |  | ¦ | Reported: | 2/7/2024 7:01:40PM | Sample Density: | 2.600 g/cm³ |  | ¦ | Reported: | 2/7/2024 7:01:40PM | Sample Density: | 2.600 g/cm³ |  |  | ¦ | Reported: | 2/7/2024 7:01:40PM | Sample Density: | 2.600 g/cm³ | ¦ | Reported: | 2/7/2024 7:01:40PM | Sample Density: | 2.600 g/cm³
Liquid Visc: | 0.7221 mPa·s | Liquid Density: | 0.9941 g/cm³ |  |  |  |  | ¦ | Liquid Visc: | 0.7221 mPa·s | Liquid Density: | 0.9941 g/cm³ |  | ¦ | Liquid Visc: | 0.7221 mPa·s | Liquid Density: | 0.9941 g/cm³ |  |  | ¦ | Liquid Visc: | 0.7221 mPa·s | Liquid Density: | 0.9941 g/cm³ | ¦ | Liquid Visc: | 0.7221 mPa·s | Liquid Density: | 0.9941 g/cm³
Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 73 kCnts/s |  |  |  |  | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 73 kCnts/s |  | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 73 kCnts/s |  |  | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 73 kCnts/s | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 73 kCnts/s
Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 |  |  |  |  | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 |  | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 |  |  | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound | [7 empty] | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound |  |  |  |  | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound | [5 empty] | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound |  |  |  | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Combined Report | [7 empty] | ¦ | Report by Sieve Size |  |  |  |  | ¦ | Report by Size Table | [5 empty] | ¦ | Cumulative Finer Mass Percent vs. Diameter |  |  |  | ¦ | Mass Frequency vs. Settling Velocity
Report by Size Table | [7 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | Sieve Name | Aperture Size (µm) | Cumulative Mass Passed (Percent) | Mass Frequency (Percent) | Cum. Mass Standard Deviation (1 tests) | ¦ | High Diameter (µm) | Low Diameter (µm) | Average Diameter (µm) | Cumulative Mass Finer (Percent) | Mass Frequency (Percent) | Cum. Mass Standard Deviation (1 tests) | ¦ |  |  |  |  | ¦
High Diameter (µm) | Low Diameter (µm) | Average Diameter (µm) | Cumulative Mass Finer (Percent) | Mass Frequency (Percent) | Cum. Mass Standard Deviation (1 tests) | Particle Size (Phi) | Settling Velocity (cm/s) | ¦ | No. 50 | 300 | 102.0 | 0.0 | 0.0 | ¦ | 250.0 | 200.0 | 223.6 | 102.0 | 0.0 | 0.0 | ¦ | Test 1 |  |  |  | ¦ | Test 1
250.0 | 125.0 | 176.8 | 101.7 | 0.3 | 0.0 | 3.000 | 1.89184 | ¦ | No. 120 | 125 | 101.7 | 0.3 | 0.0 | ¦ | 200.0 | 150.0 | 173.2 | 101.9 | 0.2 | 0.0 | ¦ | Particle Diameter (µm) | Cumulative Finer Mass Percent |  |  | ¦ | Settling Velocity (cm/s) | Mass Frequency Percent
125.0 | 63.00 | 88.74 | 97.4 | 4.3 | 0.0 | 3.989 | 0.48056 | ¦ | No. 270 | 53 | 94.5 | 7.2 | 0.0 | ¦ | 150.0 | 100.0 | 122.5 | 101.4 | 0.5 | 0.0 | ¦ | 2.0535 | 17.9561 |  |  | ¦ | 0.00048202 | 0
63.00 | 32.00 | 44.90 | 84.9 | 12.5 | 0.0 | 4.966 | 0.12398 | ¦ | No. 635 | 20 | 75.0 | 19.5 | 0.0 | ¦ | 100.0 | 80.00 | 89.44 | 100.2 | 1.2 | 0.0 | ¦ | 2.1752 | 18.6175 |  |  | ¦ | 0.00054083 | 0.66143
32.00 | 16.00 | 22.63 | 69.4 | 15.5 | 0.0 | 5.966 | 0.03100 | ¦ | [5 empty] | ¦ | 80.00 | 60.00 | 69.28 | 96.7 | 3.5 | 0.0 | ¦ | 2.3041 | 19.4214 |  |  | ¦ | 0.00060683 | 0.80385
16.00 | 8.000 | 11.31 | 49.8 | 19.6 | 0.0 | 6.966 | 0.00775 | ¦ | [5 empty] | ¦ | 60.00 | 50.00 | 54.77 | 93.4 | 3.3 | 0.0 | ¦ | 2.4406 | 20.379 |  |  | ¦ | 0.00068087 | 0.95758
8.000 | 4.000 | 5.657 | 31.4 | 18.5 | 0.0 | 7.966 | 0.00194 | ¦ | [5 empty] | ¦ | 50.00 | 40.00 | 44.72 | 89.0 | 4.4 | 0.0 | ¦ | 2.5852 | 21.4815 |  |  | ¦ | 0.00076395 | 1.1025
4.000 | 2.000 | 2.828 | 18.0 | 13.4 | 0.0 | 8.966 | 0.00048 | ¦ | [5 empty] | ¦ | 40.00 | 30.00 | 34.64 | 83.7 | 5.3 | 0.0 | ¦ | 2.7384 | 22.7006 |  |  | ¦ | 0.00085717 | 1.2191
[8 empty] | ¦ | [5 empty] | ¦ | 30.00 | 25.00 | 27.39 | 80.0 | 3.7 | 0.0 | ¦ | 2.9007 | 23.995 |  |  | ¦ | 0.00096176 | 1.2944
[8 empty] | ¦ | [5 empty] | ¦ | 25.00 | 20.00 | 22.36 | 75.0 | 4.9 | 0.0 | ¦ | 3.0726 | 25.3219 |  |  | ¦ | 0.0010791 | 1.327
Cumulative Finer Mass Percent vs. Diameter | [7 empty] | ¦ | [5 empty] | ¦ | 20.00 | 15.00 | 17.32 | 67.6 | 7.4 | 0.0 | ¦ | 3.2546 | 26.6496 |  |  | ¦ | 0.0012108 | 1.3276
[8 empty] | ¦ | [5 empty] | ¦ | 15.00 | 10.00 | 12.25 | 56.4 | 11.2 | 0.0 | ¦ | 3.4475 | 27.9643 |  |  | ¦ | 0.0013585 | 1.3147
[8 empty] | ¦ | [5 empty] | ¦ | 10.00 | 8.000 | 8.944 | 49.8 | 6.6 | 0.0 | ¦ | 3.6517 | 29.2713 |  |  | ¦ | 0.0015243 | 1.3071
Cumulative Finer Mass Percent |  | Mass Frequency Percent |  | Cumulative Surface Area Coarser |  | Surface Area Population |  | ¦ | [5 empty] | ¦ | 8.000 | 6.000 | 6.928 | 42.0 | 7.9 | 0.0 | ¦ | 3.8681 | 30.5884 |  |  | ¦ | 0.0017103 | 1.3171
Particle Diameter (µm) | Cumulative Finer Mass Percent | Particle Diameter (µm) | Mass Frequency Percent | Particle Diameter (µm) | Cumulative Surface Area Coarser (m²/g) | Particle Diameter (µm) | Surface Area Population (m²/g) | ¦ | [5 empty] | ¦ | 6.000 | 5.000 | 5.477 | 37.0 | 5.0 | 0.0 | ¦ | 4.0973 | 31.9367 |  |  | ¦ | 0.001919 | 1.3482
2.0535 | 17.9561 | 1.9953 | 0 | 2.0535 | 0.24414 | 1.9953 | 0.0030573 | ¦ | [5 empty] | ¦ | 5.000 | 4.000 | 4.472 | 31.4 | 5.6 | 0.0 | ¦ | 4.3401 | 33.3334 |  |  | ¦ | 0.0021531 | 1.3967
2.1752 | 18.6175 | 2.1135 | 0.66143 | 2.1752 | 0.23947 | 2.1135 | 0.0046753 | ¦ | [5 empty] | ¦ | 4.000 | 3.000 | 3.464 | 24.8 | 6.6 | 0.0 | ¦ | 4.5973 | 34.7871 |  |  | ¦ | 0.0024158 | 1.4537
2.3041 | 19.4214 | 2.2387 | 0.80385 | 2.3041 | 0.23313 | 2.2387 | 0.0063416 | ¦ | [5 empty] | ¦ | 3.000 | 2.000 | 2.449 | 18.0 | 6.8 | 0.0 | ¦ | 4.8697 | 36.2956 |  |  | ¦ | 0.0027106 | 1.5084
2.4406 | 20.379 | 2.3714 | 0.95758 | 2.4406 | 0.22525 | 2.3714 | 0.0078791 | ¦ | [5 empty] | ¦ | [6 empty] | ¦ | 5.1582 | 37.8461 |  |  | ¦ | 0.0030413 | 1.5505
2.5852 | 21.4815 | 2.5119 | 1.1025 | 2.5852 | 0.21614 | 2.5119 | 0.0091096 | ¦ | [5 empty] | ¦ | [6 empty] | ¦ | 5.4639 | 39.4187 |  |  | ¦ | 0.0034124 | 1.5726
2.7384 | 22.7006 | 2.6607 | 1.2191 | 2.7384 | 0.20626 | 2.6607 | 0.009872 | ¦ | [12 empty] | ¦ | 5.7876 | 40.9918 |  |  | ¦ | 0.0038288 | 1.5731
2.9007 | 23.995 | 2.8184 | 1.2944 | 2.9007 | 0.19623 | 2.8184 | 0.010038 | ¦ | [12 empty] | ¦ | 6.1306 | 42.5512 |  |  | ¦ | 0.004296 | 1.5594
3.0726 | 25.3219 | 2.9854 | 1.327 | 3.0726 | 0.18627 | 2.9854 | 0.0099596 | ¦ | [12 empty] | ¦ | 6.4938 | 44.0963 |  |  | ¦ | 0.0048202 | 1.5451
3.2546 | 26.6496 | 3.1623 | 1.3276 | 3.2546 | 0.17658 | 3.1623 | 0.0096874 | ¦ | [12 empty] | ¦ | 6.8786 | 45.6408 |  |  | ¦ | 0.0054083 | 1.5445
3.4475 | 27.9643 | 3.3497 | 1.3147 | 3.4475 | 0.16728 | 3.3497 | 0.009298 | ¦ | [12 empty] | ¦ | 7.2862 | 47.2056 |  |  | ¦ | 0.0060683 | 1.5648
3.6517 | 29.2713 | 3.5481 | 1.3071 | 3.6517 | 0.15841 | 3.5481 | 0.0088706 | ¦ | [12 empty] | ¦ | 7.7179 | 48.809 |  |  | ¦ | 0.0068087 | 1.6035
3.8681 | 30.5884 | 3.7584 | 1.3171 | 3.8681 | 0.14994 | 3.7584 | 0.0084682 | ¦ | [12 empty] | ¦ | 8.1752 | 50.4576 |  |  | ¦ | 0.0076395 | 1.6486
4.0973 | 31.9367 | 3.9811 | 1.3482 | 4.0973 | 0.14182 | 3.9811 | 0.0081247 | ¦ | [12 empty] | ¦ | 8.6596 | 52.143 |  |  | ¦ | 0.0085717 | 1.6853
4.3401 | 33.3334 | 4.217 | 1.3967 | 4.3401 | 0.13397 | 4.217 | 0.0078435 | ¦ | [12 empty] | ¦ | 9.1728 | 53.8457 |  |  | ¦ | 0.0096176 | 1.7027
4.5973 | 34.7871 | 4.4668 | 1.4537 | 4.5973 | 0.12637 | 4.4668 | 0.0076041 | ¦ | [12 empty] | ¦ | 9.7163 | 55.543 |  |  | ¦ | 0.010791 | 1.6973
4.8697 | 36.2956 | 4.7315 | 1.5084 | 4.8697 | 0.119 | 4.7315 | 0.0073751 | ¦ | [12 empty] | ¦ | 10.292 | 57.2158 |  |  | ¦ | 0.012108 | 1.6728
5.1582 | 37.8461 | 5.0119 | 1.5505 | 5.1582 | 0.11187 | 5.0119 | 0.0071278 | ¦ | [12 empty] | ¦ | 10.9018 | 58.8543 |  |  | ¦ | 0.013585 | 1.6385
5.4639 | 39.4187 | 5.3088 | 1.5726 | 5.4639 | 0.10502 | 5.3088 | 0.0068467 | ¦ | [12 empty] | ¦ | 11.5478 | 60.4596 |  |  | ¦ | 0.015243 | 1.6053
5.7876 | 40.9918 | 5.6234 | 1.5731 | 5.7876 | 0.098487 | 5.6234 | 0.0065334 | ¦ | [12 empty] | ¦ | 12.2321 | 62.0415 |  |  | ¦ | 0.017103 | 1.5819
6.1306 | 42.5512 | 5.9566 | 1.5594 | 6.1306 | 0.092284 | 5.9566 | 0.006203 | ¦ | [12 empty] | ¦ | 12.9569 | 63.6141 |  |  | ¦ | 0.01919 | 1.5727
6.4938 | 44.0963 | 6.3096 | 1.5451 | 6.4938 | 0.086407 | 6.3096 | 0.0058773 | ¦ | [12 empty] | ¦ | 13.7246 | 65.1898 |  |  | ¦ | 0.021531 | 1.5756
6.8786 | 45.6408 | 6.6834 | 1.5445 | 6.8786 | 0.080832 | 6.6834 | 0.0055754 | ¦ | [12 empty] | ¦ | 14.5378 | 66.7728 |  |  | ¦ | 0.024158 | 1.583
7.2862 | 47.2056 | 7.0795 | 1.5648 | 7.2862 | 0.075524 | 7.0795 | 0.0053074 | ¦ | [12 empty] | ¦ | 15.3993 | 68.3558 |  |  | ¦ | 0.027106 | 1.5831
7.7179 | 48.809 | 7.4989 | 1.6035 | 7.7179 | 0.070452 | 7.4989 | 0.0050718 | ¦ | [12 empty] | ¦ | 16.3117 | 69.9201 |  |  | ¦ | 0.030413 | 1.5643
8.1752 | 50.4576 | 7.9433 | 1.6486 | 8.1752 | 0.065595 | 7.9433 | 0.0048574 | ¦ | [12 empty] | ¦ | 17.2783 | 71.442 |  |  | ¦ | 0.034124 | 1.5219
8.6596 | 52.143 | 8.414 | 1.6853 | 8.6596 | 0.060947 | 8.414 | 0.0046481 | ¦ | [12 empty] | ¦ | 18.3021 | 72.9025 |  |  | ¦ | 0.038288 | 1.4605
9.1728 | 53.8457 | 8.9125 | 1.7027 | 9.1728 | 0.056517 | 8.9125 | 0.00443 | ¦ | [12 empty] | ¦ | 19.3865 | 74.2955 |  |  | ¦ | 0.04296 | 1.3931
9.7163 | 55.543 | 9.4406 | 1.6973 | 9.7163 | 0.052321 | 9.4406 | 0.0041959 | ¦ | [12 empty] | ¦ | 20.5353 | 75.6297 |  |  | ¦ | 0.048202 | 1.3341
10.292 | 57.2158 | 10 | 1.6728 | 10.292 | 0.048373 | 10 | 0.0039477 | ¦ | [12 empty] | ¦ | 21.752 | 76.9223 |  |  | ¦ | 0.054083 | 1.2926
10.9018 | 58.8543 | 10.5925 | 1.6385 | 10.9018 | 0.044679 | 10.5925 | 0.0036945 | ¦ | [12 empty] | ¦ | 23.0409 | 78.1896 |  |  | ¦ | 0.060683 | 1.2673
11.5478 | 60.4596 | 11.2202 | 1.6053 | 11.5478 | 0.041231 | 11.2202 | 0.003448 | ¦ | [12 empty] | ¦ | 24.4062 | 79.4383 |  |  | ¦ | 0.068087 | 1.2487
12.2321 | 62.0415 | 11.885 | 1.5819 | 12.2321 | 0.038012 | 11.885 | 0.0032185 | ¦ | [12 empty] | ¦ | 25.8523 | 80.6637 |  |  | ¦ | 0.076395 | 1.2254
12.9569 | 63.6141 | 12.5893 | 1.5727 | 12.9569 | 0.035002 | 12.5893 | 0.0030106 | ¦ | [12 empty] | ¦ | 27.3842 | 81.8545 |  |  | ¦ | 0.085717 | 1.1908
13.7246 | 65.1898 | 13.3352 | 1.5756 | 13.7246 | 0.032179 | 13.3352 | 0.0028229 | ¦ | [12 empty] | ¦ | 29.0068 | 83.0011 |  |  | ¦ | 0.096176 | 1.1466
14.5378 | 66.7728 | 14.1254 | 1.583 | 14.5378 | 0.02953 | 14.1254 | 0.0026488 | ¦ | [12 empty] | ¦ | 30.7256 | 84.1023 |  |  | ¦ | 0.10791 | 1.1012
15.3993 | 68.3558 | 14.9624 | 1.5831 | 15.3993 | 0.02705 | 14.9624 | 0.0024803 | ¦ | [12 empty] | ¦ | 32.5462 | 85.1685 |  |  | ¦ | 0.12108 | 1.0662
16.3117 | 69.9201 | 15.8489 | 1.5643 | 16.3117 | 0.024739 | 15.8489 | 0.0023111 | ¦ | [12 empty] | ¦ | 34.4747 | 86.2184 |  |  | ¦ | 0.13585 | 1.0499
17.2783 | 71.442 | 16.788 | 1.5219 | 17.2783 | 0.022599 | 16.788 | 0.0021392 | ¦ | [12 empty] | ¦ | 36.5174 | 87.2729 |  |  | ¦ | 0.15243 | 1.0545
18.3021 | 72.9025 | 17.7828 | 1.4605 | 18.3021 | 0.020633 | 17.7828 | 0.001967 | ¦ | [12 empty] | ¦ | 38.6812 | 88.3487 |  |  | ¦ | 0.17103 | 1.0758
19.3865 | 74.2955 | 18.8365 | 1.3931 | 19.3865 | 0.018833 | 18.8365 | 0.0017997 | ¦ | [12 empty] | ¦ | 40.9732 | 89.4539 |  |  | ¦ | 0.1919 | 1.1052
20.5353 | 75.6297 | 19.9526 | 1.3341 | 20.5353 | 0.01719 | 19.9526 | 0.0016432 | ¦ | [12 empty] | ¦ | 43.401 | 90.5866 |  |  | ¦ | 0.21531 | 1.1327
21.752 | 76.9223 | 21.1349 | 1.2926 | 21.752 | 0.015688 | 21.1349 | 0.0015014 | ¦ | [12 empty] | ¦ | 45.9727 | 91.7357 |  |  | ¦ | 0.24158 | 1.1491
23.0409 | 78.1896 | 22.3872 | 1.2673 | 23.0409 | 0.014313 | 22.3872 | 0.0013753 | ¦ | [12 empty] | ¦ | 48.6968 | 92.8827 |  |  | ¦ | 0.27106 | 1.147
24.4062 | 79.4383 | 23.7137 | 1.2487 | 24.4062 | 0.01305 | 23.7137 | 0.0012629 | ¦ | [12 empty] | ¦ | 51.5822 | 94.0042 |  |  | ¦ | 0.30413 | 1.1215
25.8523 | 80.6637 | 25.1189 | 1.2254 | 25.8523 | 0.011889 | 25.1189 | 0.0011611 | ¦ | [12 empty] | ¦ | 54.6387 | 95.0763 |  |  | ¦ | 0.34124 | 1.072
27.3842 | 81.8545 | 26.6073 | 1.1908 | 27.3842 | 0.010822 | 26.6073 | 0.0010672 | ¦ | [12 empty] | ¦ | 57.8762 | 96.0791 |  |  | ¦ | 0.38288 | 1.0029
29.0068 | 83.0011 | 28.1838 | 1.1466 | 29.0068 | 0.0098415 | 28.1838 | 0.00098017 | ¦ | [12 empty] | ¦ | 61.3056 | 97.0006 |  |  | ¦ | 0.4296 | 0.92151
30.7256 | 84.1023 | 29.8538 | 1.1012 | 30.7256 | 0.0089408 | 29.8538 | 0.00090073 | ¦ | [12 empty] | ¦ | 64.9382 | 97.8367 |  |  | ¦ | 0.48202 | 0.83608
32.5462 | 85.1685 | 31.6228 | 1.0662 | 32.5462 | 0.00811 | 31.6228 | 0.00083074 | ¦ | [12 empty] | ¦ | 68.786 | 98.5883 |  |  | ¦ | 0.54083 | 0.75163
34.4747 | 86.2184 | 33.4965 | 1.0499 | 34.4747 | 0.0073383 | 33.4965 | 0.00077172 | ¦ | [12 empty] | ¦ | 72.8618 | 99.257 |  |  | ¦ | 0.60683 | 0.66866
36.5174 | 87.2729 | 35.4813 | 1.0545 | 36.5174 | 0.0066144 | 35.4813 | 0.00072388 | ¦ | [12 empty] | ¦ | 77.1792 | 99.8414 |  |  | ¦ | 0.68087 | 0.58444
38.6812 | 88.3487 | 37.5837 | 1.0758 | 38.6812 | 0.0059289 | 37.5837 | 0.00068558 | ¦ | [12 empty] | ¦ | 81.7523 | 100.3377 |  |  | ¦ | 0.76395 | 0.49629
40.9732 | 89.4539 | 39.8107 | 1.1052 | 40.9732 | 0.0052752 | 39.8107 | 0.00065367 | ¦ | [12 empty] | ¦ | 86.5964 | 100.7427 |  |  | ¦ | 0.85717 | 0.405
43.401 | 90.5866 | 42.1697 | 1.1327 | 43.401 | 0.004651 | 42.1697 | 0.00062423 | ¦ | [12 empty] | ¦ | 91.7276 | 101.0581 |  |  | ¦ | 0.96176 | 0.31539
45.9727 | 91.7357 | 44.6684 | 1.1491 | 45.9727 | 0.0040574 | 44.6684 | 0.00059352 | ¦ | [12 empty] | ¦ | 97.1628 | 101.2924 |  |  | ¦ | 1.0791 | 0.23432
48.6968 | 92.8827 | 47.3151 | 1.147 | 48.6968 | 0.0034985 | 47.3151 | 0.00055889 | ¦ | [12 empty] | ¦ | 102.9201 | 101.4602 |  |  | ¦ | 1.2108 | 0.16775
51.5822 | 94.0042 | 50.1187 | 1.1215 | 51.5822 | 0.0029794 | 50.1187 | 0.00051915 | ¦ | [12 empty] | ¦ | 109.0184 | 101.5784 |  |  | ¦ | 1.3585 | 0.11827
54.6387 | 95.0763 | 53.0884 | 1.072 | 54.6387 | 0.0025048 | 53.0884 | 0.00047462 | ¦ | [12 empty] | ¦ | 115.4782 | 101.6629 |  |  | ¦ | 1.5243 | 0.084472
57.8762 | 96.0791 | 56.2341 | 1.0029 | 57.8762 | 0.002078 | 56.2341 | 0.00042672 | ¦ | [12 empty] | ¦ | 122.3207 | 101.7257 |  |  | ¦ | 1.7103 | 0.062812
61.3056 | 97.0006 | 59.5662 | 0.92151 | 61.3056 | 0.0017006 | 59.5662 | 0.0003774 | ¦ | [12 empty] | ¦ | 129.5687 | 101.7752 |  |  | ¦ | 1.919 | 0.049487
64.9382 | 97.8367 | 63.0957 | 0.83608 | 64.9382 | 0.001372 | 63.0957 | 0.00032859 | ¦ | [12 empty] | ¦ | 137.2461 | 101.8166 |  |  | ¦ | 2.1531 | 0.041364
68.786 | 98.5883 | 66.8344 | 0.75163 | 68.786 | 0.0010903 | 66.8344 | 0.00028176 | ¦ | [12 empty] | ¦ | 145.3784 | 101.8529 |  |  | ¦ | 2.4158 | 0.03634
72.8618 | 99.257 | 70.7946 | 0.66866 | 72.8618 | 0.0008524 | 70.7946 | 0.00023788 | ¦ | [12 empty] | ¦ | 153.9927 | 101.8861 |  |  | ¦ | 2.7106 | 0.033192
77.1792 | 99.8414 | 74.9894 | 0.58444 | 77.1792 | 0.000655 | 74.9894 | 0.00019741 | ¦ | [12 empty] | ¦ | 163.1173 | 101.9173 |  |  | ¦ | 3.0413 | 0.031231
81.7523 | 100.3377 | 79.4328 | 0.49629 | 81.7523 | 0.00049443 | 79.4328 | 0.00016057 | ¦ | [12 empty] | ¦ | 172.7826 | 101.9474 |  |  | ¦ | 3.4124 | 0.030075
86.5964 | 100.7427 | 84.1395 | 0.405 | 86.5964 | 0.00036688 | 84.1395 | 0.00012754 | ¦ | [12 empty] | ¦ | 183.0206 | 101.9769 |  |  | ¦ | 3.8288 | 0.029466
91.7276 | 101.0581 | 89.1251 | 0.31539 | 91.7276 | 0.00026832 | 89.1251 | 9.8567e-05 | ¦ | [12 empty] | ¦ | 193.8653 | 102.0061 |  |  | ¦ | 4.296 | 0.029201
97.1628 | 101.2924 | 94.4061 | 0.23432 | 97.1628 | 0.0001944 | 94.4061 | 7.392e-05 | ¦ | [12 empty] | ¦ | 205.3525 | 102.0289 |  |  | ¦ | 4.8202 | 0.022825
102.9201 | 101.4602 | 100 | 0.16775 | 102.9201 | 0.00014062 | 100 | 5.3781e-05 | ¦ | [12 empty] | ¦ |  |  |  |  | ¦ | 5.4083 | 0
109.0184 | 101.5784 | 105.9254 | 0.11827 | 109.0184 | 0.00010252 | 105.9254 | 3.8098e-05 | ¦ | [17 empty] | ¦
115.4782 | 101.6629 | 112.2018 | 0.084472 | 115.4782 | 7.6002e-05 | 112.2018 | 2.6517e-05 | ¦
122.3207 | 101.7257 | 118.8502 | 0.062812 | 122.3207 | 5.7586e-05 | 118.8502 | 1.8416e-05 | ¦
129.5687 | 101.7752 | 125.8925 | 0.049487 | 129.5687 | 4.4563e-05 | 125.8925 | 1.3023e-05 | ¦
137.2461 | 101.8166 | 133.3521 | 0.041364 | 137.2461 | 3.4997e-05 | 133.3521 | 9.5662e-06 | ¦
145.3784 | 101.8529 | 141.2538 | 0.03634 | 145.3784 | 2.7605e-05 | 141.2538 | 7.3919e-06 | ¦
153.9927 | 101.8861 | 149.6236 | 0.033192 | 153.9927 | 2.1587e-05 | 149.6236 | 6.0182e-06 | ¦
163.1173 | 101.9173 | 158.4893 | 0.031231 | 163.1173 | 1.646e-05 | 158.4893 | 5.1265e-06 | ¦
172.7826 | 101.9474 | 167.8804 | 0.030075 | 172.7826 | 1.1998e-05 | 167.8804 | 4.4622e-06 | ¦
183.0206 | 101.9769 | 177.8279 | 0.029466 | 183.0206 | 8.2654e-06 | 177.8279 | 3.7324e-06 | ¦
193.8653 | 102.0061 | 188.3649 | 0.029201 | 193.8653 | 5.2936e-06 | 188.3649 | 2.9718e-06 | ¦
205.3525 | 102.0289 | 199.5262 | 0.022825 | 205.3525 | 3.0699e-06 | 199.5262 | 2.2238e-06 | ¦
|  | 211.3489 | 0 |  |  | 211.3489 | 1.5313e-06 | ¦
¦