## 001-016
Micromeritics Instrument Corporation | [7 empty] | ¦ | Micromeritics Instrument Corporation |  |  |  |  | ¦ | Micromeritics Instrument Corporation | [5 empty] | ¦ | Micromeritics Instrument Corporation |  |  |  | ¦ | Micromeritics Instrument Corporation
SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 |  |  |  |  | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 |  | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 |  |  | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Sample: | AP_H5_dt2.0 | [6 empty] | ¦ | Sample: | AP_H5_dt2.0 |  |  |  | ¦ | Sample: | AP_H5_dt2.0 |  |  |  |  | ¦ | Sample: | AP_H5_dt2.0 |  |  | ¦ | Sample: | AP_H5_dt2.0
Operator: | Jia Jia ter Kuile | [6 empty] | ¦ | Operator: | Jia Jia ter Kuile |  |  |  | ¦ | Operator: | Jia Jia ter Kuile |  |  |  |  | ¦ | Operator: | Jia Jia ter Kuile |  |  | ¦ | Operator: | Jia Jia ter Kuile
Submitter: | [7 empty] | ¦ | Submitter: |  |  |  |  | ¦ | Submitter: | [5 empty] | ¦ | Submitter: |  |  |  | ¦ | Submitter:
File: | C:\...\JIAJIA~1\001-016.SMP | [6 empty] | ¦ | File: | C:\...\JIAJIA~1\001-016.SMP |  |  |  | ¦ | File: | C:\...\JIAJIA~1\001-016.SMP |  |  |  |  | ¦ | File: | C:\...\JIAJIA~1\001-016.SMP |  |  | ¦ | File: | C:\...\JIAJIA~1\001-016.SMP
Material/Liquid: | soil / Water | [6 empty] | ¦ | Material/Liquid: | soil / Water |  |  |  | ¦ | Material/Liquid: | soil / Water |  |  |  |  | ¦ | Material/Liquid: | soil / Water |  |  | ¦ | Material/Liquid: | soil / Water
Measurement Principle: | X-Ray monitored gravity sedimentation | [6 empty] | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation |  |  |  | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation |  |  |  |  | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation |  |  | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation
Calculation Method: | Stokes sedimentation and Beer's law of extinction | [6 empty] | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction |  |  |  | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction |  |  |  |  | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction |  |  | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Test Number: | 1 | Analysis Type: | High Resolution |  |  |  |  | ¦ | Test Number: | 1 | Analysis Type: | High Resolution |  | ¦ | Test Number: | 1 | Analysis Type: | High Resolution |  |  | ¦ | Test Number: | 1 | Analysis Type: | High Resolution | ¦ | Test Number: | 1 | Analysis Type: | High Resolution
Analyzed: | 2/7/2024 7:13:42PM | Run Time: | 0:03 hrs:min |  |  |  |  | ¦ | Analyzed: | 2/7/2024 7:13:42PM | Run Time: | 0:03 hrs:min |  | ¦ | Analyzed: | 2/7/2024 7:13:42PM | Run Time: | 0:03 hrs:min |  |  | ¦ | Analyzed: | 2/7/2024 7:13:42PM | Run Time: | 0:03 hrs:min | ¦ | Analyzed: | 2/7/2024 7:13:42PM | Run Time: | 0:03 hrs:min
Reported: | 2/7/2024 7:20:38PM | Sample Density: | 2.600 g/cm³ |  |  |  |  | ¦ | Reported: | 2/7/2024 7:20:38PM | Sample Density: | 2.600 g/cm³ |  | ¦ | Reported: | 2/7/2024 7:20:38PM | Sample Density: | 2.600 g/cm³ |  |  | ¦ | Reported: | 2/7/2024 7:20:38PM | Sample Density: | 2.600 g/cm³ | ¦ | Reported: | 2/7/2024 7:20:38PM | Sample Density: | 2.600 g/cm³
Liquid Visc: | 0.7221 mPa·s | Liquid Density: | 0.9941 g/cm³ |  |  |  |  | ¦ | Liquid Visc: | 0.7221 mPa·s | Liquid Density: | 0.9941 g/cm³ |  | ¦ | Liquid Visc: | 0.7221 mPa·s | Liquid Density: | 0.9941 g/cm³ |  |  | ¦ | Liquid Visc: | 0.7221 mPa·s | Liquid Density: | 0.9941 g/cm³ | ¦ | Liquid Visc: | 0.7221 mPa·s | Liquid Density: | 0.9941 g/cm³
Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 72 kCnts/s |  |  |  |  | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 72 kCnts/s |  | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 72 kCnts/s |  |  | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 72 kCnts/s | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 72 kCnts/s
Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 |  |  |  |  | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 |  | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 |  |  | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound | [7 empty] | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound |  |  |  |  | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound | [5 empty] | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound |  |  |  | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Combined Report | [7 empty] | ¦ | Report by Sieve Size |  |  |  |  | ¦ | Report by Size Table | [5 empty] | ¦ | Cumulative Finer Mass Percent vs. Diameter |  |  |  | ¦ | Mass Frequency vs. Settling Velocity
Report by Size Table | [7 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | Sieve Name | Aperture Size (µm) | Cumulative Mass Passed (Percent) | Mass Frequency (Percent) | Cum. Mass Standard Deviation (1 tests) | ¦ | High Diameter (µm) | Low Diameter (µm) | Average Diameter (µm) | Cumulative Mass Finer (Percent) | Mass Frequency (Percent) | Cum. Mass Standard Deviation (1 tests) | ¦ |  |  |  |  | ¦
High Diameter (µm) | Low Diameter (µm) | Average Diameter (µm) | Cumulative Mass Finer (Percent) | Mass Frequency (Percent) | Cum. Mass Standard Deviation (1 tests) | Particle Size (Phi) | Settling Velocity (cm/s) | ¦ | No. 50 | 300 | 100.9 | 0.0 | 0.0 | ¦ | 250.0 | 200.0 | 223.6 | 100.9 | 0.0 | 0.0 | ¦ | Test 1 |  |  |  | ¦ | Test 1
250.0 | 125.0 | 176.8 | 100.3 | 0.6 | 0.0 | 3.000 | 1.89179 | ¦ | No. 120 | 125 | 100.3 | 0.6 | 0.0 | ¦ | 200.0 | 150.0 | 173.2 | 100.6 | 0.3 | 0.0 | ¦ | Particle Diameter (µm) | Cumulative Finer Mass Percent |  |  | ¦ | Settling Velocity (cm/s) | Mass Frequency Percent
125.0 | 63.00 | 88.74 | 96.7 | 3.6 | 0.0 | 3.989 | 0.48055 | ¦ | No. 270 | 53 | 94.7 | 5.6 | 0.0 | ¦ | 150.0 | 100.0 | 122.5 | 99.8 | 0.8 | 0.0 | ¦ | 2.0535 | 17.8252 |  |  | ¦ | 0.00048201 | 0
63.00 | 32.00 | 44.90 | 85.1 | 11.6 | 0.0 | 4.966 | 0.12398 | ¦ | No. 635 | 20 | 74.4 | 20.2 | 0.0 | ¦ | 100.0 | 80.00 | 89.44 | 98.7 | 1.0 | 0.0 | ¦ | 2.1752 | 18.5122 |  |  | ¦ | 0.00054082 | 0.68697
32.00 | 16.00 | 22.63 | 69.0 | 16.1 | 0.0 | 5.966 | 0.03100 | ¦ | [5 empty] | ¦ | 80.00 | 60.00 | 69.28 | 96.2 | 2.6 | 0.0 | ¦ | 2.3041 | 19.2945 |  |  | ¦ | 0.00060681 | 0.78226
16.00 | 8.000 | 11.31 | 49.2 | 19.9 | 0.0 | 6.966 | 0.00775 | ¦ | [5 empty] | ¦ | 60.00 | 50.00 | 54.77 | 93.8 | 2.4 | 0.0 | ¦ | 2.4406 | 20.1913 |  |  | ¦ | 0.00068085 | 0.89685
8.000 | 4.000 | 5.657 | 30.5 | 18.7 | 0.0 | 7.966 | 0.00194 | ¦ | [5 empty] | ¦ | 50.00 | 40.00 | 44.72 | 89.7 | 4.1 | 0.0 | ¦ | 2.5852 | 21.2057 |  |  | ¦ | 0.00076393 | 1.0144
4.000 | 2.000 | 2.828 | 17.8 | 12.7 | 0.0 | 8.966 | 0.00048 | ¦ | [5 empty] | ¦ | 40.00 | 30.00 | 34.64 | 83.8 | 5.9 | 0.0 | ¦ | 2.7384 | 22.3215 |  |  | ¦ | 0.00085714 | 1.1158
[8 empty] | ¦ | [5 empty] | ¦ | 30.00 | 25.00 | 27.39 | 79.9 | 3.9 | 0.0 | ¦ | 2.9007 | 23.5076 |  |  | ¦ | 0.00096173 | 1.1861
[8 empty] | ¦ | [5 empty] | ¦ | 25.00 | 20.00 | 22.36 | 74.4 | 5.5 | 0.0 | ¦ | 3.0726 | 24.7294 |  |  | ¦ | 0.0010791 | 1.2218
Cumulative Finer Mass Percent vs. Diameter | [7 empty] | ¦ | [5 empty] | ¦ | 20.00 | 15.00 | 17.32 | 67.4 | 7.0 | 0.0 | ¦ | 3.2546 | 25.9617 |  |  | ¦ | 0.0012107 | 1.2324
[8 empty] | ¦ | [5 empty] | ¦ | 15.00 | 10.00 | 12.25 | 55.5 | 11.9 | 0.0 | ¦ | 3.4475 | 27.1982 |  |  | ¦ | 0.0013585 | 1.2364
[8 empty] | ¦ | [5 empty] | ¦ | 10.00 | 8.000 | 8.944 | 49.2 | 6.3 | 0.0 | ¦ | 3.6517 | 28.4502 |  |  | ¦ | 0.0015242 | 1.252
Cumulative Finer Mass Percent |  | Mass Frequency Percent |  | Cumulative Surface Area Coarser |  | Surface Area Population |  | ¦ | [5 empty] | ¦ | 8.000 | 6.000 | 6.928 | 41.1 | 8.1 | 0.0 | ¦ | 3.8681 | 29.7391 |  |  | ¦ | 0.0017102 | 1.2888
Particle Diameter (µm) | Cumulative Finer Mass Percent | Particle Diameter (µm) | Mass Frequency Percent | Particle Diameter (µm) | Cumulative Surface Area Coarser (m²/g) | Particle Diameter (µm) | Surface Area Population (m²/g) | ¦ | [5 empty] | ¦ | 6.000 | 5.000 | 5.477 | 36.2 | 5.0 | 0.0 | ¦ | 4.0973 | 31.0834 |  |  | ¦ | 0.0019189 | 1.3443
2.0535 | 17.8252 | 1.9953 | 0 | 2.0535 | 0.23956 | 1.9953 | 0.0030247 | ¦ | [5 empty] | ¦ | 5.000 | 4.000 | 4.472 | 30.5 | 5.6 | 0.0 | ¦ | 4.3401 | 32.4902 |  |  | ¦ | 0.002153 | 1.4069
2.1752 | 18.5122 | 2.1135 | 0.68697 | 2.1752 | 0.23502 | 2.1135 | 0.0045411 | ¦ | [5 empty] | ¦ | 4.000 | 3.000 | 3.464 | 24.2 | 6.3 | 0.0 | ¦ | 4.5973 | 33.9535 |  |  | ¦ | 0.0024158 | 1.4633
2.3041 | 19.2945 | 2.2387 | 0.78226 | 2.3041 | 0.22895 | 2.2387 | 0.0060698 | ¦ | [5 empty] | ¦ | 3.000 | 2.000 | 2.449 | 17.8 | 6.4 | 0.0 | ¦ | 4.8697 | 35.459 |  |  | ¦ | 0.0027105 | 1.5054
2.4406 | 20.1913 | 2.3714 | 0.89685 | 2.4406 | 0.2215 | 2.3714 | 0.0074547 | ¦ | [5 empty] | ¦ | [6 empty] | ¦ | 5.1582 | 36.9923 |  |  | ¦ | 0.0030413 | 1.5333
2.5852 | 21.2057 | 2.5119 | 1.0144 | 2.5852 | 0.21296 | 2.5119 | 0.0085403 | ¦ | [5 empty] | ¦ | [6 empty] | ¦ | 5.4639 | 38.5455 |  |  | ¦ | 0.0034124 | 1.5532
2.7384 | 22.3215 | 2.6607 | 1.1158 | 2.7384 | 0.20377 | 2.6607 | 0.0091873 | ¦ | [12 empty] | ¦ | 5.7876 | 40.1172 |  |  | ¦ | 0.0038287 | 1.5717
2.9007 | 23.5076 | 2.8184 | 1.1861 | 2.9007 | 0.19448 | 2.8184 | 0.0092872 | ¦ | [12 empty] | ¦ | 6.1306 | 41.7086 |  |  | ¦ | 0.0042959 | 1.5914
3.0726 | 24.7294 | 2.9854 | 1.2218 | 3.0726 | 0.18526 | 2.9854 | 0.0092238 | ¦ | [12 empty] | ¦ | 6.4938 | 43.3177 |  |  | ¦ | 0.0048201 | 1.6092
3.2546 | 25.9617 | 3.1623 | 1.2324 | 3.2546 | 0.17623 | 3.1623 | 0.0090293 | ¦ | [12 empty] | ¦ | 6.8786 | 44.9379 |  |  | ¦ | 0.0054082 | 1.6202
3.4475 | 27.1982 | 3.3497 | 1.2364 | 3.4475 | 0.16747 | 3.3497 | 0.0087588 | ¦ | [12 empty] | ¦ | 7.2862 | 46.5593 |  |  | ¦ | 0.0060681 | 1.6213
3.6517 | 28.4502 | 3.5481 | 1.252 | 3.6517 | 0.159 | 3.5481 | 0.0084689 | ¦ | [12 empty] | ¦ | 7.7179 | 48.1742 |  |  | ¦ | 0.0068085 | 1.6149
3.8681 | 29.7391 | 3.7584 | 1.2888 | 3.8681 | 0.1508 | 3.7584 | 0.0081995 | ¦ | [12 empty] | ¦ | 8.1752 | 49.7822 |  |  | ¦ | 0.0076393 | 1.608
4.0973 | 31.0834 | 3.9811 | 1.3443 | 4.0973 | 0.14284 | 3.9811 | 0.0079656 | ¦ | [12 empty] | ¦ | 8.6596 | 51.3914 |  |  | ¦ | 0.0085714 | 1.6093
4.3401 | 32.4902 | 4.217 | 1.4069 | 4.3401 | 0.13508 | 4.217 | 0.0077595 | ¦ | [12 empty] | ¦ | 9.1728 | 53.0172 |  |  | ¦ | 0.0096173 | 1.6257
4.5973 | 33.9535 | 4.4668 | 1.4633 | 4.5973 | 0.12752 | 4.4668 | 0.0075614 | ¦ | [12 empty] | ¦ | 9.7163 | 54.6751 |  |  | ¦ | 0.010791 | 1.6579
4.8697 | 35.459 | 4.7315 | 1.5054 | 4.8697 | 0.12016 | 4.7315 | 0.0073517 | ¦ | [12 empty] | ¦ | 10.292 | 56.3741 |  |  | ¦ | 0.012107 | 1.6991
5.1582 | 36.9923 | 5.0119 | 1.5333 | 5.1582 | 0.11305 | 5.0119 | 0.0071185 | ¦ | [12 empty] | ¦ | 10.9018 | 58.112 |  |  | ¦ | 0.013585 | 1.7378
5.4639 | 38.5455 | 5.3088 | 1.5532 | 5.4639 | 0.10619 | 5.3088 | 0.0068603 | ¦ | [12 empty] | ¦ | 11.5478 | 59.873 |  |  | ¦ | 0.015242 | 1.761
5.7876 | 40.1172 | 5.6234 | 1.5717 | 5.7876 | 0.099603 | 5.6234 | 0.0065822 | ¦ | [12 empty] | ¦ | 12.2321 | 61.6306 |  |  | ¦ | 0.017102 | 1.7576
6.1306 | 41.7086 | 5.9566 | 1.5914 | 6.1306 | 0.093312 | 5.9566 | 0.0062915 | ¦ | [12 empty] | ¦ | 12.9569 | 63.3534 |  |  | ¦ | 0.019189 | 1.7228
6.4938 | 43.3177 | 6.3096 | 1.6092 | 6.4938 | 0.087317 | 6.3096 | 0.0059944 | ¦ | [12 empty] | ¦ | 13.7246 | 65.0123 |  |  | ¦ | 0.02153 | 1.6588
6.8786 | 44.9379 | 6.6834 | 1.6202 | 6.8786 | 0.081622 | 6.6834 | 0.0056953 | ¦ | [12 empty] | ¦ | 14.5378 | 66.5882 |  |  | ¦ | 0.024158 | 1.5759
7.2862 | 46.5593 | 7.0795 | 1.6213 | 7.2862 | 0.076223 | 7.0795 | 0.0053986 | ¦ | [12 empty] | ¦ | 15.3993 | 68.0784 |  |  | ¦ | 0.027105 | 1.4902
7.7179 | 48.1742 | 7.4989 | 1.6149 | 7.7179 | 0.071113 | 7.4989 | 0.0051105 | ¦ | [12 empty] | ¦ | 16.3117 | 69.4984 |  |  | ¦ | 0.030413 | 1.42
8.1752 | 49.7822 | 7.9433 | 1.608 | 8.1752 | 0.066274 | 7.9433 | 0.0048386 | ¦ | [12 empty] | ¦ | 17.2783 | 70.8783 |  |  | ¦ | 0.034124 | 1.3799
8.6596 | 51.3914 | 8.414 | 1.6093 | 8.6596 | 0.061684 | 8.414 | 0.0045903 | ¦ | [12 empty] | ¦ | 18.3021 | 72.2532 |  |  | ¦ | 0.038287 | 1.3749
9.1728 | 53.0172 | 8.9125 | 1.6257 | 9.1728 | 0.057315 | 8.9125 | 0.0043694 | ¦ | [12 empty] | ¦ | 19.3865 | 73.6505 |  |  | ¦ | 0.042959 | 1.3973
9.7163 | 54.6751 | 9.4406 | 1.6579 | 9.7163 | 0.053141 | 9.4406 | 0.0041736 | ¦ | [12 empty] | ¦ | 20.5353 | 75.0795 |  |  | ¦ | 0.048201 | 1.429
10.292 | 56.3741 | 10 | 1.6991 | 10.292 | 0.049147 | 10 | 0.0039939 | ¦ | [12 empty] | ¦ | 21.752 | 76.5276 |  |  | ¦ | 0.054082 | 1.4482
10.9018 | 58.112 | 10.5925 | 1.7378 | 10.9018 | 0.04533 | 10.5925 | 0.0038174 | ¦ | [12 empty] | ¦ | 23.0409 | 77.9658 |  |  | ¦ | 0.060681 | 1.4382
11.5478 | 59.873 | 11.2202 | 1.761 | 11.5478 | 0.041699 | 11.2202 | 0.0036304 | ¦ | [12 empty] | ¦ | 24.4062 | 79.3597 |  |  | ¦ | 0.068085 | 1.3939
12.2321 | 61.6306 | 11.885 | 1.7576 | 12.2321 | 0.038276 | 11.885 | 0.003423 | ¦ | [12 empty] | ¦ | 25.8523 | 80.6837 |  |  | ¦ | 0.076393 | 1.324
12.9569 | 63.3534 | 12.5893 | 1.7228 | 12.9569 | 0.035084 | 12.5893 | 0.0031926 | ¦ | [12 empty] | ¦ | 27.3842 | 81.9313 |  |  | ¦ | 0.085714 | 1.2476
13.7246 | 65.0123 | 13.3352 | 1.6588 | 13.7246 | 0.032139 | 13.3352 | 0.0029449 | ¦ | [12 empty] | ¦ | 29.0068 | 83.1173 |  |  | ¦ | 0.096173 | 1.186
14.5378 | 66.5882 | 14.1254 | 1.5759 | 14.5378 | 0.029446 | 14.1254 | 0.0026923 | ¦ | [12 empty] | ¦ | 30.7256 | 84.271 |  |  | ¦ | 0.10791 | 1.1538
15.3993 | 68.0784 | 14.9624 | 1.4902 | 15.3993 | 0.026996 | 14.9624 | 0.0024504 | ¦ | [12 empty] | ¦ | 32.5462 | 85.4248 |  |  | ¦ | 0.12107 | 1.1537
16.3117 | 69.4984 | 15.8489 | 1.42 | 16.3117 | 0.024763 | 15.8489 | 0.0022334 | ¦ | [12 empty] | ¦ | 34.4747 | 86.6008 |  |  | ¦ | 0.13585 | 1.1761
17.2783 | 70.8783 | 16.788 | 1.3799 | 17.2783 | 0.022712 | 16.788 | 0.0020502 | ¦ | [12 empty] | ¦ | 36.5174 | 87.8033 |  |  | ¦ | 0.15242 | 1.2025
18.3021 | 72.2532 | 17.7828 | 1.3749 | 18.3021 | 0.020811 | 17.7828 | 0.0019018 | ¦ | [12 empty] | ¦ | 38.6812 | 89.0171 |  |  | ¦ | 0.17102 | 1.2138
19.3865 | 73.6505 | 18.8365 | 1.3973 | 19.3865 | 0.019029 | 18.8365 | 0.0017819 | ¦ | [12 empty] | ¦ | 40.9732 | 90.2133 |  |  | ¦ | 0.19189 | 1.1962
20.5353 | 75.0795 | 19.9526 | 1.429 | 20.5353 | 0.017349 | 19.9526 | 0.0016794 | ¦ | [12 empty] | ¦ | 43.401 | 91.3592 |  |  | ¦ | 0.2153 | 1.1459
21.752 | 76.5276 | 21.1349 | 1.4482 | 21.752 | 0.015767 | 21.1349 | 0.0015824 | ¦ | [12 empty] | ¦ | 45.9727 | 92.4278 |  |  | ¦ | 0.24158 | 1.0686
23.0409 | 77.9658 | 22.3872 | 1.4382 | 23.0409 | 0.014285 | 22.3872 | 0.0014819 | ¦ | [12 empty] | ¦ | 48.6968 | 93.4033 |  |  | ¦ | 0.27105 | 0.97555
24.4062 | 79.3597 | 23.7137 | 1.3939 | 24.4062 | 0.012911 | 23.7137 | 0.0013745 | ¦ | [12 empty] | ¦ | 51.5822 | 94.2824 |  |  | ¦ | 0.30413 | 0.87905
25.8523 | 80.6837 | 25.1189 | 1.324 | 25.8523 | 0.011648 | 25.1189 | 0.0012626 | ¦ | [12 empty] | ¦ | 54.6387 | 95.0712 |  |  | ¦ | 0.34124 | 0.78878
27.3842 | 81.9313 | 26.6073 | 1.2476 | 27.3842 | 0.010495 | 26.6073 | 0.0011528 | ¦ | [12 empty] | ¦ | 57.8762 | 95.7815 |  |  | ¦ | 0.38287 | 0.71036
29.0068 | 83.1173 | 28.1838 | 1.186 | 29.0068 | 0.0094429 | 28.1838 | 0.0010523 | ¦ | [12 empty] | ¦ | 61.3056 | 96.4266 |  |  | ¦ | 0.42959 | 0.64505
30.7256 | 84.271 | 29.8538 | 1.1538 | 30.7256 | 0.0084763 | 29.8538 | 0.00096655 | ¦ | [12 empty] | ¦ | 64.9382 | 97.0172 |  |  | ¦ | 0.48201 | 0.59063
32.5462 | 85.4248 | 31.6228 | 1.1537 | 32.5462 | 0.0075796 | 31.6228 | 0.00089671 | ¦ | [12 empty] | ¦ | 68.786 | 97.5596 |  |  | ¦ | 0.54082 | 0.5424
34.4747 | 86.6008 | 33.4965 | 1.1761 | 34.4747 | 0.0067396 | 33.4965 | 0.00083996 | ¦ | [12 empty] | ¦ | 72.8618 | 98.0541 |  |  | ¦ | 0.60681 | 0.49452
36.5174 | 87.8033 | 35.4813 | 1.2025 | 36.5174 | 0.005949 | 35.4813 | 0.00079066 | ¦ | [12 empty] | ¦ | 77.1792 | 98.4964 |  |  | ¦ | 0.68085 | 0.44228
38.6812 | 89.0171 | 37.5837 | 1.2138 | 38.6812 | 0.0052065 | 37.5837 | 0.00074253 | ¦ | [12 empty] | ¦ | 81.7523 | 98.8806 |  |  | ¦ | 0.76393 | 0.38416
40.9732 | 90.2133 | 39.8107 | 1.1962 | 40.9732 | 0.0045158 | 39.8107 | 0.0006907 | ¦ | [12 empty] | ¦ | 86.5964 | 99.2036 |  |  | ¦ | 0.85714 | 0.323
43.401 | 91.3592 | 42.1697 | 1.1459 | 43.401 | 0.0038828 | 42.1697 | 0.00063295 | ¦ | [12 empty] | ¦ | 91.7276 | 99.4681 |  |  | ¦ | 0.96173 | 0.26457
45.9727 | 92.4278 | 44.6684 | 1.0686 | 45.9727 | 0.0033129 | 44.6684 | 0.00056987 | ¦ | [12 empty] | ¦ | 97.1628 | 99.683 |  |  | ¦ | 1.0791 | 0.21486
48.6968 | 93.4033 | 47.3151 | 0.97555 | 48.6968 | 0.0028088 | 47.3151 | 0.00050412 | ¦ | [12 empty] | ¦ | 102.9201 | 99.8605 |  |  | ¦ | 1.2107 | 0.17747
51.5822 | 94.2824 | 50.1187 | 0.87905 | 51.5822 | 0.0023695 | 50.1187 | 0.00043931 | ¦ | [12 empty] | ¦ | 109.0184 | 100.0126 |  |  | ¦ | 1.3585 | 0.15216
54.6387 | 95.0712 | 53.0884 | 0.78878 | 54.6387 | 0.0019908 | 53.0884 | 0.00037873 | ¦ | [12 empty] | ¦ | 115.4782 | 100.1479 |  |  | ¦ | 1.5242 | 0.13527
57.8762 | 95.7815 | 56.2341 | 0.71036 | 57.8762 | 0.0016661 | 56.2341 | 0.00032462 | ¦ | [12 empty] | ¦ | 122.3207 | 100.2701 |  |  | ¦ | 1.7102 | 0.12225
61.3056 | 96.4266 | 59.5662 | 0.64505 | 61.3056 | 0.0013884 | 59.5662 | 0.00027778 | ¦ | [12 empty] | ¦ | 129.5687 | 100.3799 |  |  | ¦ | 1.9189 | 0.10975
64.9382 | 97.0172 | 63.0957 | 0.59063 | 64.9382 | 0.0011506 | 63.0957 | 0.00023778 | ¦ | [12 empty] | ¦ | 137.2461 | 100.4764 |  |  | ¦ | 2.153 | 0.096449
68.786 | 97.5596 | 66.8344 | 0.5424 | 68.786 | 0.00094717 | 66.8344 | 0.00020343 | ¦ | [12 empty] | ¦ | 145.3784 | 100.5592 |  |  | ¦ | 2.4158 | 0.082836
72.8618 | 98.0541 | 70.7946 | 0.49452 | 72.8618 | 0.00077381 | 70.7946 | 0.00017335 | ¦ | [12 empty] | ¦ | 153.9927 | 100.6296 |  |  | ¦ | 2.7105 | 0.070372
77.1792 | 98.4964 | 74.9894 | 0.44228 | 77.1792 | 0.00062738 | 74.9894 | 0.00014644 | ¦ | [12 empty] | ¦ | 163.1173 | 100.69 |  |  | ¦ | 3.0413 | 0.060447
81.7523 | 98.8806 | 79.4328 | 0.38416 | 81.7523 | 0.00050532 | 79.4328 | 0.00012206 | ¦ | [12 empty] | ¦ | 172.7826 | 100.7437 |  |  | ¦ | 3.4124 | 0.053699
86.5964 | 99.2036 | 84.1395 | 0.323 | 86.5964 | 0.00040521 | 84.1395 | 0.00010011 | ¦ | [12 empty] | ¦ | 183.0206 | 100.7936 |  |  | ¦ | 3.8287 | 0.049891
91.7276 | 99.4681 | 89.1251 | 0.26457 | 91.7276 | 0.00032441 | 89.1251 | 8.0798e-05 | ¦ | [12 empty] | ¦ | 193.8653 | 100.8418 |  |  | ¦ | 4.2959 | 0.048187
97.1628 | 99.683 | 94.4061 | 0.21486 | 97.1628 | 0.00026 | 94.4061 | 6.4417e-05 | ¦ | [12 empty] | ¦ | 205.3525 | 100.8792 |  |  | ¦ | 4.8201 | 0.037375
102.9201 | 99.8605 | 100 | 0.17747 | 102.9201 | 0.0002089 | 100 | 5.1093e-05 | ¦ | [12 empty] | ¦ |  |  |  |  | ¦ | 5.4082 | 0
109.0184 | 100.0126 | 105.9254 | 0.15216 | 109.0184 | 0.00016822 | 105.9254 | 4.0682e-05 | ¦ | [17 empty] | ¦
115.4782 | 100.1479 | 112.2018 | 0.13527 | 115.4782 | 0.00013545 | 112.2018 | 3.2769e-05 | ¦
122.3207 | 100.2701 | 118.8502 | 0.12225 | 122.3207 | 0.00010867 | 118.8502 | 2.6781e-05 | ¦
129.5687 | 100.3799 | 125.8925 | 0.10975 | 129.5687 | 8.653e-05 | 125.8925 | 2.2142e-05 | ¦
137.2461 | 100.4764 | 133.3521 | 0.096449 | 137.2461 | 6.8133e-05 | 133.3521 | 1.8398e-05 | ¦
145.3784 | 100.5592 | 141.2538 | 0.082836 | 145.3784 | 5.2863e-05 | 141.2538 | 1.527e-05 | ¦
153.9927 | 100.6296 | 149.6236 | 0.070372 | 153.9927 | 4.0225e-05 | 149.6236 | 1.2638e-05 | ¦
163.1173 | 100.69 | 158.4893 | 0.060447 | 163.1173 | 2.9752e-05 | 158.4893 | 1.0473e-05 | ¦
172.7826 | 100.7437 | 167.8804 | 0.053699 | 172.7826 | 2.1084e-05 | 167.8804 | 8.6685e-06 | ¦
183.0206 | 100.7936 | 177.8279 | 0.049891 | 183.0206 | 1.4185e-05 | 177.8279 | 6.899e-06 | ¦
193.8653 | 100.8418 | 188.3649 | 0.048187 | 193.8653 | 8.9202e-06 | 188.3649 | 5.2644e-06 | ¦
205.3525 | 100.8792 | 199.5262 | 0.037375 | 205.3525 | 5.1065e-06 | 199.5262 | 3.8138e-06 | ¦
|  | 211.3489 | 0 |  |  | 211.3489 | 2.5686e-06 | ¦
¦