## 001-018
Micromeritics Instrument Corporation | [7 empty] | ¦ | Micromeritics Instrument Corporation |  |  |  |  | ¦ | Micromeritics Instrument Corporation | [5 empty] | ¦ | Micromeritics Instrument Corporation |  |  |  | ¦ | Micromeritics Instrument Corporation
SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 |  |  |  |  | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 |  | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 |  |  | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1 | ¦ | SediGraph III Plus V1.01 | Unit 1 | Serial Number: 2136 | Page 1
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Sample: | AP_H6_dt1.0 | [6 empty] | ¦ | Sample: | AP_H6_dt1.0 |  |  |  | ¦ | Sample: | AP_H6_dt1.0 |  |  |  |  | ¦ | Sample: | AP_H6_dt1.0 |  |  | ¦ | Sample: | AP_H6_dt1.0
Operator: | Jia Jia ter Kuile | [6 empty] | ¦ | Operator: | Jia Jia ter Kuile |  |  |  | ¦ | Operator: | Jia Jia ter Kuile |  |  |  |  | ¦ | Operator: | Jia Jia ter Kuile |  |  | ¦ | Operator: | Jia Jia ter Kuile
Submitter: | [7 empty] | ¦ | Submitter: |  |  |  |  | ¦ | Submitter: | [5 empty] | ¦ | Submitter: |  |  |  | ¦ | Submitter:
File: | C:\...\JIAJIA~1\001-018.SMP | [6 empty] | ¦ | File: | C:\...\JIAJIA~1\001-018.SMP |  |  |  | ¦ | File: | C:\...\JIAJIA~1\001-018.SMP |  |  |  |  | ¦ | File: | C:\...\JIAJIA~1\001-018.SMP |  |  | ¦ | File: | C:\...\JIAJIA~1\001-018.SMP
Material/Liquid: | soil / Water | [6 empty] | ¦ | Material/Liquid: | soil / Water |  |  |  | ¦ | Material/Liquid: | soil / Water |  |  |  |  | ¦ | Material/Liquid: | soil / Water |  |  | ¦ | Material/Liquid: | soil / Water
Measurement Principle: | X-Ray monitored gravity sedimentation | [6 empty] | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation |  |  |  | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation |  |  |  |  | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation |  |  | ¦ | Measurement Principle: | X-Ray monitored gravity sedimentation
Calculation Method: | Stokes sedimentation and Beer's law of extinction | [6 empty] | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction |  |  |  | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction |  |  |  |  | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction |  |  | ¦ | Calculation Method: | Stokes sedimentation and Beer's law of extinction
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Test Number: | 1 | Analysis Type: | High Resolution |  |  |  |  | ¦ | Test Number: | 1 | Analysis Type: | High Resolution |  | ¦ | Test Number: | 1 | Analysis Type: | High Resolution |  |  | ¦ | Test Number: | 1 | Analysis Type: | High Resolution | ¦ | Test Number: | 1 | Analysis Type: | High Resolution
Analyzed: | 2/7/2024 7:51:37PM | Run Time: | 0:03 hrs:min |  |  |  |  | ¦ | Analyzed: | 2/7/2024 7:51:37PM | Run Time: | 0:03 hrs:min |  | ¦ | Analyzed: | 2/7/2024 7:51:37PM | Run Time: | 0:03 hrs:min |  |  | ¦ | Analyzed: | 2/7/2024 7:51:37PM | Run Time: | 0:03 hrs:min | ¦ | Analyzed: | 2/7/2024 7:51:37PM | Run Time: | 0:03 hrs:min
Reported: | 2/7/2024 7:58:29PM | Sample Density: | 2.600 g/cm³ |  |  |  |  | ¦ | Reported: | 2/7/2024 7:58:29PM | Sample Density: | 2.600 g/cm³ |  | ¦ | Reported: | 2/7/2024 7:58:29PM | Sample Density: | 2.600 g/cm³ |  |  | ¦ | Reported: | 2/7/2024 7:58:29PM | Sample Density: | 2.600 g/cm³ | ¦ | Reported: | 2/7/2024 7:58:29PM | Sample Density: | 2.600 g/cm³
Liquid Visc: | 0.7222 mPa·s | Liquid Density: | 0.9941 g/cm³ |  |  |  |  | ¦ | Liquid Visc: | 0.7222 mPa·s | Liquid Density: | 0.9941 g/cm³ |  | ¦ | Liquid Visc: | 0.7222 mPa·s | Liquid Density: | 0.9941 g/cm³ |  |  | ¦ | Liquid Visc: | 0.7222 mPa·s | Liquid Density: | 0.9941 g/cm³ | ¦ | Liquid Visc: | 0.7222 mPa·s | Liquid Density: | 0.9941 g/cm³
Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 73 kCnts/s |  |  |  |  | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 73 kCnts/s |  | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 73 kCnts/s |  |  | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 73 kCnts/s | ¦ | Analysis Temp: | 35.0 °C | Base/Full Scale: | 108 / 73 kCnts/s
Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 |  |  |  |  | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 |  | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 |  |  | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33 | ¦ | Full Scale Mass: | 100.0 % | Reynolds Number: | 13.33
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound | [7 empty] | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound |  |  |  |  | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound | [5 empty] | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound |  |  |  | ¦ | Comments: Maasheggen soil, 5.0g soil + 70 ml water; <200; 10 seconds ultrasound
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
Combined Report | [7 empty] | ¦ | Report by Sieve Size |  |  |  |  | ¦ | Report by Size Table | [5 empty] | ¦ | Cumulative Finer Mass Percent vs. Diameter |  |  |  | ¦ | Mass Frequency vs. Settling Velocity
Report by Size Table | [7 empty] | ¦ | [5 empty] | ¦ | [6 empty] | ¦ |  |  |  |  | ¦
[8 empty] | ¦ | Sieve Name | Aperture Size (µm) | Cumulative Mass Passed (Percent) | Mass Frequency (Percent) | Cum. Mass Standard Deviation (1 tests) | ¦ | High Diameter (µm) | Low Diameter (µm) | Average Diameter (µm) | Cumulative Mass Finer (Percent) | Mass Frequency (Percent) | Cum. Mass Standard Deviation (1 tests) | ¦ |  |  |  |  | ¦
High Diameter (µm) | Low Diameter (µm) | Average Diameter (µm) | Cumulative Mass Finer (Percent) | Mass Frequency (Percent) | Cum. Mass Standard Deviation (1 tests) | Particle Size (Phi) | Settling Velocity (cm/s) | ¦ | No. 50 | 300 | 103.1 | 0.0 | 0.0 | ¦ | 250.0 | 200.0 | 223.6 | 103.1 | 0.0 | 0.0 | ¦ | Test 1 |  |  |  | ¦ | Test 1
250.0 | 125.0 | 176.8 | 102.5 | 0.6 | 0.0 | 3.000 | 1.89168 | ¦ | No. 120 | 125 | 102.5 | 0.6 | 0.0 | ¦ | 200.0 | 150.0 | 173.2 | 102.8 | 0.3 | 0.0 | ¦ | Particle Diameter (µm) | Cumulative Finer Mass Percent |  |  | ¦ | Settling Velocity (cm/s) | Mass Frequency Percent
125.0 | 63.00 | 88.74 | 96.3 | 6.3 | 0.0 | 3.989 | 0.48052 | ¦ | No. 270 | 53 | 92.7 | 9.8 | 0.0 | ¦ | 150.0 | 100.0 | 122.5 | 101.9 | 0.9 | 0.0 | ¦ | 2.0535 | 15.5715 |  |  | ¦ | 0.00048198 | 0
63.00 | 32.00 | 44.90 | 82.1 | 14.2 | 0.0 | 4.966 | 0.12397 | ¦ | No. 635 | 20 | 71.0 | 21.7 | 0.0 | ¦ | 100.0 | 80.00 | 89.44 | 100.0 | 1.8 | 0.0 | ¦ | 2.1752 | 16.774 |  |  | ¦ | 0.00054079 | 1.2025
32.00 | 16.00 | 22.63 | 65.3 | 16.7 | 0.0 | 5.966 | 0.03099 | ¦ | [5 empty] | ¦ | 80.00 | 60.00 | 69.28 | 95.3 | 4.7 | 0.0 | ¦ | 2.3041 | 17.9411 |  |  | ¦ | 0.00060677 | 1.167
16.00 | 8.000 | 11.31 | 46.4 | 19.0 | 0.0 | 6.966 | 0.00775 | ¦ | [5 empty] | ¦ | 60.00 | 50.00 | 54.77 | 91.4 | 3.9 | 0.0 | ¦ | 2.4406 | 19.0954 |  |  | ¦ | 0.00068081 | 1.1543
8.000 | 4.000 | 5.657 | 29.0 | 17.4 | 0.0 | 7.966 | 0.00194 | ¦ | [5 empty] | ¦ | 50.00 | 40.00 | 44.72 | 86.6 | 4.8 | 0.0 | ¦ | 2.5852 | 20.251 |  |  | ¦ | 0.00076388 | 1.1556
4.000 | 2.000 | 2.828 | 15.6 | 13.4 | 0.0 | 8.966 | 0.00048 | ¦ | [5 empty] | ¦ | 40.00 | 30.00 | 34.64 | 80.7 | 5.9 | 0.0 | ¦ | 2.7384 | 21.4079 |  |  | ¦ | 0.00085709 | 1.157
[8 empty] | ¦ | [5 empty] | ¦ | 30.00 | 25.00 | 27.39 | 76.3 | 4.4 | 0.0 | ¦ | 2.9007 | 22.5558 |  |  | ¦ | 0.00096167 | 1.1479
[8 empty] | ¦ | [5 empty] | ¦ | 25.00 | 20.00 | 22.36 | 71.0 | 5.3 | 0.0 | ¦ | 3.0726 | 23.684 |  |  | ¦ | 0.001079 | 1.1282
Cumulative Finer Mass Percent vs. Diameter | [7 empty] | ¦ | [5 empty] | ¦ | 20.00 | 15.00 | 17.32 | 63.5 | 7.5 | 0.0 | ¦ | 3.2546 | 24.7939 |  |  | ¦ | 0.0012107 | 1.1099
[8 empty] | ¦ | [5 empty] | ¦ | 15.00 | 10.00 | 12.25 | 52.6 | 10.9 | 0.0 | ¦ | 3.4475 | 25.9051 |  |  | ¦ | 0.0013584 | 1.1112
[8 empty] | ¦ | [5 empty] | ¦ | 10.00 | 8.000 | 8.944 | 46.4 | 6.3 | 0.0 | ¦ | 3.6517 | 27.051 |  |  | ¦ | 0.0015241 | 1.1459
Cumulative Finer Mass Percent |  | Mass Frequency Percent |  | Cumulative Surface Area Coarser |  | Surface Area Population |  | ¦ | [5 empty] | ¦ | 8.000 | 6.000 | 6.928 | 39.2 | 7.2 | 0.0 | ¦ | 3.8681 | 28.2652 |  |  | ¦ | 0.0017101 | 1.2142
Particle Diameter (µm) | Cumulative Finer Mass Percent | Particle Diameter (µm) | Mass Frequency Percent | Particle Diameter (µm) | Cumulative Surface Area Coarser (m²/g) | Particle Diameter (µm) | Surface Area Population (m²/g) | ¦ | [5 empty] | ¦ | 6.000 | 5.000 | 5.477 | 34.6 | 4.7 | 0.0 | ¦ | 4.0973 | 29.5663 |  |  | ¦ | 0.0019188 | 1.3012
2.0535 | 15.5715 | 1.9953 | 0 | 2.0535 | 0.24185 | 1.9953 | 0.004684 | ¦ | [5 empty] | ¦ | 5.000 | 4.000 | 4.472 | 29.0 | 5.5 | 0.0 | ¦ | 4.3401 | 30.9508 |  |  | ¦ | 0.0021529 | 1.3845
2.1752 | 16.774 | 2.1135 | 1.2025 | 2.1752 | 0.23526 | 2.1135 | 0.0065987 | ¦ | [5 empty] | ¦ | 4.000 | 3.000 | 3.464 | 23.2 | 5.8 | 0.0 | ¦ | 4.5973 | 32.3968 |  |  | ¦ | 0.0024156 | 1.4459
2.3041 | 17.9411 | 2.2387 | 1.167 | 2.3041 | 0.22698 | 2.2387 | 0.0082754 | ¦ | [5 empty] | ¦ | 3.000 | 2.000 | 2.449 | 15.6 | 7.6 | 0.0 | ¦ | 4.8697 | 33.8753 |  |  | ¦ | 0.0027104 | 1.4785
2.4406 | 19.0954 | 2.3714 | 1.1543 | 2.4406 | 0.21744 | 2.3714 | 0.009536 | ¦ | [5 empty] | ¦ | [6 empty] | ¦ | 5.1582 | 35.3622 |  |  | ¦ | 0.0030411 | 1.4869
2.5852 | 20.251 | 2.5119 | 1.1556 | 2.5852 | 0.2072 | 2.5119 | 0.01024 | ¦ | [5 empty] | ¦ | [6 empty] | ¦ | 5.4639 | 36.8417 |  |  | ¦ | 0.0034121 | 1.4795
2.7384 | 21.4079 | 2.6607 | 1.157 | 2.7384 | 0.19692 | 2.6607 | 0.010289 | ¦ | [12 empty] | ¦ | 5.7876 | 38.3047 |  |  | ¦ | 0.0038285 | 1.463
2.9007 | 22.5558 | 2.8184 | 1.1479 | 2.9007 | 0.18728 | 2.8184 | 0.0096301 | ¦ | [12 empty] | ¦ | 6.1306 | 39.7463 |  |  | ¦ | 0.0042956 | 1.4416
3.0726 | 23.684 | 2.9854 | 1.1282 | 3.0726 | 0.17824 | 2.9854 | 0.0090471 | ¦ | [12 empty] | ¦ | 6.4938 | 41.1666 |  |  | ¦ | 0.0048198 | 1.4203
3.2546 | 24.7939 | 3.1623 | 1.1099 | 3.2546 | 0.16969 | 3.1623 | 0.0085511 | ¦ | [12 empty] | ¦ | 6.8786 | 42.5742 |  |  | ¦ | 0.0054079 | 1.4076
3.4475 | 25.9051 | 3.3497 | 1.1112 | 3.4475 | 0.16153 | 3.3497 | 0.0081594 | ¦ | [12 empty] | ¦ | 7.2862 | 43.9896 |  |  | ¦ | 0.0060677 | 1.4154
3.6517 | 27.051 | 3.5481 | 1.1459 | 3.6517 | 0.15365 | 3.5481 | 0.007879 | ¦ | [12 empty] | ¦ | 7.7179 | 45.4424 |  |  | ¦ | 0.0068081 | 1.4528
3.8681 | 28.2652 | 3.7584 | 1.2142 | 3.8681 | 0.14595 | 3.7584 | 0.0076959 | ¦ | [12 empty] | ¦ | 8.1752 | 46.9587 |  |  | ¦ | 0.0076388 | 1.5163
4.0973 | 29.5663 | 3.9811 | 1.3012 | 4.0973 | 0.13838 | 3.9811 | 0.0075748 | ¦ | [12 empty] | ¦ | 8.6596 | 48.5458 |  |  | ¦ | 0.0085709 | 1.5871
4.3401 | 30.9508 | 4.217 | 1.3845 | 4.3401 | 0.13091 | 4.217 | 0.0074684 | ¦ | [12 empty] | ¦ | 9.1728 | 50.1835 |  |  | ¦ | 0.0096167 | 1.6378
4.5973 | 32.3968 | 4.4668 | 1.4459 | 4.5973 | 0.12358 | 4.4668 | 0.0073315 | ¦ | [12 empty] | ¦ | 9.7163 | 51.8295 |  |  | ¦ | 0.01079 | 1.646
4.8697 | 33.8753 | 4.7315 | 1.4785 | 4.8697 | 0.11644 | 4.7315 | 0.007133 | ¦ | [12 empty] | ¦ | 10.292 | 53.4383 |  |  | ¦ | 0.012107 | 1.6088
5.1582 | 35.3622 | 5.0119 | 1.4869 | 5.1582 | 0.10958 | 5.0119 | 0.0068624 | ¦ | [12 empty] | ¦ | 10.9018 | 54.9839 |  |  | ¦ | 0.013584 | 1.5456
5.4639 | 36.8417 | 5.3088 | 1.4795 | 5.4639 | 0.10305 | 5.3088 | 0.0065295 | ¦ | [12 empty] | ¦ | 11.5478 | 56.4746 |  |  | ¦ | 0.015241 | 1.4907
5.7876 | 38.3047 | 5.6234 | 1.463 | 5.7876 | 0.096894 | 5.6234 | 0.0061585 | ¦ | [12 empty] | ¦ | 12.2321 | 57.9478 |  |  | ¦ | 0.017101 | 1.4733
6.1306 | 39.7463 | 5.9566 | 1.4416 | 6.1306 | 0.091114 | 5.9566 | 0.0057803 | ¦ | [12 empty] | ¦ | 12.9569 | 59.4495 |  |  | ¦ | 0.019188 | 1.5017
6.4938 | 41.1666 | 6.3096 | 1.4203 | 6.4938 | 0.085689 | 6.3096 | 0.0054254 | ¦ | [12 empty] | ¦ | 13.7246 | 61.0087 |  |  | ¦ | 0.021529 | 1.5592
6.8786 | 42.5742 | 6.6834 | 1.4076 | 6.8786 | 0.080572 | 6.6834 | 0.0051165 | ¦ | [12 empty] | ¦ | 14.5378 | 62.6222 |  |  | ¦ | 0.024156 | 1.6135
7.2862 | 43.9896 | 7.0795 | 1.4154 | 7.2862 | 0.075708 | 7.0795 | 0.0048642 | ¦ | [12 empty] | ¦ | 15.3993 | 64.2566 |  |  | ¦ | 0.027104 | 1.6345
7.7179 | 45.4424 | 7.4989 | 1.4528 | 7.7179 | 0.071044 | 7.4989 | 0.0046646 | ¦ | [12 empty] | ¦ | 16.3117 | 65.8645 |  |  | ¦ | 0.030411 | 1.6078
8.1752 | 46.9587 | 7.9433 | 1.5163 | 8.1752 | 0.066544 | 7.9433 | 0.0044998 | ¦ | [12 empty] | ¦ | 17.2783 | 67.4055 |  |  | ¦ | 0.034121 | 1.541
8.6596 | 48.5458 | 8.414 | 1.5871 | 8.6596 | 0.062199 | 8.414 | 0.0043445 | ¦ | [12 empty] | ¦ | 18.3021 | 68.863 |  |  | ¦ | 0.038285 | 1.4575
9.1728 | 50.1835 | 8.9125 | 1.6378 | 9.1728 | 0.058025 | 8.9125 | 0.0041743 | ¦ | [12 empty] | ¦ | 19.3865 | 70.2489 |  |  | ¦ | 0.042956 | 1.3859
9.7163 | 51.8295 | 9.4406 | 1.646 | 9.7163 | 0.05405 | 9.4406 | 0.0039753 | ¦ | [12 empty] | ¦ | 20.5353 | 71.5959 |  |  | ¦ | 0.048198 | 1.347
10.292 | 53.4383 | 10 | 1.6088 | 10.292 | 0.050301 | 10 | 0.0037487 | ¦ | [12 empty] | ¦ | 21.752 | 72.942 |  |  | ¦ | 0.054079 | 1.3461
10.9018 | 54.9839 | 10.5925 | 1.5456 | 10.9018 | 0.046792 | 10.5925 | 0.0035093 | ¦ | [12 empty] | ¦ | 23.0409 | 74.3129 |  |  | ¦ | 0.060677 | 1.3709
11.5478 | 56.4746 | 11.2202 | 1.4907 | 11.5478 | 0.043513 | 11.2202 | 0.0032783 | ¦ | [12 empty] | ¦ | 24.4062 | 75.7137 |  |  | ¦ | 0.068081 | 1.4008
12.2321 | 57.9478 | 11.885 | 1.4733 | 12.2321 | 0.04044 | 11.885 | 0.0030735 | ¦ | [12 empty] | ¦ | 25.8523 | 77.1288 |  |  | ¦ | 0.076388 | 1.4152
12.9569 | 59.4495 | 12.5893 | 1.5017 | 12.9569 | 0.037538 | 12.5893 | 0.0029017 | ¦ | [12 empty] | ¦ | 27.3842 | 78.5306 |  |  | ¦ | 0.085709 | 1.4018
13.7246 | 61.0087 | 13.3352 | 1.5592 | 13.7246 | 0.034781 | 13.3352 | 0.002757 | ¦ | [12 empty] | ¦ | 29.0068 | 79.8905 |  |  | ¦ | 0.096167 | 1.3598
14.5378 | 62.6222 | 14.1254 | 1.6135 | 14.5378 | 0.032157 | 14.1254 | 0.0026243 | ¦ | [12 empty] | ¦ | 30.7256 | 81.189 |  |  | ¦ | 0.1079 | 1.2985
15.3993 | 64.2566 | 14.9624 | 1.6345 | 15.3993 | 0.02967 | 14.9624 | 0.002487 | ¦ | [12 empty] | ¦ | 32.5462 | 82.4217 |  |  | ¦ | 0.12107 | 1.2327
16.3117 | 65.8645 | 15.8489 | 1.6078 | 16.3117 | 0.027335 | 15.8489 | 0.0023348 | ¦ | [12 empty] | ¦ | 34.4747 | 83.6003 |  |  | ¦ | 0.13584 | 1.1787
17.2783 | 67.4055 | 16.788 | 1.541 | 17.2783 | 0.025167 | 16.788 | 0.0021678 | ¦ | [12 empty] | ¦ | 36.5174 | 84.749 |  |  | ¦ | 0.15241 | 1.1487
18.3021 | 68.863 | 17.7828 | 1.4575 | 18.3021 | 0.023172 | 17.7828 | 0.0019953 | ¦ | [12 empty] | ¦ | 38.6812 | 85.8975 |  |  | ¦ | 0.17101 | 1.1485
19.3865 | 70.2489 | 18.8365 | 1.3859 | 19.3865 | 0.021341 | 18.8365 | 0.0018309 | ¦ | [12 empty] | ¦ | 40.9732 | 87.0721 |  |  | ¦ | 0.19188 | 1.1746
20.5353 | 71.5959 | 19.9526 | 1.347 | 20.5353 | 0.019655 | 19.9526 | 0.0016859 | ¦ | [12 empty] | ¦ | 43.401 | 88.2883 |  |  | ¦ | 0.21529 | 1.2162
21.752 | 72.942 | 21.1349 | 1.3461 | 21.752 | 0.01809 | 21.1349 | 0.0015653 | ¦ | [12 empty] | ¦ | 45.9727 | 89.5464 |  |  | ¦ | 0.24156 | 1.258
23.0409 | 74.3129 | 22.3872 | 1.3709 | 23.0409 | 0.016623 | 22.3872 | 0.0014666 | ¦ | [12 empty] | ¦ | 48.6968 | 90.8314 |  |  | ¦ | 0.27104 | 1.2851
24.4062 | 75.7137 | 23.7137 | 1.4008 | 24.4062 | 0.015241 | 23.7137 | 0.001382 | ¦ | [12 empty] | ¦ | 51.5822 | 92.1192 |  |  | ¦ | 0.30411 | 1.2878
25.8523 | 77.1288 | 25.1189 | 1.4152 | 25.8523 | 0.013939 | 25.1189 | 0.0013023 | ¦ | [12 empty] | ¦ | 54.6387 | 93.3828 |  |  | ¦ | 0.34121 | 1.2637
27.3842 | 78.5306 | 26.6073 | 1.4018 | 27.3842 | 0.012719 | 26.6073 | 0.0012202 | ¦ | [12 empty] | ¦ | 57.8762 | 94.5998 |  |  | ¦ | 0.38285 | 1.217
29.0068 | 79.8905 | 28.1838 | 1.3598 | 29.0068 | 0.011586 | 28.1838 | 0.0011331 | ¦ | [12 empty] | ¦ | 61.3056 | 95.7544 |  |  | ¦ | 0.42956 | 1.1547
30.7256 | 81.189 | 29.8538 | 1.2985 | 30.7256 | 0.010543 | 29.8538 | 0.0010428 | ¦ | [12 empty] | ¦ | 64.9382 | 96.8372 |  |  | ¦ | 0.48198 | 1.0828
32.5462 | 82.4217 | 31.6228 | 1.2327 | 32.5462 | 0.0095881 | 31.6228 | 0.00095469 | ¦ | [12 empty] | ¦ | 68.786 | 97.8407 |  |  | ¦ | 0.54079 | 1.0035
34.4747 | 83.6003 | 33.4965 | 1.1787 | 34.4747 | 0.0087136 | 33.4965 | 0.00087453 | ¦ | [12 empty] | ¦ | 72.8618 | 98.7558 |  |  | ¦ | 0.60677 | 0.91514
36.5174 | 84.749 | 35.4813 | 1.1487 | 36.5174 | 0.0079068 | 35.4813 | 0.00080684 | ¦ | [12 empty] | ¦ | 77.1792 | 99.5714 |  |  | ¦ | 0.68081 | 0.8156
38.6812 | 85.8975 | 37.5837 | 1.1485 | 38.6812 | 0.0071535 | 37.5837 | 0.00075327 | ¦ | [12 empty] | ¦ | 81.7523 | 100.2771 |  |  | ¦ | 0.76388 | 0.70563
40.9732 | 87.0721 | 39.8107 | 1.1746 | 40.9732 | 0.0064411 | 39.8107 | 0.00071236 | ¦ | [12 empty] | ¦ | 86.5964 | 100.8674 |  |  | ¦ | 0.85709 | 0.59029
43.401 | 88.2883 | 42.1697 | 1.2162 | 43.401 | 0.0057609 | 42.1697 | 0.00068026 | ¦ | [12 empty] | ¦ | 91.7276 | 101.3447 |  |  | ¦ | 0.96167 | 0.4773
45.9727 | 89.5464 | 44.6684 | 1.258 | 45.9727 | 0.0051088 | 44.6684 | 0.00065208 | ¦ | [12 empty] | ¦ | 97.1628 | 101.7189 |  |  | ¦ | 1.079 | 0.37421
48.6968 | 90.8314 | 47.3151 | 1.2851 | 48.6968 | 0.0044856 | 47.3151 | 0.00062325 | ¦ | [12 empty] | ¦ | 102.9201 | 102.0053 |  |  | ¦ | 1.2107 | 0.28644
51.5822 | 92.1192 | 50.1187 | 1.2878 | 51.5822 | 0.003895 | 50.1187 | 0.00059056 | ¦ | [12 empty] | ¦ | 109.0184 | 102.2215 |  |  | ¦ | 1.3584 | 0.21622
54.6387 | 93.3828 | 53.0884 | 1.2637 | 54.6387 | 0.0033424 | 53.0884 | 0.00055264 | ¦ | [12 empty] | ¦ | 115.4782 | 102.3845 |  |  | ¦ | 1.5241 | 0.16297
57.8762 | 94.5998 | 56.2341 | 1.217 | 57.8762 | 0.0028327 | 56.2341 | 0.0005097 | ¦ | [12 empty] | ¦ | 122.3207 | 102.5093 |  |  | ¦ | 1.7101 | 0.12479
61.3056 | 95.7544 | 59.5662 | 1.1547 | 61.3056 | 0.0023696 | 59.5662 | 0.00046301 | ¦ | [12 empty] | ¦ | 129.5687 | 102.6083 |  |  | ¦ | 1.9188 | 0.099011
64.9382 | 96.8372 | 63.0957 | 1.0828 | 64.9382 | 0.0019554 | 63.0957 | 0.00041421 | ¦ | [12 empty] | ¦ | 137.2461 | 102.6909 |  |  | ¦ | 2.1529 | 0.082578
68.786 | 97.8407 | 66.8344 | 1.0035 | 68.786 | 0.0015906 | 66.8344 | 0.00036482 | ¦ | [12 empty] | ¦ | 145.3784 | 102.7635 |  |  | ¦ | 2.4156 | 0.07263
72.8618 | 98.7558 | 70.7946 | 0.91514 | 72.8618 | 0.0012746 | 70.7946 | 0.00031604 | ¦ | [12 empty] | ¦ | 153.9927 | 102.8304 |  |  | ¦ | 2.7104 | 0.066862
77.1792 | 99.5714 | 74.9894 | 0.8156 | 77.1792 | 0.0010057 | 74.9894 | 0.00026884 | ¦ | [12 empty] | ¦ | 163.1173 | 102.894 |  |  | ¦ | 3.0411 | 0.063626
81.7523 | 100.2771 | 79.4328 | 0.70563 | 81.7523 | 0.0007817 | 79.4328 | 0.00022403 | ¦ | [12 empty] | ¦ | 172.7826 | 102.9559 |  |  | ¦ | 3.4121 | 0.061882
86.5964 | 100.8674 | 84.1395 | 0.59029 | 86.5964 | 0.00059925 | 84.1395 | 0.00018245 | ¦ | [12 empty] | ¦ | 183.0206 | 103.0169 |  |  | ¦ | 3.8285 | 0.06101
91.7276 | 101.3447 | 89.1251 | 0.4773 | 91.7276 | 0.00045431 | 89.1251 | 0.00014494 | ¦ | [12 empty] | ¦ | 193.8653 | 103.0775 |  |  | ¦ | 4.2956 | 0.060614
97.1628 | 101.7189 | 94.4061 | 0.37421 | 97.1628 | 0.00034205 | 94.4061 | 0.00011226 | ¦ | [12 empty] | ¦ | 205.3525 | 103.125 |  |  | ¦ | 4.8198 | 0.04746
102.9201 | 102.0053 | 100 | 0.28644 | 102.9201 | 0.00025716 | 100 | 8.4881e-05 | ¦ | [12 empty] | ¦ |  |  |  |  | ¦ | 5.4079 | 0
109.0184 | 102.2215 | 105.9254 | 0.21622 | 109.0184 | 0.00019426 | 105.9254 | 6.2906e-05 | ¦ | [17 empty] | ¦
115.4782 | 102.3845 | 112.2018 | 0.16297 | 115.4782 | 0.00014824 | 112.2018 | 4.6023e-05 | ¦
122.3207 | 102.5093 | 118.8502 | 0.12479 | 122.3207 | 0.00011465 | 118.8502 | 3.359e-05 | ¦
129.5687 | 102.6083 | 125.8925 | 0.099011 | 129.5687 | 8.9859e-05 | 125.8925 | 2.4787e-05 | ¦
137.2461 | 102.6909 | 133.3521 | 0.082578 | 137.2461 | 7.1096e-05 | 133.3521 | 1.8763e-05 | ¦
145.3784 | 102.7635 | 141.2538 | 0.07263 | 145.3784 | 5.6347e-05 | 141.2538 | 1.475e-05 | ¦
153.9927 | 102.8304 | 149.6236 | 0.066862 | 153.9927 | 4.4229e-05 | 149.6236 | 1.2118e-05 | ¦
163.1173 | 102.894 | 158.4893 | 0.063626 | 163.1173 | 3.3841e-05 | 158.4893 | 1.0388e-05 | ¦
172.7826 | 102.9559 | 167.8804 | 0.061882 | 172.7826 | 2.4742e-05 | 167.8804 | 9.0989e-06 | ¦
183.0206 | 103.0169 | 177.8279 | 0.06101 | 183.0206 | 1.7089e-05 | 177.8279 | 7.6529e-06 | ¦
193.8653 | 103.0775 | 188.3649 | 0.060614 | 193.8653 | 1.0967e-05 | 188.3649 | 6.1221e-06 | ¦
205.3525 | 103.125 | 199.5262 | 0.04746 | 205.3525 | 6.3695e-06 | 199.5262 | 4.5978e-06 | ¦
|  | 211.3489 | 0 |  |  | 211.3489 | 3.1742e-06 | ¦
¦